# Glass nanopore

| Report date | Jun 4, 2024, 2:09:29 PM |
| --- | --- |

Contents

1.	Global Definitions

1.1.	Parameters

1.2.	Shared Properties

2.	Model 1

2.1.	Definitions

2.2.	Nanopipette

2.3.	Transport of Diluted Species

2.4.	Electrostatics

2.5.	Laminar Flow

2.6.	Meshes

3.	Steady State

3.1.	Vapp PS

3.2.	Stationary

3.3.	Solver Configurations

4.	Results

4.1.	Data Sets

4.2.	Derived Values

4.3.	Tables

4.4.	Plot Groups

Global Definitions

| Date | May 12, 2024, 3:16:49 PM |
| --- | --- |

Global settings

| Name | BndMovedInPEG,KCl.mph |
| --- | --- |
| Path | /scrfs/storage/egyasiag/home/BndMovedInPEG,KCl.mph |
| Version | COMSOL Multiphysics 6.0 (Build: 354) |
| Unit system | SI |

Used products

COMSOL Multiphysics

Chemical Reaction Engineering Module

Computer information

| CPU | Intel(R) Xeon(R) Gold 6130 CPU @ 2.10GHz, 2 sockets |
| --- | --- |
| Operating system | Linux |

Parameters

Parameters

| Name | Expression | Value | Description |
| --- | --- | --- | --- |
| BathConductivity | 3.86[mS/cm] | 0.386 S/m | Experimental conductivity of the bath medium |
| BeyondPoreRadius | PoreRadius*200*SizeFactor | 1.42E−4 m | Mathematical factor for selected boundaries length |
| BulkConductivity | 1.19[mS/cm] | 0.119 S/m | Experimental conductivity of the bulk medium |
| cb | 20[mM] | 20 mol/m³ | Experimental bulk concentration |
| cbath | cb | 20 mol/m³ | Estimated outer bath concentration |
| ConeApex | -PoreHeight*PoreRadius/(PoreTopRadius - PoreRadius) | −8.3062E−7 m | z value where the apex of the inner cone (if continued) would lie |
| DCl | 0.55*BulkConductivity*(R_const*T)/(F_const^2*cbath) | 8.568E−10 m²/s | Analytical and Physical Electrochemistry (Girault, 2004) |
| DClBath | 0.51*BathConductivity*(R_const*T)/(F_const^2*cb) | 2.5771E−9 m²/s | Estimated diffusion coefficient of anions in bath (50% PEG) |
| DebyeLength | sqrt((EpsilonR*epsilon0_const*R_const*T)/(2*cb*F_const^2)) | 1.736E−9 m | Debye Length (pore) |
| DebyeLengthBath | sqrt((EpsilonRBath*epsilon0_const*R_const*T)/(2*cbath*F_const^2)) | 2.1532E−9 m | Debye Length (bath) |
| Delta | PoreRadius/50 | 1.42E−9 m | Used for selecting geometric boundaries |
| DK | 0.45*BulkConductivity*(R_const*T)/(F_const^2*cbath) | 7.0102E−10 m²/s | Analytical and Physical Electrochemistry (Girault, 2004) |
| DKBath | 0.49*BathConductivity*(R_const*T)/(F_const^2*cb) | 2.476E−9 m²/s | Estimated diffusion coefficient of cations in bath (50% PEG) |
| EpsilonR | 52 | 52 | Electric relative permittivity of bulk |
| EpsilonRBath | 80 | 80 | Electric relative permittivity of bath [Arnold, 1985] |
| FluidDensity | 1085[kg/m^3] | 1085 kg/m³ | [Ref. Hai-Lang & Shi-Jun, 1996 for 0.059 (mol/kg)] |
| FluidDensityBath | 999.9[kg/m^3] | 999.9 kg/m³ | [Ref. Gonzalez-Tello et al., 1994 for 50% PEG 8000 in H2O (kg/m^3)] |
| FluidViscosity | 8.73[Pa*s] | 8.73 Pa·s | [Ref. Hai-Lang & Shi-Jun, 1996 for 0.059 (mol/kg)] |
| FluidViscosityBath | 8.9E-4[Pa*s] | 8.9E−4 Pa·s | Experimental viscosity of the bath medium |
| gamma | (exp(1*e_const*GCSurfacePotential/(2*k_B_const*T)) - 1)/(exp(1*e_const*GCSurfacePotential/(2*k_B_const*T)) + 1) | −0.037262 | Helper for Gouy-Chapman (pore) |
| gammaBath | (exp(1*e_const*GCSurfacePotentialBath/(2*k_B_const*T)) - 1)/(exp(1*e_const*GCSurfacePotentialBath/(2*k_B_const*T)) + 1) | −0.030056 | Helper for Gouy-Chapman (bath) |
| GCSurfacePotential | asinh(PoreSurfaceCharge/sqrt(8*cb*N_A_const*EpsilonR*epsilon0_const*k_B_const*T))*(2*k_B_const*T)/(1*e_const) | −0.003767 V | Surface potential difference from Gouy-Chapman (pore) |
| GCSurfacePotentialBath | asinh(PoreSurfaceCharge/sqrt(8*cbath*N_A_const*EpsilonRBath*epsilon0_const*k_B_const*T))*(2*k_B_const*T)/(1*e_const) | −0.003038 V | Surface potential difference from Gouy-Chapman (bath) |
| HydrostaticPressure | FluidDensity*9.81[m/s^2]*PoreHeight | 5.3219 Pa | Hydrostatic pressure at the cone aperture |
| PApp | 0[Pa] | 0 Pa | Applied pressure differential (bottom-top) |
| ParticleRadius | 25[nm] | 2.5E−8 m | Au nanoparticle diameter [Experimental DLS] |
| ParticleSurfaceCharge | -5.89 [mC/m^2] | −0.00589 C/m² | Au nanoparticle surface charge [Experiments + Ref. Ge and Wang 2016 Equation 3] |
| PoreAngle | 4.885666895[deg] | 0.085271 rad | Inner truncated hollow cone angle; estimated from SEM imaging |
| PoreHeight | 50[um]*SizeFactor | 5E−4 m | Truncated hollow cone's height in model; measured along the axis taking the aperture as flat |
| PoreRadius | 71[nm] | 7.1E−8 m | Inner cone aperture radius; measured from SEM imaging |
| PoreSurfaceCharge | -1[mC/m^2] | −0.001 C/m² | Surface charge of quartz glass wall [Ref. ] |
| PoreTopRadius | PoreRadius + tan(PoreAngle)*PoreHeight | 4.281E−5 m | Estimated radius of the inner cone at z = PoreHeight |
| RAccessBottom | 1/(4*BulkConductivity*PoreRadius) | 2.9589E7 Ω | Analytical Access Resistance |
| RadiusRatio | PoreRadius/PoreTopRadius | 0.0016585 | Ratio between the inner cone radii at the nanopipette opening and at z = PoreHeight |
| RPore | 1/(BulkConductivity*pi*PoreRadius*tan(PoreAngle)) | 4.4075E8 Ω | Analytical Resistance inside the pore |
| RTot | RAccessBottom + RPore | 4.7034E8 Ω | Total Resistance |
| SizeFactor | 10 | 10 | Scaling factor for selected boundaries dimensions |
| T | 20[degC] | 293.15 K | Temperature |
| VApp | 0.5 [V] | 0.5 V | Applied voltage |
| VBottom | VApp*RAccessBottom/RTot | 0.031455 V | Potential drop outside the pore |
| WallAngle | atan((WallTopRadius - WallRadius)/PoreHeight) | 0.11507 rad | Estimated inner cone angle of the outer cone (glass wall) |
| WallRadius | PoreRadius + WallThickness | 9.6E−8 m | Outer cone (glass wall) radius at z = 0 |
| WallThickness | 25[nm] | 2.5E−8 m | Glass thickness at the nanopipette opening; measured from SEM imaging |
| WallTopRadius | WallRadius/RadiusRatio | 5.7884E−5 m | Outer cone (glass wall) radius at z = PoreHeight |
| zOffset | 0 [nm] | 0 m |  |

Shared Properties

Default Model Inputs

| Tag | cminpt |
| --- | --- |

Model 1

| Date | Jul 15, 2014, 1:15:30 PM |
| --- | --- |

Settings

| Description | Value |
| --- | --- |
| Unit system | Same as global system (SI) |
| Geometry shape function | Automatic |
| Avoid inverted elements by curving interior domain elements | Off |

Spatial frame coordinates

| First | Second | Third |
| --- | --- | --- |
| r | phi | z |

Material frame coordinates

| First | Second | Third |
| --- | --- | --- |
| R | PHI | Z |

Geometry frame coordinates

| First | Second | Third |
| --- | --- | --- |
| Rg | PHIg | Zg |

Mesh frame coordinates

| First | Second | Third |
| --- | --- | --- |
| Rm | PHIm | Zm |

Definitions

Variables

Excess Charge

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: Domains 1–4 |

| Name | Expression | Unit | Description |
| --- | --- | --- | --- |
| ExcessCharge | F_const*(cK - cCl) | C/m³ |  |

Distance from glass (internal electrode)

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Name | Internal Electrode |
| Selection | Named sel3: Geometry geom1: Dimension 1: Boundary 6 |

| Name | Expression | Unit | Description |
| --- | --- | --- | --- |
| dGlass | (PoreTopRadius - r)*sin(90[deg] - PoreAngle) | m |  |

Distance from glass (external electrode, upper part)

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Selection | Geometry geom1: Dimension 1: Boundaries 13–14 |

| Name | Expression | Unit | Description |
| --- | --- | --- | --- |
| dGlass | cos(WallAngle)*(r - WallRadius - z*tan(WallAngle)) | m |  |

Distance from glass (external electrode, bottom part)

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Selection | Geometry geom1: Dimension 1: Boundary 12 |

| Name | Expression | Unit | Description |
| --- | --- | --- | --- |
| dGlass | (r< PoreRadius)*(sqrt((r - PoreRadius)^2 + z^2)) + (-z)*(r>=PoreRadius)*(r<WallRadius) + (r>=WallRadius)*(sqrt((r - WallRadius)^2 + z^2)) | m |  |

Analytical Potential, No Charge (Bath)

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: Domains 1–4 |

| Name | Expression | Unit | Description |
| --- | --- | --- | --- |
| AnalyticalPotentialNoCharge | DiskElec(r, -z, PoreRadius)*VBottom | V |  |

Analytical Potential, No Charge (Pore)

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: No domains |

| Name | Expression | Unit | Description |
| --- | --- | --- | --- |
| AnalyticalPotentialNoCharge | VBottom + (VApp - VBottom)*1/(BulkConductivity*pi)*z/(PoreRadius*(PoreRadius + z/PoreHeight*(PoreTopRadius - PoreRadius)))/RPore | V |  |

Domain Expressions Gouy-Chapman

Selection

| Geometric entity level | Entire model |
| --- | --- |

| Name | Expression | Unit | Description |
| --- | --- | --- | --- |
| cCl_GC | c_GC(WallDistance, -1) | mol/m³ |  |
| cK_GC | c_GC(WallDistance, 1) | mol/m³ |  |
| Potential_GC | E_GC(WallDistance) | V |  |
| cCl_GCBath | c_GCBath(WallDistance, -1) | mol/m³ |  |
| cK_GCBath | c_GCBath(WallDistance, 1) | mol/m³ |  |
| Potential_GCBath | E_GCBath(WallDistance) | V |  |

Wall Distance (Pore)

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: Domains 2–3 |

| Name | Expression | Unit | Description |
| --- | --- | --- | --- |
| lambda | (r*PoreRadius - z*ConeApex + ConeApex^2)/(PoreRadius^2 + ConeApex^2) |  | helper value for point of nearest wall |
| WallDistance | (lambda>=1)*sqrt((r - lambda*PoreRadius)^2 + (z - (ConeApex - lambda*ConeApex))^2) + (lambda<1)*sqrt((r - PoreRadius)^2 + z^2) | m |  |

Wall Distance (Bath, bottom part)

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: Domain 1 |

| Name | Expression | Unit | Description |
| --- | --- | --- | --- |
| WallDistance | (r< PoreRadius)*(sqrt((r - PoreRadius)^2 + z^2)) + (-z)*(r>=PoreRadius)*(r<WallRadius) + (r>=WallRadius)*(sqrt((r - WallRadius)^2 + z^2)) | m |  |

Wall Distance (Bath, upper part)

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: Domain 4 |

| Name | Expression | Unit | Description |
| --- | --- | --- | --- |
| WallDistance | cos(WallAngle)*(r - WallRadius - z*tan(WallAngle)) | m |  |

Functions

Gouy-Chapman Potential (Pore)

| Function name | E_GC |
| --- | --- |
| Function type | Analytic |

Gouy-Chapman Potential (Pore)

Definition

| Description | Value |
| --- | --- |
| Expression | (2*k_B_const*T/e_const)*log( (1 + gamma*exp(-x/DebyeLength))/ (1 - gamma*exp(-x/DebyeLength)) ) |
| Arguments | x |

Units

| Description | Value |
| --- | --- |
| Function | V |

Units

| Argument | Unit |
| --- | --- |
| x | m |

Gouy-Chapman Potential (Bath)

| Function name | E_GCBath |
| --- | --- |
| Function type | Analytic |

Gouy-Chapman Potential (Bath)

Definition

| Description | Value |
| --- | --- |
| Expression | ((2*k_B_const*T/e_const)*log( (1 + gammaBath*exp(-x/DebyeLengthBath))/ (1 - gammaBath*exp(-x/DebyeLengthBath)) )) |
| Arguments | x |

Units

| Description | Value |
| --- | --- |
| Function | V |

Units

| Argument | Unit |
| --- | --- |
| x | m |

Gouy-Chapman Concentration (Pore)

| Function name | c_GC |
| --- | --- |
| Function type | Analytic |

Gouy-Chapman Concentration (Pore)

Definition

| Description | Value |
| --- | --- |
| Expression | cb*exp(-z*e_const*E_GC(x)/(k_B_const*T)) |
| Arguments | {x, z} |

Units

| Description | Value |
| --- | --- |
| Function | mol/m^3 |

Units

| Argument | Unit |
| --- | --- |
| x | m |
| z | 1 |

Gouy-Chapman Concentration (Bath)

| Function name | c_GCBath |
| --- | --- |
| Function type | Analytic |

Gouy-Chapman Concentration (Bath)

Definition

| Description | Value |
| --- | --- |
| Expression | cbath*exp(-z*e_const*E_GCBath(x)/(k_B_const*T)) |
| Arguments | {x, z} |

Units

| Description | Value |
| --- | --- |
| Function | mol/m^3 |

Units

| Argument | Unit |
| --- | --- |
| x | m |
| z | 1 |

Disk Electrode (Normalized Distribution)

| Function name | DiskElec |
| --- | --- |
| Function type | Analytic |

Disk Electrode (Normalized Distribution)

Definition

| Description | Value |
| --- | --- |
| Expression | 2/pi*asin(2*a/(sqrt((z + eps)^2 + (a + eps + r)^2) + sqrt((z + eps)^2 + (a + eps - r)^2))) |
| Arguments | {r, z, a} |

Units

| Description | Value |
| --- | --- |
| Function | 1 |

Units

| Argument | Unit |
| --- | --- |
| r | m |
| z | m |
| a | m |

Selections

Symmetry Axis

Selection type

Box

Selection

Boundaries 1–2, 4

Geometric entity level

| Description | Value |
| --- | --- |
| Level | Boundary |

Output entities

| Description | Value |
| --- | --- |
| Include entity if | All vertices inside box |

Symmetry Axis

Glass Wall

Selection type

Explicit

Selection

Boundaries 7–9, 11

Glass Wall

Aperture point

Selection type

Explicit

Selection

Point 5

Aperture point

Internal Electrode

Selection type

Explicit

Selection

Boundary 6

Internal Electrode

External Electrode

Selection type

Explicit

Selection

Boundaries 12–14

External Electrode

Probes

Current (internal electrode)

| Probe type | Boundary probe |
| --- | --- |

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Selection | Geometry geom1: Dimension 1: Boundary 6 |

Selection

Probe type

| Description | Value |
| --- | --- |
| Type | Integral |

Expression

| Description | Value |
| --- | --- |
| Expression | -F_const*(chds.bndFlux_cK - chds.bndFlux_cCl)*2*pi*r |
| Table and plot unit | nA |
| Description | Current (internal) |

Table and window settings

| Description | Value |
| --- | --- |
| Output table | Probe Table 1 |
| Plot window | Probe Plot 3 |

Coordinate Systems

Boundary System 1

| Coordinate system type | Boundary system |
| --- | --- |
| Tag | sys1 |

Coordinate names

| First | Second | Third |
| --- | --- | --- |
| t1 | to | n |

Nanopipette

Pore with glass of infinite width

Nanopipette

Units

| Length unit | m |
| --- | --- |
| Angular unit | deg |

Geometry statistics

| Description | Value |
| --- | --- |
| Space dimension | 2 |
| Number of domains | 4 |
| Number of boundaries | 14 |
| Number of vertices | 11 |

Pore (b5)

Polygon segments

| Description | Value |
| --- | --- |
| Control points | {{0, 0, PoreTopRadius, PoreRadius, 0}, {0, PoreHeight, PoreHeight, 0, 0}} |
| Degree | {1, 1, 1, 1} |
| Weights | {1, 1, 1, 1, 1, 1, 1, 1} |
| Type | Solid |

Wall (pol1)

Object type

| Description | Value |
| --- | --- |
| Type | Open curve |

Coordinates

| Description | Value |
| --- | --- |
| Data source | Table |

Coordinates

| r (m) | z (m) |
| --- | --- |
| PoreRadius | 0 |
| WallRadius | 0 |
| WallTopRadius | PoreHeight |

Bath (c1)

Selections of resulting entities

| Description | Value |
| --- | --- |
| Resulting objects selection | On |

Position

| Description | Value |
| --- | --- |
| Position | {0, 0} |

Rotation angle

| Description | Value |
| --- | --- |
| Rotation | -90 |

Size and shape

| Description | Value |
| --- | --- |
| Radius | BeyondPoreRadius |
| Sector angle | 180 |

Difference Bath from Pipette & Wall (dif1)

Settings

| Description | Value |
| --- | --- |
| Keep objects to add | On |
| Keep objects to subtract | On |

Rectangle for dGlass (r1)

Position

| Description | Value |
| --- | --- |
| Position | {WallRadius, 0} |

Rotation angle

| Description | Value |
| --- | --- |
| Rotation | -WallAngle |

Size

| Description | Value |
| --- | --- |
| Width | BeyondPoreRadius |
| Height | BeyondPoreRadius |

Point 1 (pt1)

Point

| Description | Value |
| --- | --- |
| Point coordinate | {0, 8.0E-6} |

Point 2 (pt2)

Point

| Description | Value |
| --- | --- |
| Point coordinate | {7.548259896776561E-7, 8.0E-6} |

Transport of Diluted Species

Used products

COMSOL Multiphysics

Chemical Reaction Engineering Module

Transport of Diluted Species

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: All domains |

Equations

Interface Settings

Discretization

Settings

| Description | Value |
| --- | --- |
| Concentration | Quadratic |

Settings

| Description | Value |
| --- | --- |
| Equation form | Study controlled |

Advanced Settings

Settings

| Description | Value |
| --- | --- |
| Convective term | Conservative form |

Transport Mechanisms

Settings

| Description | Value |
| --- | --- |
| Convection | On |
| Migration in electric field | On |
| Mass transfer in porous media | Off |

Variables

| Name | Expression | Unit | Description | Selection | Details |
| --- | --- | --- | --- | --- | --- |
| chds.d | 1 | 1 | Out-of-plane geometry extension | Global |  |
| chds.nr | nr | 1 | Normal vector, r component | Boundaries 3, 5, 10 |  |
| chds.nphi | 0 | 1 | Normal vector, phi component | Boundaries 3, 5, 10 |  |
| chds.nz | nz | 1 | Normal vector, z component | Boundaries 3, 5, 10 |  |
| chds.nr | dnr | 1 | Normal vector, r component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| chds.nphi | 0 | 1 | Normal vector, phi component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| chds.nz | dnz | 1 | Normal vector, z component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| chds.nrmesh | nrmesh | 1 | Normal vector (mesh), r component | Boundaries 3, 5, 10 |  |
| chds.nphimesh | 0 | 1 | Normal vector (mesh), phi component | Boundaries 3, 5, 10 |  |
| chds.nzmesh | nzmesh | 1 | Normal vector (mesh), z component | Boundaries 3, 5, 10 |  |
| chds.nrmesh | dnrmesh | 1 | Normal vector (mesh), r component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| chds.nphimesh | 0 | 1 | Normal vector (mesh), phi component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| chds.nzmesh | dnzmesh | 1 | Normal vector (mesh), z component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| chds.nrc | root.nrc/chds.ncLen | 1 | Normal vector, r component | Boundaries 1–14 |  |
| chds.nphic | 0 | 1 | Normal vector, phi component | Boundaries 1–14 |  |
| chds.nzc | root.nzc/chds.ncLen | 1 | Normal vector, z component | Boundaries 1–14 |  |
| chds.ncLen | sqrt(root.nrc^2+root.nzc^2+eps) | 1 | Help variable | Boundaries 1–14 |  |
| chds.cbf_cK | 0 | mol/(m²·s) | Convective boundary flux | Boundaries 1–14 |  |
| chds.u | 0 | m/s | Velocity field, r component | Domains 1–4 |  |
| chds.v | 0 | m/s | Velocity field, phi component | Domains 1–4 |  |
| chds.w | 0 | m/s | Velocity field, z component | Domains 1–4 |  |
| chds.cbf_cCl | 0 | mol/(m²·s) | Convective boundary flux | Boundaries 1–14 |  |
| chds.R_cK | 0 | mol/(m³·s) | Total rate expression | Domains 1–4 | + operation |
| chds.cP_cK | 0 | mol/kg | Concentration species adsorbed to the solid | Domains 1–4 | + operation |
| chds.cP_cK | 0 | mol/kg | Concentration species adsorbed to the solid | Boundaries 1–14 | + operation |
| chds.KP_cK | 0 | m³/kg | Adsorption isotherm, first concentration derivative | Domains 1–4 | + operation |
| chds.KP_cK | 0 | m³/kg | Adsorption isotherm, first concentration derivative | Boundaries 1–14 | + operation |
| chds.Rads_cK | 0 | mol/(m³·s) | Total adsorption rate | Domains 1–4 | + operation |
| chds.DiT_cK | 0 | m²/s | Turbulent diffusivity | Domains 1–4 |  |
| chds.cVar_cK | cK | mol/m³ | Species | Boundaries 1–14 |  |
| chds.R_cCl | 0 | mol/(m³·s) | Total rate expression | Domains 1–4 | + operation |
| chds.cP_cCl | 0 | mol/kg | Concentration species adsorbed to the solid | Domains 1–4 | + operation |
| chds.cP_cCl | 0 | mol/kg | Concentration species adsorbed to the solid | Boundaries 1–14 | + operation |
| chds.KP_cCl | 0 | m³/kg | Adsorption isotherm, first concentration derivative | Domains 1–4 | + operation |
| chds.KP_cCl | 0 | m³/kg | Adsorption isotherm, first concentration derivative | Boundaries 1–14 | + operation |
| chds.Rads_cCl | 0 | mol/(m³·s) | Total adsorption rate | Domains 1–4 | + operation |
| chds.DiT_cCl | 0 | m²/s | Turbulent diffusivity | Domains 1–4 |  |
| chds.cVar_cCl | cCl | mol/m³ | Species | Boundaries 1–14 |  |
| chds.poro | 1 | 1 | Porosity | Domains 1–4 |  |
| chds.theta_g | 0 | 1 | Gas volume fraction | Domains 1–4 |  |
| chds.theta_l | 1 | 1 | Liquid volume fraction | Domains 1–4 |  |
| chds.theta | chds.poro | 1 | Mobile fluid volume fraction | Domains 1–4 |  |

Convection, Diffusion, and Migration (Pore)

Convection, Diffusion, and Migration (Pore)

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: All domains |

Equations

Convection

Settings

| Description | Value |
| --- | --- |
| Velocity field | Velocity field (spf) |

Diffusion

Settings

| Description | Value |
| --- | --- |
| Source | Material |
| Material | None |
| Diffusion coefficient | User defined |
| Diffusion coefficient | {{DK, 0, 0}, {0, DK, 0}, {0, 0, DK}} |
| Diffusion coefficient | User defined |
| Diffusion coefficient | {{DCl, 0, 0}, {0, DCl, 0}, {0, 0, DCl}} |

Migration in Electric Field

Settings

| Description | Value |
| --- | --- |
| Electric potential | Electric potential (es) |
| Mobility | Nernst - Einstein relation |
| Charge number | {1, -1} |

Coordinate System Selection

Settings

| Description | Value |
| --- | --- |
| Coordinate system | Global coordinate system |

Model Input

Settings

| Description | Value |
| --- | --- |
| Temperature | User defined |
| Temperature | T |

Variables

| Name | Expression | Unit | Description | Selection | Details |
| --- | --- | --- | --- | --- | --- |
| domflux.cKr | 2*(chds.dflux_cKr+chds.cflux_cKr+chds.mflux_cKr)*pi*r*chds.d | mol/(m·s) | Domain flux, r component | Domain 3 |  |
| domflux.cKz | 2*(chds.dflux_cKz+chds.cflux_cKz+chds.mflux_cKz)*pi*r*chds.d | mol/(m·s) | Domain flux, z component | Domain 3 |  |
| domflux.cClr | 2*(chds.dflux_cClr+chds.cflux_cClr+chds.mflux_cClr)*pi*r*chds.d | mol/(m·s) | Domain flux, r component | Domain 3 |  |
| domflux.cClz | 2*(chds.dflux_cClz+chds.cflux_cClz+chds.mflux_cClz)*pi*r*chds.d | mol/(m·s) | Domain flux, z component | Domain 3 |  |
| chds.ndflux_cK | chds.dflux_cKr*chds.nrc+chds.dflux_cKphi*chds.nphic+chds.dflux_cKz*chds.nzc | mol/(m²·s) | Normal diffusive flux | Boundaries 5–6, 11 |  |
| chds.ncflux_cK | chds.cflux_cKr*chds.nrc+chds.cflux_cKphi*chds.nphic+chds.cflux_cKz*chds.nzc | mol/(m²·s) | Normal convective flux | Boundaries 5–6, 11 |  |
| chds.nmflux_cK | chds.mflux_cKr*chds.nrc+chds.mflux_cKphi*chds.nphic+chds.mflux_cKz*chds.nzc | mol/(m²·s) | Normal electrophoretic flux | Boundaries 5–6, 11 |  |
| chds.ntflux_cK | chds.bndFlux_cK | mol/(m²·s) | Normal total flux | Boundaries 5–6, 11 |  |
| chds.ndflux_cCl | chds.dflux_cClr*chds.nrc+chds.dflux_cClphi*chds.nphic+chds.dflux_cClz*chds.nzc | mol/(m²·s) | Normal diffusive flux | Boundaries 5–6, 11 |  |
| chds.ncflux_cCl | chds.cflux_cClr*chds.nrc+chds.cflux_cClphi*chds.nphic+chds.cflux_cClz*chds.nzc | mol/(m²·s) | Normal convective flux | Boundaries 5–6, 11 |  |
| chds.nmflux_cCl | chds.mflux_cClr*chds.nrc+chds.mflux_cClphi*chds.nphic+chds.mflux_cClz*chds.nzc | mol/(m²·s) | Normal electrophoretic flux | Boundaries 5–6, 11 |  |
| chds.ntflux_cCl | chds.bndFlux_cCl | mol/(m²·s) | Normal total flux | Boundaries 5–6, 11 |  |
| chds.u | model.input.u1 | m/s | Velocity field, r component | Domain 3 | Meta |
| chds.v | model.input.u2 | m/s | Velocity field, phi component | Domain 3 | Meta |
| chds.w | model.input.u3 | m/s | Velocity field, z component | Domain 3 | Meta |
| chds.DF_cKrr | DK | m²/s | Fluid diffusion coefficient, rr component | Domain 3 |  |
| chds.DF_cKphir | 0 | m²/s | Fluid diffusion coefficient, phir component | Domain 3 |  |
| chds.DF_cKzr | 0 | m²/s | Fluid diffusion coefficient, zr component | Domain 3 |  |
| chds.DF_cKrphi | 0 | m²/s | Fluid diffusion coefficient, rphi component | Domain 3 |  |
| chds.DF_cKphiphi | DK | m²/s | Fluid diffusion coefficient, phiphi component | Domain 3 |  |
| chds.DF_cKzphi | 0 | m²/s | Fluid diffusion coefficient, zphi component | Domain 3 |  |
| chds.DF_cKrz | 0 | m²/s | Fluid diffusion coefficient, rz component | Domain 3 |  |
| chds.DF_cKphiz | 0 | m²/s | Fluid diffusion coefficient, phiz component | Domain 3 |  |
| chds.DF_cKzz | DK | m²/s | Fluid diffusion coefficient, zz component | Domain 3 |  |
| chds.D_cKrr | chds.DF_cKrr+chds.DiT_cK | m²/s | Diffusion coefficient, rr component | Domain 3 |  |
| chds.D_cKphir | chds.DF_cKphir | m²/s | Diffusion coefficient, phir component | Domain 3 |  |
| chds.D_cKzr | chds.DF_cKzr | m²/s | Diffusion coefficient, zr component | Domain 3 |  |
| chds.D_cKrphi | chds.DF_cKrphi | m²/s | Diffusion coefficient, rphi component | Domain 3 |  |
| chds.D_cKphiphi | chds.DF_cKphiphi+chds.DiT_cK | m²/s | Diffusion coefficient, phiphi component | Domain 3 |  |
| chds.D_cKzphi | chds.DF_cKzphi | m²/s | Diffusion coefficient, zphi component | Domain 3 |  |
| chds.D_cKrz | chds.DF_cKrz | m²/s | Diffusion coefficient, rz component | Domain 3 |  |
| chds.D_cKphiz | chds.DF_cKphiz | m²/s | Diffusion coefficient, phiz component | Domain 3 |  |
| chds.D_cKzz | chds.DF_cKzz+chds.DiT_cK | m²/s | Diffusion coefficient, zz component | Domain 3 |  |
| chds.DF_cClrr | DCl | m²/s | Fluid diffusion coefficient, rr component | Domain 3 |  |
| chds.DF_cClphir | 0 | m²/s | Fluid diffusion coefficient, phir component | Domain 3 |  |
| chds.DF_cClzr | 0 | m²/s | Fluid diffusion coefficient, zr component | Domain 3 |  |
| chds.DF_cClrphi | 0 | m²/s | Fluid diffusion coefficient, rphi component | Domain 3 |  |
| chds.DF_cClphiphi | DCl | m²/s | Fluid diffusion coefficient, phiphi component | Domain 3 |  |
| chds.DF_cClzphi | 0 | m²/s | Fluid diffusion coefficient, zphi component | Domain 3 |  |
| chds.DF_cClrz | 0 | m²/s | Fluid diffusion coefficient, rz component | Domain 3 |  |
| chds.DF_cClphiz | 0 | m²/s | Fluid diffusion coefficient, phiz component | Domain 3 |  |
| chds.DF_cClzz | DCl | m²/s | Fluid diffusion coefficient, zz component | Domain 3 |  |
| chds.D_cClrr | chds.DF_cClrr+chds.DiT_cCl | m²/s | Diffusion coefficient, rr component | Domain 3 |  |
| chds.D_cClphir | chds.DF_cClphir | m²/s | Diffusion coefficient, phir component | Domain 3 |  |
| chds.D_cClzr | chds.DF_cClzr | m²/s | Diffusion coefficient, zr component | Domain 3 |  |
| chds.D_cClrphi | chds.DF_cClrphi | m²/s | Diffusion coefficient, rphi component | Domain 3 |  |
| chds.D_cClphiphi | chds.DF_cClphiphi+chds.DiT_cCl | m²/s | Diffusion coefficient, phiphi component | Domain 3 |  |
| chds.D_cClzphi | chds.DF_cClzphi | m²/s | Diffusion coefficient, zphi component | Domain 3 |  |
| chds.D_cClrz | chds.DF_cClrz | m²/s | Diffusion coefficient, rz component | Domain 3 |  |
| chds.D_cClphiz | chds.DF_cClphiz | m²/s | Diffusion coefficient, phiz component | Domain 3 |  |
| chds.D_cClzz | chds.DF_cClzz+chds.DiT_cCl | m²/s | Diffusion coefficient, zz component | Domain 3 |  |
| chds.Dav_cK | 0.5*(chds.D_cKrr+chds.D_cKzz) | m²/s | Average diffusion coefficient | Domain 3 |  |
| chds.Dav_cCl | 0.5*(chds.D_cClrr+chds.D_cClzz) | m²/s | Average diffusion coefficient | Domain 3 |  |
| chds.tflux_cKr | chds.dflux_cKr+chds.mflux_cKr+chds.cflux_cKr | mol/(m²·s) | Total flux, r component | Domain 3 | + operation |
| chds.tflux_cKphi | chds.dflux_cKphi+chds.mflux_cKphi+chds.cflux_cKphi | mol/(m²·s) | Total flux, phi component | Domain 3 | + operation |
| chds.tflux_cKz | chds.dflux_cKz+chds.mflux_cKz+chds.cflux_cKz | mol/(m²·s) | Total flux, z component | Domain 3 | + operation |
| chds.dfluxMag_cK | sqrt(chds.dflux_cKr^2+chds.dflux_cKphi^2+chds.dflux_cKz^2) | mol/(m²·s) | Diffusive flux magnitude | Domain 3 |  |
| chds.tfluxMag_cK | sqrt(chds.tflux_cKr^2+chds.tflux_cKphi^2+chds.tflux_cKz^2) | mol/(m²·s) | Total flux magnitude | Domain 3 |  |
| chds.dpflux_cKr | 0 | mol/(m²·s) | Dispersive flux, r component | Domain 3 |  |
| chds.dpflux_cKphi | 0 | mol/(m²·s) | Dispersive flux, phi component | Domain 3 |  |
| chds.dpflux_cKz | 0 | mol/(m²·s) | Dispersive flux, z component | Domain 3 |  |
| chds.mflux_cKr | chds.z_cK*F_const*cK*(-chds.um_cKrr*d(chds.V,r)-chds.um_cKrz*d(chds.V,z)) | mol/(m²·s) | Electrophoretic flux, r component | Domain 3 |  |
| chds.mflux_cKphi | chds.z_cK*F_const*cK*(-chds.um_cKphir*d(chds.V,r)-chds.um_cKphiz*d(chds.V,z)) | mol/(m²·s) | Electrophoretic flux, phi component | Domain 3 |  |
| chds.mflux_cKz | chds.z_cK*F_const*cK*(-chds.um_cKzr*d(chds.V,r)-chds.um_cKzz*d(chds.V,z)) | mol/(m²·s) | Electrophoretic flux, z component | Domain 3 |  |
| chds.mfluxMag_cK | sqrt(chds.mflux_cKr^2+chds.mflux_cKphi^2+chds.mflux_cKz^2) | mol/(m²·s) | Electrophoretic flux magnitude | Domain 3 |  |
| chds.tflux_cClr | chds.dflux_cClr+chds.mflux_cClr+chds.cflux_cClr | mol/(m²·s) | Total flux, r component | Domain 3 | + operation |
| chds.tflux_cClphi | chds.dflux_cClphi+chds.mflux_cClphi+chds.cflux_cClphi | mol/(m²·s) | Total flux, phi component | Domain 3 | + operation |
| chds.tflux_cClz | chds.dflux_cClz+chds.mflux_cClz+chds.cflux_cClz | mol/(m²·s) | Total flux, z component | Domain 3 | + operation |
| chds.dfluxMag_cCl | sqrt(chds.dflux_cClr^2+chds.dflux_cClphi^2+chds.dflux_cClz^2) | mol/(m²·s) | Diffusive flux magnitude | Domain 3 |  |
| chds.tfluxMag_cCl | sqrt(chds.tflux_cClr^2+chds.tflux_cClphi^2+chds.tflux_cClz^2) | mol/(m²·s) | Total flux magnitude | Domain 3 |  |
| chds.dpflux_cClr | 0 | mol/(m²·s) | Dispersive flux, r component | Domain 3 |  |
| chds.dpflux_cClphi | 0 | mol/(m²·s) | Dispersive flux, phi component | Domain 3 |  |
| chds.dpflux_cClz | 0 | mol/(m²·s) | Dispersive flux, z component | Domain 3 |  |
| chds.mflux_cClr | chds.z_cCl*F_const*cCl*(-chds.um_cClrr*d(chds.V,r)-chds.um_cClrz*d(chds.V,z)) | mol/(m²·s) | Electrophoretic flux, r component | Domain 3 |  |
| chds.mflux_cClphi | chds.z_cCl*F_const*cCl*(-chds.um_cClphir*d(chds.V,r)-chds.um_cClphiz*d(chds.V,z)) | mol/(m²·s) | Electrophoretic flux, phi component | Domain 3 |  |
| chds.mflux_cClz | chds.z_cCl*F_const*cCl*(-chds.um_cClzr*d(chds.V,r)-chds.um_cClzz*d(chds.V,z)) | mol/(m²·s) | Electrophoretic flux, z component | Domain 3 |  |
| chds.mfluxMag_cCl | sqrt(chds.mflux_cClr^2+chds.mflux_cClphi^2+chds.mflux_cClz^2) | mol/(m²·s) | Electrophoretic flux magnitude | Domain 3 |  |
| chds.dflux_cKr | -chds.D_cKrr*cKr-chds.D_cKrz*cKz | mol/(m²·s) | Diffusive flux, r component | Domain 3 | + operation |
| chds.dflux_cKphi | -chds.D_cKphir*cKr-chds.D_cKphiz*cKz | mol/(m²·s) | Diffusive flux, phi component | Domain 3 | + operation |
| chds.dflux_cKz | -chds.D_cKzr*cKr-chds.D_cKzz*cKz | mol/(m²·s) | Diffusive flux, z component | Domain 3 | + operation |
| chds.grad_cKr | cKr | mol/m⁴ | Concentration gradient, r component | Domain 3 |  |
| chds.grad_cKphi | 0 | mol/m⁴ | Concentration gradient, phi component | Domain 3 |  |
| chds.grad_cKz | cKz | mol/m⁴ | Concentration gradient, z component | Domain 3 |  |
| chds.dflux_cClr | -chds.D_cClrr*cClr-chds.D_cClrz*cClz | mol/(m²·s) | Diffusive flux, r component | Domain 3 | + operation |
| chds.dflux_cClphi | -chds.D_cClphir*cClr-chds.D_cClphiz*cClz | mol/(m²·s) | Diffusive flux, phi component | Domain 3 | + operation |
| chds.dflux_cClz | -chds.D_cClzr*cClr-chds.D_cClzz*cClz | mol/(m²·s) | Diffusive flux, z component | Domain 3 | + operation |
| chds.grad_cClr | cClr | mol/m⁴ | Concentration gradient, r component | Domain 3 |  |
| chds.grad_cClphi | 0 | mol/m⁴ | Concentration gradient, phi component | Domain 3 |  |
| chds.grad_cClz | cClz | mol/m⁴ | Concentration gradient, z component | Domain 3 |  |
| chds.um_cKrr | chds.D_cKrr/(R_const*chds.T) | s·mol/kg | Mobility, rr component | Domain 3 |  |
| chds.um_cKphir | chds.D_cKphir/(R_const*chds.T) | s·mol/kg | Mobility, phir component | Domain 3 |  |
| chds.um_cKzr | chds.D_cKzr/(R_const*chds.T) | s·mol/kg | Mobility, zr component | Domain 3 |  |
| chds.um_cKrphi | chds.D_cKrphi/(R_const*chds.T) | s·mol/kg | Mobility, rphi component | Domain 3 |  |
| chds.um_cKphiphi | chds.D_cKphiphi/(R_const*chds.T) | s·mol/kg | Mobility, phiphi component | Domain 3 |  |
| chds.um_cKzphi | chds.D_cKzphi/(R_const*chds.T) | s·mol/kg | Mobility, zphi component | Domain 3 |  |
| chds.um_cKrz | chds.D_cKrz/(R_const*chds.T) | s·mol/kg | Mobility, rz component | Domain 3 |  |
| chds.um_cKphiz | chds.D_cKphiz/(R_const*chds.T) | s·mol/kg | Mobility, phiz component | Domain 3 |  |
| chds.um_cKzz | chds.D_cKzz/(R_const*chds.T) | s·mol/kg | Mobility, zz component | Domain 3 |  |
| chds.z_cK | 1 | 1 | Charge number | Domain 3 |  |
| chds.um_cClrr | chds.D_cClrr/(R_const*chds.T) | s·mol/kg | Mobility, rr component | Domain 3 |  |
| chds.um_cClphir | chds.D_cClphir/(R_const*chds.T) | s·mol/kg | Mobility, phir component | Domain 3 |  |
| chds.um_cClzr | chds.D_cClzr/(R_const*chds.T) | s·mol/kg | Mobility, zr component | Domain 3 |  |
| chds.um_cClrphi | chds.D_cClrphi/(R_const*chds.T) | s·mol/kg | Mobility, rphi component | Domain 3 |  |
| chds.um_cClphiphi | chds.D_cClphiphi/(R_const*chds.T) | s·mol/kg | Mobility, phiphi component | Domain 3 |  |
| chds.um_cClzphi | chds.D_cClzphi/(R_const*chds.T) | s·mol/kg | Mobility, zphi component | Domain 3 |  |
| chds.um_cClrz | chds.D_cClrz/(R_const*chds.T) | s·mol/kg | Mobility, rz component | Domain 3 |  |
| chds.um_cClphiz | chds.D_cClphiz/(R_const*chds.T) | s·mol/kg | Mobility, phiz component | Domain 3 |  |
| chds.um_cClzz | chds.D_cClzz/(R_const*chds.T) | s·mol/kg | Mobility, zz component | Domain 3 |  |
| chds.z_cCl | -1 | 1 | Charge number | Domain 3 |  |
| chds.V | model.input.V | V | Electric potential | Domain 3 | Meta |
| chds.T | chds.cdm1.minput_temperature | K | Temperature | Domain 3 |  |
| chds.cflux_cKr | cK*chds.u | mol/(m²·s) | Convective flux, r component | Domain 3 |  |
| chds.cflux_cKphi | cK*chds.v | mol/(m²·s) | Convective flux, phi component | Domain 3 |  |
| chds.cflux_cKz | cK*chds.w | mol/(m²·s) | Convective flux, z component | Domain 3 |  |
| chds.cfluxMag_cK | sqrt(chds.cflux_cKr^2+chds.cflux_cKphi^2+chds.cflux_cKz^2) | mol/(m²·s) | Convective flux magnitude | Domain 3 |  |
| chds.cflux_cClr | cCl*chds.u | mol/(m²·s) | Convective flux, r component | Domain 3 |  |
| chds.cflux_cClphi | cCl*chds.v | mol/(m²·s) | Convective flux, phi component | Domain 3 |  |
| chds.cflux_cClz | cCl*chds.w | mol/(m²·s) | Convective flux, z component | Domain 3 |  |
| chds.cfluxMag_cCl | sqrt(chds.cflux_cClr^2+chds.cflux_cClphi^2+chds.cflux_cClz^2) | mol/(m²·s) | Convective flux magnitude | Domain 3 |  |
| chds.bndFlux_cK | 0.25*(uflux_spatial(cK)-dflux_spatial(cK))/(pi*r*chds.d) | mol/(m²·s) | Boundary flux | Boundary 5 | Meta |
| chds.bndFlux_cK | -dflux_spatial(cK)/chds.d | mol/(m²·s) | Boundary flux | Boundary 4 |  |
| chds.bndFlux_cK | -0.5*dflux_spatial(cK)/(pi*r*chds.d) | mol/(m²·s) | Boundary flux | Boundaries 6, 11 | Meta |
| chds.bndFlux_cCl | 0.25*(uflux_spatial(cCl)-dflux_spatial(cCl))/(pi*r*chds.d) | mol/(m²·s) | Boundary flux | Boundary 5 | Meta |
| chds.bndFlux_cCl | -dflux_spatial(cCl)/chds.d | mol/(m²·s) | Boundary flux | Boundary 4 |  |
| chds.bndFlux_cCl | -0.5*dflux_spatial(cCl)/(pi*r*chds.d) | mol/(m²·s) | Boundary flux | Boundaries 6, 11 | Meta |
| chds.Res_cK | -chds.D_cKrr*cKrr-chds.D_cKrz*cKrz-chds.D_cKzr*cKzr-chds.D_cKzz*cKzz+d(cK*(chds.u-chds.z_cK*chds.um_cKrr*F_const*d(chds.V,r)-chds.z_cK*chds.um_cKrz*F_const*d(chds.V,z)),r)+if(abs(r)<0.001*h,d(cK*(chds.u-chds.z_cK*chds.um_cKrr*F_const*d(chds.V,r)-chds.z_cK*chds.um_cKrz*F_const*d(chds.V,z)),r),cK*(chds.u-chds.z_cK*chds.um_cKrr*F_const*d(chds.V,r)-chds.z_cK*chds.um_cKrz*F_const*d(chds.V,z))/r)+d(cK*(chds.w-chds.z_cK*chds.um_cKzr*F_const*d(chds.V,r)-chds.z_cK*chds.um_cKzz*F_const*d(chds.V,z)),z)-chds.R_cK | mol/(m³·s) | Equation residual | Domain 3 |  |
| chds.Rlin_cK | 0 |  | Linear source term coefficient | Domain 3 |  |
| chds.Res_cCl | -chds.D_cClrr*cClrr-chds.D_cClrz*cClrz-chds.D_cClzr*cClzr-chds.D_cClzz*cClzz+d(cCl*(chds.u-chds.z_cCl*chds.um_cClrr*F_const*d(chds.V,r)-chds.z_cCl*chds.um_cClrz*F_const*d(chds.V,z)),r)+if(abs(r)<0.001*h,d(cCl*(chds.u-chds.z_cCl*chds.um_cClrr*F_const*d(chds.V,r)-chds.z_cCl*chds.um_cClrz*F_const*d(chds.V,z)),r),cCl*(chds.u-chds.z_cCl*chds.um_cClrr*F_const*d(chds.V,r)-chds.z_cCl*chds.um_cClrz*F_const*d(chds.V,z))/r)+d(cCl*(chds.w-chds.z_cCl*chds.um_cClzr*F_const*d(chds.V,r)-chds.z_cCl*chds.um_cClzz*F_const*d(chds.V,z)),z)-chds.R_cCl | mol/(m³·s) | Equation residual | Domain 3 |  |
| chds.Rlin_cCl | 0 |  | Linear source term coefficient | Domain 3 |  |

Shape functions

| Name | Shape function | Unit | Description | Shape frame | Selection |
| --- | --- | --- | --- | --- | --- |
| cK | Lagrange (Quadratic) | mol/m³ | Concentration | Material | Domain 3 |
| cCl | Lagrange (Quadratic) | mol/m³ | Concentration | Material | Domain 3 |

Weak Expressions

| Weak expression | Integration order | Integration frame | Selection |
| --- | --- | --- | --- |
| 2*(chds.dflux_cKr*test(cKr)+chds.dflux_cKz*test(cKz))*chds.d*pi*r | 4 | Material | Domain 3 |
| 2*(chds.dflux_cClr*test(cClr)+chds.dflux_cClz*test(cClz))*chds.d*pi*r | 4 | Material | Domain 3 |
| 2*chds.z_cK*F_const*cK*((-chds.um_cKrr*d(chds.V,r)-chds.um_cKrz*d(chds.V,z))*test(cKr)+(-chds.um_cKzr*d(chds.V,r)-chds.um_cKzz*d(chds.V,z))*test(cKz))*chds.d*pi*r | 4 | Material | Domain 3 |
| 2*chds.z_cCl*F_const*cCl*((-chds.um_cClrr*d(chds.V,r)-chds.um_cClrz*d(chds.V,z))*test(cClr)+(-chds.um_cClzr*d(chds.V,r)-chds.um_cClzz*d(chds.V,z))*test(cClz))*chds.d*pi*r | 4 | Material | Domain 3 |
| 2*cK*(chds.u*test(cKr)+chds.w*test(cKz))*(isScalingSystemDomain==0)*chds.d*pi*r | 4 | Material | Domain 3 |
| 2*chds.cbf_cK*test(cK)*chds.d*pi*r | 4 | Material | Boundaries 4–6, 11 |
| 2*cCl*(chds.u*test(cClr)+chds.w*test(cClz))*(isScalingSystemDomain==0)*chds.d*pi*r | 4 | Material | Domain 3 |
| 2*chds.cbf_cCl*test(cCl)*chds.d*pi*r | 4 | Material | Boundaries 4–6, 11 |
| 2*chds.streamline*(isScalingSystemDomain==0)*chds.d*pi*r | 4 | Material | Domain 3 |
| 2*chds.crosswind*(isScalingSystemDomain==0)*chds.d*pi*r | 6 | Material | Domain 3 |

Axial Symmetry

Axial Symmetry

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Selection | Geometry geom1: Dimension 1: All boundaries |

No Flux (Glass Wall)

No Flux (Glass Wall)

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Selection | Geometry geom1: Dimension 1: All boundaries |

Equations

Convection

Settings

| Description | Value |
| --- | --- |
| Include | Off |

Variables

| Name | Expression | Unit | Description | Selection |
| --- | --- | --- | --- | --- |
| chds.cbf_cK | cK*(-chds.u*chds.nrmesh-chds.v*chds.nphimesh-chds.w*chds.nzmesh) | mol/(m²·s) | Convective boundary flux | Boundaries 7–9, 11 |
| chds.cbf_cCl | cCl*(-chds.u*chds.nrmesh-chds.v*chds.nphimesh-chds.w*chds.nzmesh) | mol/(m²·s) | Convective boundary flux | Boundaries 7–9, 11 |

Initial Values

Initial Values

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: All domains |

Initial Values

Settings

| Description | Value |
| --- | --- |
| Concentration | {cb, cb} |

Convection, Diffusion, and Migration (Bath)

Convection, Diffusion, and Migration (Bath)

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: Domains 1–2, 4 |

Equations

Convection

Settings

| Description | Value |
| --- | --- |
| Velocity field | Velocity field (spf) |

Diffusion

Settings

| Description | Value |
| --- | --- |
| Source | Material |
| Material | None |
| Diffusion coefficient | User defined |
| Diffusion coefficient | {{DKBath, 0, 0}, {0, DKBath, 0}, {0, 0, DKBath}} |
| Diffusion coefficient | User defined |
| Diffusion coefficient | {{DClBath, 0, 0}, {0, DClBath, 0}, {0, 0, DClBath}} |

Migration in Electric Field

Settings

| Description | Value |
| --- | --- |
| Electric potential | Electric potential (es) |
| Mobility | Nernst - Einstein relation |
| Charge number | {1, -1} |

Coordinate System Selection

Settings

| Description | Value |
| --- | --- |
| Coordinate system | Global coordinate system |

Model Input

Settings

| Description | Value |
| --- | --- |
| Temperature | User defined |
| Temperature | T |

Variables

| Name | Expression | Unit | Description | Selection | Details |
| --- | --- | --- | --- | --- | --- |
| domflux.cKr | 2*(chds.dflux_cKr+chds.cflux_cKr+chds.mflux_cKr)*pi*r*chds.d | mol/(m·s) | Domain flux, r component | Domains 1–2, 4 |  |
| domflux.cKz | 2*(chds.dflux_cKz+chds.cflux_cKz+chds.mflux_cKz)*pi*r*chds.d | mol/(m·s) | Domain flux, z component | Domains 1–2, 4 |  |
| domflux.cClr | 2*(chds.dflux_cClr+chds.cflux_cClr+chds.mflux_cClr)*pi*r*chds.d | mol/(m·s) | Domain flux, r component | Domains 1–2, 4 |  |
| domflux.cClz | 2*(chds.dflux_cClz+chds.cflux_cClz+chds.mflux_cClz)*pi*r*chds.d | mol/(m·s) | Domain flux, z component | Domains 1–2, 4 |  |
| chds.ndflux_cK | chds.dflux_cKr*chds.nrc+chds.dflux_cKphi*chds.nphic+chds.dflux_cKz*chds.nzc | mol/(m²·s) | Normal diffusive flux | Boundaries 3, 5, 7–10, 12–14 |  |
| chds.ncflux_cK | chds.cflux_cKr*chds.nrc+chds.cflux_cKphi*chds.nphic+chds.cflux_cKz*chds.nzc | mol/(m²·s) | Normal convective flux | Boundaries 3, 5, 7–10, 12–14 |  |
| chds.nmflux_cK | chds.mflux_cKr*chds.nrc+chds.mflux_cKphi*chds.nphic+chds.mflux_cKz*chds.nzc | mol/(m²·s) | Normal electrophoretic flux | Boundaries 3, 5, 7–10, 12–14 |  |
| chds.ntflux_cK | chds.bndFlux_cK | mol/(m²·s) | Normal total flux | Boundaries 3, 5, 7–10, 12–14 |  |
| chds.ndflux_cCl | chds.dflux_cClr*chds.nrc+chds.dflux_cClphi*chds.nphic+chds.dflux_cClz*chds.nzc | mol/(m²·s) | Normal diffusive flux | Boundaries 3, 5, 7–10, 12–14 |  |
| chds.ncflux_cCl | chds.cflux_cClr*chds.nrc+chds.cflux_cClphi*chds.nphic+chds.cflux_cClz*chds.nzc | mol/(m²·s) | Normal convective flux | Boundaries 3, 5, 7–10, 12–14 |  |
| chds.nmflux_cCl | chds.mflux_cClr*chds.nrc+chds.mflux_cClphi*chds.nphic+chds.mflux_cClz*chds.nzc | mol/(m²·s) | Normal electrophoretic flux | Boundaries 3, 5, 7–10, 12–14 |  |
| chds.ntflux_cCl | chds.bndFlux_cCl | mol/(m²·s) | Normal total flux | Boundaries 3, 5, 7–10, 12–14 |  |
| chds.u | model.input.u1 | m/s | Velocity field, r component | Domains 1–2, 4 | Meta |
| chds.v | model.input.u2 | m/s | Velocity field, phi component | Domains 1–2, 4 | Meta |
| chds.w | model.input.u3 | m/s | Velocity field, z component | Domains 1–2, 4 | Meta |
| chds.DF_cKrr | DKBath | m²/s | Fluid diffusion coefficient, rr component | Domains 1–2, 4 |  |
| chds.DF_cKphir | 0 | m²/s | Fluid diffusion coefficient, phir component | Domains 1–2, 4 |  |
| chds.DF_cKzr | 0 | m²/s | Fluid diffusion coefficient, zr component | Domains 1–2, 4 |  |
| chds.DF_cKrphi | 0 | m²/s | Fluid diffusion coefficient, rphi component | Domains 1–2, 4 |  |
| chds.DF_cKphiphi | DKBath | m²/s | Fluid diffusion coefficient, phiphi component | Domains 1–2, 4 |  |
| chds.DF_cKzphi | 0 | m²/s | Fluid diffusion coefficient, zphi component | Domains 1–2, 4 |  |
| chds.DF_cKrz | 0 | m²/s | Fluid diffusion coefficient, rz component | Domains 1–2, 4 |  |
| chds.DF_cKphiz | 0 | m²/s | Fluid diffusion coefficient, phiz component | Domains 1–2, 4 |  |
| chds.DF_cKzz | DKBath | m²/s | Fluid diffusion coefficient, zz component | Domains 1–2, 4 |  |
| chds.D_cKrr | chds.DF_cKrr+chds.DiT_cK | m²/s | Diffusion coefficient, rr component | Domains 1–2, 4 |  |
| chds.D_cKphir | chds.DF_cKphir | m²/s | Diffusion coefficient, phir component | Domains 1–2, 4 |  |
| chds.D_cKzr | chds.DF_cKzr | m²/s | Diffusion coefficient, zr component | Domains 1–2, 4 |  |
| chds.D_cKrphi | chds.DF_cKrphi | m²/s | Diffusion coefficient, rphi component | Domains 1–2, 4 |  |
| chds.D_cKphiphi | chds.DF_cKphiphi+chds.DiT_cK | m²/s | Diffusion coefficient, phiphi component | Domains 1–2, 4 |  |
| chds.D_cKzphi | chds.DF_cKzphi | m²/s | Diffusion coefficient, zphi component | Domains 1–2, 4 |  |
| chds.D_cKrz | chds.DF_cKrz | m²/s | Diffusion coefficient, rz component | Domains 1–2, 4 |  |
| chds.D_cKphiz | chds.DF_cKphiz | m²/s | Diffusion coefficient, phiz component | Domains 1–2, 4 |  |
| chds.D_cKzz | chds.DF_cKzz+chds.DiT_cK | m²/s | Diffusion coefficient, zz component | Domains 1–2, 4 |  |
| chds.DF_cClrr | DClBath | m²/s | Fluid diffusion coefficient, rr component | Domains 1–2, 4 |  |
| chds.DF_cClphir | 0 | m²/s | Fluid diffusion coefficient, phir component | Domains 1–2, 4 |  |
| chds.DF_cClzr | 0 | m²/s | Fluid diffusion coefficient, zr component | Domains 1–2, 4 |  |
| chds.DF_cClrphi | 0 | m²/s | Fluid diffusion coefficient, rphi component | Domains 1–2, 4 |  |
| chds.DF_cClphiphi | DClBath | m²/s | Fluid diffusion coefficient, phiphi component | Domains 1–2, 4 |  |
| chds.DF_cClzphi | 0 | m²/s | Fluid diffusion coefficient, zphi component | Domains 1–2, 4 |  |
| chds.DF_cClrz | 0 | m²/s | Fluid diffusion coefficient, rz component | Domains 1–2, 4 |  |
| chds.DF_cClphiz | 0 | m²/s | Fluid diffusion coefficient, phiz component | Domains 1–2, 4 |  |
| chds.DF_cClzz | DClBath | m²/s | Fluid diffusion coefficient, zz component | Domains 1–2, 4 |  |
| chds.D_cClrr | chds.DF_cClrr+chds.DiT_cCl | m²/s | Diffusion coefficient, rr component | Domains 1–2, 4 |  |
| chds.D_cClphir | chds.DF_cClphir | m²/s | Diffusion coefficient, phir component | Domains 1–2, 4 |  |
| chds.D_cClzr | chds.DF_cClzr | m²/s | Diffusion coefficient, zr component | Domains 1–2, 4 |  |
| chds.D_cClrphi | chds.DF_cClrphi | m²/s | Diffusion coefficient, rphi component | Domains 1–2, 4 |  |
| chds.D_cClphiphi | chds.DF_cClphiphi+chds.DiT_cCl | m²/s | Diffusion coefficient, phiphi component | Domains 1–2, 4 |  |
| chds.D_cClzphi | chds.DF_cClzphi | m²/s | Diffusion coefficient, zphi component | Domains 1–2, 4 |  |
| chds.D_cClrz | chds.DF_cClrz | m²/s | Diffusion coefficient, rz component | Domains 1–2, 4 |  |
| chds.D_cClphiz | chds.DF_cClphiz | m²/s | Diffusion coefficient, phiz component | Domains 1–2, 4 |  |
| chds.D_cClzz | chds.DF_cClzz+chds.DiT_cCl | m²/s | Diffusion coefficient, zz component | Domains 1–2, 4 |  |
| chds.Dav_cK | 0.5*(chds.D_cKrr+chds.D_cKzz) | m²/s | Average diffusion coefficient | Domains 1–2, 4 |  |
| chds.Dav_cCl | 0.5*(chds.D_cClrr+chds.D_cClzz) | m²/s | Average diffusion coefficient | Domains 1–2, 4 |  |
| chds.tflux_cKr | chds.dflux_cKr+chds.mflux_cKr+chds.cflux_cKr | mol/(m²·s) | Total flux, r component | Domains 1–2, 4 | + operation |
| chds.tflux_cKphi | chds.dflux_cKphi+chds.mflux_cKphi+chds.cflux_cKphi | mol/(m²·s) | Total flux, phi component | Domains 1–2, 4 | + operation |
| chds.tflux_cKz | chds.dflux_cKz+chds.mflux_cKz+chds.cflux_cKz | mol/(m²·s) | Total flux, z component | Domains 1–2, 4 | + operation |
| chds.dfluxMag_cK | sqrt(chds.dflux_cKr^2+chds.dflux_cKphi^2+chds.dflux_cKz^2) | mol/(m²·s) | Diffusive flux magnitude | Domains 1–2, 4 |  |
| chds.tfluxMag_cK | sqrt(chds.tflux_cKr^2+chds.tflux_cKphi^2+chds.tflux_cKz^2) | mol/(m²·s) | Total flux magnitude | Domains 1–2, 4 |  |
| chds.dpflux_cKr | 0 | mol/(m²·s) | Dispersive flux, r component | Domains 1–2, 4 |  |
| chds.dpflux_cKphi | 0 | mol/(m²·s) | Dispersive flux, phi component | Domains 1–2, 4 |  |
| chds.dpflux_cKz | 0 | mol/(m²·s) | Dispersive flux, z component | Domains 1–2, 4 |  |
| chds.mflux_cKr | chds.z_cK*F_const*cK*(-chds.um_cKrr*d(chds.V,r)-chds.um_cKrz*d(chds.V,z)) | mol/(m²·s) | Electrophoretic flux, r component | Domains 1–2, 4 |  |
| chds.mflux_cKphi | chds.z_cK*F_const*cK*(-chds.um_cKphir*d(chds.V,r)-chds.um_cKphiz*d(chds.V,z)) | mol/(m²·s) | Electrophoretic flux, phi component | Domains 1–2, 4 |  |
| chds.mflux_cKz | chds.z_cK*F_const*cK*(-chds.um_cKzr*d(chds.V,r)-chds.um_cKzz*d(chds.V,z)) | mol/(m²·s) | Electrophoretic flux, z component | Domains 1–2, 4 |  |
| chds.mfluxMag_cK | sqrt(chds.mflux_cKr^2+chds.mflux_cKphi^2+chds.mflux_cKz^2) | mol/(m²·s) | Electrophoretic flux magnitude | Domains 1–2, 4 |  |
| chds.tflux_cClr | chds.dflux_cClr+chds.mflux_cClr+chds.cflux_cClr | mol/(m²·s) | Total flux, r component | Domains 1–2, 4 | + operation |
| chds.tflux_cClphi | chds.dflux_cClphi+chds.mflux_cClphi+chds.cflux_cClphi | mol/(m²·s) | Total flux, phi component | Domains 1–2, 4 | + operation |
| chds.tflux_cClz | chds.dflux_cClz+chds.mflux_cClz+chds.cflux_cClz | mol/(m²·s) | Total flux, z component | Domains 1–2, 4 | + operation |
| chds.dfluxMag_cCl | sqrt(chds.dflux_cClr^2+chds.dflux_cClphi^2+chds.dflux_cClz^2) | mol/(m²·s) | Diffusive flux magnitude | Domains 1–2, 4 |  |
| chds.tfluxMag_cCl | sqrt(chds.tflux_cClr^2+chds.tflux_cClphi^2+chds.tflux_cClz^2) | mol/(m²·s) | Total flux magnitude | Domains 1–2, 4 |  |
| chds.dpflux_cClr | 0 | mol/(m²·s) | Dispersive flux, r component | Domains 1–2, 4 |  |
| chds.dpflux_cClphi | 0 | mol/(m²·s) | Dispersive flux, phi component | Domains 1–2, 4 |  |
| chds.dpflux_cClz | 0 | mol/(m²·s) | Dispersive flux, z component | Domains 1–2, 4 |  |
| chds.mflux_cClr | chds.z_cCl*F_const*cCl*(-chds.um_cClrr*d(chds.V,r)-chds.um_cClrz*d(chds.V,z)) | mol/(m²·s) | Electrophoretic flux, r component | Domains 1–2, 4 |  |
| chds.mflux_cClphi | chds.z_cCl*F_const*cCl*(-chds.um_cClphir*d(chds.V,r)-chds.um_cClphiz*d(chds.V,z)) | mol/(m²·s) | Electrophoretic flux, phi component | Domains 1–2, 4 |  |
| chds.mflux_cClz | chds.z_cCl*F_const*cCl*(-chds.um_cClzr*d(chds.V,r)-chds.um_cClzz*d(chds.V,z)) | mol/(m²·s) | Electrophoretic flux, z component | Domains 1–2, 4 |  |
| chds.mfluxMag_cCl | sqrt(chds.mflux_cClr^2+chds.mflux_cClphi^2+chds.mflux_cClz^2) | mol/(m²·s) | Electrophoretic flux magnitude | Domains 1–2, 4 |  |
| chds.dflux_cKr | -chds.D_cKrr*cKr-chds.D_cKrz*cKz | mol/(m²·s) | Diffusive flux, r component | Domains 1–2, 4 | + operation |
| chds.dflux_cKphi | -chds.D_cKphir*cKr-chds.D_cKphiz*cKz | mol/(m²·s) | Diffusive flux, phi component | Domains 1–2, 4 | + operation |
| chds.dflux_cKz | -chds.D_cKzr*cKr-chds.D_cKzz*cKz | mol/(m²·s) | Diffusive flux, z component | Domains 1–2, 4 | + operation |
| chds.grad_cKr | cKr | mol/m⁴ | Concentration gradient, r component | Domains 1–2, 4 |  |
| chds.grad_cKphi | 0 | mol/m⁴ | Concentration gradient, phi component | Domains 1–2, 4 |  |
| chds.grad_cKz | cKz | mol/m⁴ | Concentration gradient, z component | Domains 1–2, 4 |  |
| chds.dflux_cClr | -chds.D_cClrr*cClr-chds.D_cClrz*cClz | mol/(m²·s) | Diffusive flux, r component | Domains 1–2, 4 | + operation |
| chds.dflux_cClphi | -chds.D_cClphir*cClr-chds.D_cClphiz*cClz | mol/(m²·s) | Diffusive flux, phi component | Domains 1–2, 4 | + operation |
| chds.dflux_cClz | -chds.D_cClzr*cClr-chds.D_cClzz*cClz | mol/(m²·s) | Diffusive flux, z component | Domains 1–2, 4 | + operation |
| chds.grad_cClr | cClr | mol/m⁴ | Concentration gradient, r component | Domains 1–2, 4 |  |
| chds.grad_cClphi | 0 | mol/m⁴ | Concentration gradient, phi component | Domains 1–2, 4 |  |
| chds.grad_cClz | cClz | mol/m⁴ | Concentration gradient, z component | Domains 1–2, 4 |  |
| chds.um_cKrr | chds.D_cKrr/(R_const*chds.T) | s·mol/kg | Mobility, rr component | Domains 1–2, 4 |  |
| chds.um_cKphir | chds.D_cKphir/(R_const*chds.T) | s·mol/kg | Mobility, phir component | Domains 1–2, 4 |  |
| chds.um_cKzr | chds.D_cKzr/(R_const*chds.T) | s·mol/kg | Mobility, zr component | Domains 1–2, 4 |  |
| chds.um_cKrphi | chds.D_cKrphi/(R_const*chds.T) | s·mol/kg | Mobility, rphi component | Domains 1–2, 4 |  |
| chds.um_cKphiphi | chds.D_cKphiphi/(R_const*chds.T) | s·mol/kg | Mobility, phiphi component | Domains 1–2, 4 |  |
| chds.um_cKzphi | chds.D_cKzphi/(R_const*chds.T) | s·mol/kg | Mobility, zphi component | Domains 1–2, 4 |  |
| chds.um_cKrz | chds.D_cKrz/(R_const*chds.T) | s·mol/kg | Mobility, rz component | Domains 1–2, 4 |  |
| chds.um_cKphiz | chds.D_cKphiz/(R_const*chds.T) | s·mol/kg | Mobility, phiz component | Domains 1–2, 4 |  |
| chds.um_cKzz | chds.D_cKzz/(R_const*chds.T) | s·mol/kg | Mobility, zz component | Domains 1–2, 4 |  |
| chds.z_cK | 1 | 1 | Charge number | Domains 1–2, 4 |  |
| chds.um_cClrr | chds.D_cClrr/(R_const*chds.T) | s·mol/kg | Mobility, rr component | Domains 1–2, 4 |  |
| chds.um_cClphir | chds.D_cClphir/(R_const*chds.T) | s·mol/kg | Mobility, phir component | Domains 1–2, 4 |  |
| chds.um_cClzr | chds.D_cClzr/(R_const*chds.T) | s·mol/kg | Mobility, zr component | Domains 1–2, 4 |  |
| chds.um_cClrphi | chds.D_cClrphi/(R_const*chds.T) | s·mol/kg | Mobility, rphi component | Domains 1–2, 4 |  |
| chds.um_cClphiphi | chds.D_cClphiphi/(R_const*chds.T) | s·mol/kg | Mobility, phiphi component | Domains 1–2, 4 |  |
| chds.um_cClzphi | chds.D_cClzphi/(R_const*chds.T) | s·mol/kg | Mobility, zphi component | Domains 1–2, 4 |  |
| chds.um_cClrz | chds.D_cClrz/(R_const*chds.T) | s·mol/kg | Mobility, rz component | Domains 1–2, 4 |  |
| chds.um_cClphiz | chds.D_cClphiz/(R_const*chds.T) | s·mol/kg | Mobility, phiz component | Domains 1–2, 4 |  |
| chds.um_cClzz | chds.D_cClzz/(R_const*chds.T) | s·mol/kg | Mobility, zz component | Domains 1–2, 4 |  |
| chds.z_cCl | -1 | 1 | Charge number | Domains 1–2, 4 |  |
| chds.V | model.input.V | V | Electric potential | Domains 1–2, 4 | Meta |
| chds.T | chds.cdm2.minput_temperature | K | Temperature | Domains 1–2, 4 |  |
| chds.cflux_cKr | cK*chds.u | mol/(m²·s) | Convective flux, r component | Domains 1–2, 4 |  |
| chds.cflux_cKphi | cK*chds.v | mol/(m²·s) | Convective flux, phi component | Domains 1–2, 4 |  |
| chds.cflux_cKz | cK*chds.w | mol/(m²·s) | Convective flux, z component | Domains 1–2, 4 |  |
| chds.cfluxMag_cK | sqrt(chds.cflux_cKr^2+chds.cflux_cKphi^2+chds.cflux_cKz^2) | mol/(m²·s) | Convective flux magnitude | Domains 1–2, 4 |  |
| chds.cflux_cClr | cCl*chds.u | mol/(m²·s) | Convective flux, r component | Domains 1–2, 4 |  |
| chds.cflux_cClphi | cCl*chds.v | mol/(m²·s) | Convective flux, phi component | Domains 1–2, 4 |  |
| chds.cflux_cClz | cCl*chds.w | mol/(m²·s) | Convective flux, z component | Domains 1–2, 4 |  |
| chds.cfluxMag_cCl | sqrt(chds.cflux_cClr^2+chds.cflux_cClphi^2+chds.cflux_cClz^2) | mol/(m²·s) | Convective flux magnitude | Domains 1–2, 4 |  |
| chds.bndFlux_cK | 0.25*(uflux_spatial(cK)-dflux_spatial(cK))/(pi*r*chds.d) | mol/(m²·s) | Boundary flux | Boundaries 3, 5, 10 | Meta |
| chds.bndFlux_cK | -dflux_spatial(cK)/chds.d | mol/(m²·s) | Boundary flux | Boundaries 1–2 |  |
| chds.bndFlux_cK | -0.5*dflux_spatial(cK)/(pi*r*chds.d) | mol/(m²·s) | Boundary flux | Boundaries 7–9, 12–14 | Meta |
| chds.bndFlux_cCl | 0.25*(uflux_spatial(cCl)-dflux_spatial(cCl))/(pi*r*chds.d) | mol/(m²·s) | Boundary flux | Boundaries 3, 5, 10 | Meta |
| chds.bndFlux_cCl | -dflux_spatial(cCl)/chds.d | mol/(m²·s) | Boundary flux | Boundaries 1–2 |  |
| chds.bndFlux_cCl | -0.5*dflux_spatial(cCl)/(pi*r*chds.d) | mol/(m²·s) | Boundary flux | Boundaries 7–9, 12–14 | Meta |
| chds.Res_cK | -chds.D_cKrr*cKrr-chds.D_cKrz*cKrz-chds.D_cKzr*cKzr-chds.D_cKzz*cKzz+d(cK*(chds.u-chds.z_cK*chds.um_cKrr*F_const*d(chds.V,r)-chds.z_cK*chds.um_cKrz*F_const*d(chds.V,z)),r)+if(abs(r)<0.001*h,d(cK*(chds.u-chds.z_cK*chds.um_cKrr*F_const*d(chds.V,r)-chds.z_cK*chds.um_cKrz*F_const*d(chds.V,z)),r),cK*(chds.u-chds.z_cK*chds.um_cKrr*F_const*d(chds.V,r)-chds.z_cK*chds.um_cKrz*F_const*d(chds.V,z))/r)+d(cK*(chds.w-chds.z_cK*chds.um_cKzr*F_const*d(chds.V,r)-chds.z_cK*chds.um_cKzz*F_const*d(chds.V,z)),z)-chds.R_cK | mol/(m³·s) | Equation residual | Domains 1–2, 4 |  |
| chds.Rlin_cK | 0 |  | Linear source term coefficient | Domains 1–2, 4 |  |
| chds.Res_cCl | -chds.D_cClrr*cClrr-chds.D_cClrz*cClrz-chds.D_cClzr*cClzr-chds.D_cClzz*cClzz+d(cCl*(chds.u-chds.z_cCl*chds.um_cClrr*F_const*d(chds.V,r)-chds.z_cCl*chds.um_cClrz*F_const*d(chds.V,z)),r)+if(abs(r)<0.001*h,d(cCl*(chds.u-chds.z_cCl*chds.um_cClrr*F_const*d(chds.V,r)-chds.z_cCl*chds.um_cClrz*F_const*d(chds.V,z)),r),cCl*(chds.u-chds.z_cCl*chds.um_cClrr*F_const*d(chds.V,r)-chds.z_cCl*chds.um_cClrz*F_const*d(chds.V,z))/r)+d(cCl*(chds.w-chds.z_cCl*chds.um_cClzr*F_const*d(chds.V,r)-chds.z_cCl*chds.um_cClzz*F_const*d(chds.V,z)),z)-chds.R_cCl | mol/(m³·s) | Equation residual | Domains 1–2, 4 |  |
| chds.Rlin_cCl | 0 |  | Linear source term coefficient | Domains 1–2, 4 |  |

Shape functions

| Name | Shape function | Unit | Description | Shape frame | Selection |
| --- | --- | --- | --- | --- | --- |
| cK | Lagrange (Quadratic) | mol/m³ | Concentration | Material | Domains 1–2, 4 |
| cCl | Lagrange (Quadratic) | mol/m³ | Concentration | Material | Domains 1–2, 4 |

Weak Expressions

| Weak expression | Integration order | Integration frame | Selection |
| --- | --- | --- | --- |
| 2*(chds.dflux_cKr*test(cKr)+chds.dflux_cKz*test(cKz))*chds.d*pi*r | 4 | Material | Domains 1–2, 4 |
| 2*(chds.dflux_cClr*test(cClr)+chds.dflux_cClz*test(cClz))*chds.d*pi*r | 4 | Material | Domains 1–2, 4 |
| 2*chds.z_cK*F_const*cK*((-chds.um_cKrr*d(chds.V,r)-chds.um_cKrz*d(chds.V,z))*test(cKr)+(-chds.um_cKzr*d(chds.V,r)-chds.um_cKzz*d(chds.V,z))*test(cKz))*chds.d*pi*r | 4 | Material | Domains 1–2, 4 |
| 2*chds.z_cCl*F_const*cCl*((-chds.um_cClrr*d(chds.V,r)-chds.um_cClrz*d(chds.V,z))*test(cClr)+(-chds.um_cClzr*d(chds.V,r)-chds.um_cClzz*d(chds.V,z))*test(cClz))*chds.d*pi*r | 4 | Material | Domains 1–2, 4 |
| 2*cK*(chds.u*test(cKr)+chds.w*test(cKz))*(isScalingSystemDomain==0)*chds.d*pi*r | 4 | Material | Domains 1–2, 4 |
| 2*chds.cbf_cK*test(cK)*chds.d*pi*r | 4 | Material | Boundaries 1–3, 5, 7–10, 12–14 |
| 2*cCl*(chds.u*test(cClr)+chds.w*test(cClz))*(isScalingSystemDomain==0)*chds.d*pi*r | 4 | Material | Domains 1–2, 4 |
| 2*chds.cbf_cCl*test(cCl)*chds.d*pi*r | 4 | Material | Boundaries 1–3, 5, 7–10, 12–14 |
| 2*chds.streamline*(isScalingSystemDomain==0)*chds.d*pi*r | 4 | Material | Domains 1–2, 4 |
| 2*chds.crosswind*(isScalingSystemDomain==0)*chds.d*pi*r | 6 | Material | Domains 1–2, 4 |

Initial Values (Gouy-Chapman, Bath)

Initial Values (Gouy-Chapman, Bath)

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: Domains 1–2, 4 |

Initial Values

Settings

| Description | Value |
| --- | --- |
| Concentration | {cK_GCBath, cCl_GCBath} |

Variables

| Name | Expression | Unit | Description | Selection | Details |
| --- | --- | --- | --- | --- | --- |
| chds.c0_cK | cK_GCBath | mol/m³ | Concentration | Domains 1–2, 4 | + operation |
| chds.c0_cCl | cCl_GCBath | mol/m³ | Concentration | Domains 1–2, 4 | + operation |

Initial Values (Gouy-Chapman, Pore)

Initial Values (Gouy-Chapman, Pore)

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: Domain 3 |

Initial Values

Settings

| Description | Value |
| --- | --- |
| Concentration | {cK_GC, cCl_GC} |

Variables

| Name | Expression | Unit | Description | Selection | Details |
| --- | --- | --- | --- | --- | --- |
| chds.c0_cK | cK_GC | mol/m³ | Concentration | Domain 3 | + operation |
| chds.c0_cCl | cCl_GC | mol/m³ | Concentration | Domain 3 | + operation |

Concentration (Gouy-Chapman, internal electrode)

Concentration (Gouy-Chapman, internal electrode)

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Selection | Geometry geom1: Dimension 1: Boundary 6 |

Equations

Concentration

Settings

| Description | Value |
| --- | --- |
| Species cK | On |
| Species cCl | On |
| Concentration | {c_GC(dGlass, 1), c_GC(dGlass, -1)} |

Variables

| Name | Expression | Unit | Description | Selection | Details |
| --- | --- | --- | --- | --- | --- |
| chds.c0_cK | c_GC(dGlass,1) | mol/m³ | Concentration | Boundary 6 | + operation |
| chds.c0_cCl | c_GC(dGlass,-1) | mol/m³ | Concentration | Boundary 6 | + operation |
| chds.conc2.nmflow_cK | chds.conc2.int(2*chds.ntflux_cK*pi*r)*chds.d | mol/s | Normal molar flow rate | Global |  |
| chds.conc2.nmflow_cCl | chds.conc2.int(2*chds.ntflux_cCl*pi*r)*chds.d | mol/s | Normal molar flow rate | Global |  |

Constraints

| Constraint | Constraint force | Shape function | Selection | Details |
| --- | --- | --- | --- | --- |
| -chds.cVar_cK+chds.c0_cK | test(-chds.cVar_cK+chds.c0_cK) | Lagrange (Quadratic) | Boundary 6 | Elemental |
| -chds.cVar_cCl+chds.c0_cCl | test(-chds.cVar_cCl+chds.c0_cCl) | Lagrange (Quadratic) | Boundary 6 | Elemental |

Concentration (Gouy-Chapman, external electrode)

Concentration (Gouy-Chapman, external electrode)

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Selection | Geometry geom1: Dimension 1: Boundaries 12–14 |

Equations

Concentration

Settings

| Description | Value |
| --- | --- |
| Species cK | On |
| Species cCl | On |
| Concentration | {c_GCBath(dGlass, 1), c_GCBath(dGlass, -1)} |

Variables

| Name | Expression | Unit | Description | Selection | Details |
| --- | --- | --- | --- | --- | --- |
| chds.c0_cK | c_GCBath(dGlass,1) | mol/m³ | Concentration | Boundaries 12–14 | + operation |
| chds.c0_cCl | c_GCBath(dGlass,-1) | mol/m³ | Concentration | Boundaries 12–14 | + operation |
| chds.conc3.nmflow_cK | chds.conc3.int(2*chds.ntflux_cK*pi*r)*chds.d | mol/s | Normal molar flow rate | Global |  |
| chds.conc3.nmflow_cCl | chds.conc3.int(2*chds.ntflux_cCl*pi*r)*chds.d | mol/s | Normal molar flow rate | Global |  |

Constraints

| Constraint | Constraint force | Shape function | Selection | Details |
| --- | --- | --- | --- | --- |
| -chds.cVar_cK+chds.c0_cK | test(-chds.cVar_cK+chds.c0_cK) | Lagrange (Quadratic) | Boundaries 12–14 | Elemental |
| -chds.cVar_cCl+chds.c0_cCl | test(-chds.cVar_cCl+chds.c0_cCl) | Lagrange (Quadratic) | Boundaries 12–14 | Elemental |

Electrostatics

Used products

COMSOL Multiphysics

Electrostatics

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: All domains |

Equations

Interface Settings

Discretization

Settings

| Description | Value |
| --- | --- |
| Electric potential | Quadratic |

Manual Terminal Sweep Settings

Settings

| Description | Value |
| --- | --- |
| Use manual terminal sweep | Off |
| Reference impedance | 50[ohm] |

Variables

| Name | Expression | Unit | Description | Selection | Details |
| --- | --- | --- | --- | --- | --- |
| es.d | 1 | 1 | Contribution | Domains 1–4 |  |
| es.nr | nr |  | Normal vector, r component | Boundaries 3, 5, 10 |  |
| es.nphi | 0 |  | Normal vector, phi component | Boundaries 3, 5, 10 |  |
| es.nz | nz |  | Normal vector, z component | Boundaries 3, 5, 10 |  |
| es.nr | dnr |  | Normal vector, r component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| es.nphi | 0 |  | Normal vector, phi component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| es.nz | dnz |  | Normal vector, z component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| es.nmeshr | nrmesh |  | Mesh normal vector, r component | Boundaries 3, 5, 10 |  |
| es.nmeshphi | 0 |  | Mesh normal vector, phi component | Boundaries 3, 5, 10 |  |
| es.nmeshz | nzmesh |  | Mesh normal vector, z component | Boundaries 3, 5, 10 |  |
| es.nmeshr | dnrmesh |  | Mesh normal vector, r component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| es.nmeshphi | 0 |  | Mesh normal vector, phi component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| es.nmeshz | dnzmesh |  | Mesh normal vector, z component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| es.unmeshr | unrmesh |  | Mesh normal vector, upside, r component | Boundaries 1–14 |  |
| es.unmeshphi | 0 |  | Mesh normal vector, upside, phi component | Boundaries 1–14 |  |
| es.unmeshz | unzmesh |  | Mesh normal vector, upside, z component | Boundaries 1–14 |  |
| es.dnmeshr | dnrmesh |  | Mesh normal vector, downside, r component | Boundaries 1–14 |  |
| es.dnmeshphi | 0 |  | Mesh normal vector, downside, phi component | Boundaries 1–14 |  |
| es.dnmeshz | dnzmesh |  | Mesh normal vector, downside, z component | Boundaries 1–14 |  |
| es.I_srr | 1 | 1 | Spatial identity matrix, material frame, rr component | Domains 1–4 |  |
| es.I_sphir | 0 | 1 | Spatial identity matrix, material frame, phir component | Domains 1–4 |  |
| es.I_szr | 0 | 1 | Spatial identity matrix, material frame, zr component | Domains 1–4 |  |
| es.I_srphi | 0 | 1 | Spatial identity matrix, material frame, rphi component | Domains 1–4 |  |
| es.I_sphiphi | 1 | 1 | Spatial identity matrix, material frame, phiphi component | Domains 1–4 |  |
| es.I_szphi | 0 | 1 | Spatial identity matrix, material frame, zphi component | Domains 1–4 |  |
| es.I_srz | 0 | 1 | Spatial identity matrix, material frame, rz component | Domains 1–4 |  |
| es.I_sphiz | 0 | 1 | Spatial identity matrix, material frame, phiz component | Domains 1–4 |  |
| es.I_szz | 1 | 1 | Spatial identity matrix, material frame, zz component | Domains 1–4 |  |
| es.unTr | es.unTer | Pa | Maxwell upward surface stress tensor, r component | Boundaries 1–14 |  |
| es.unTphi | es.unTephi | Pa | Maxwell upward surface stress tensor, phi component | Boundaries 1–14 |  |
| es.unTz | es.unTez | Pa | Maxwell upward surface stress tensor, z component | Boundaries 1–14 |  |
| es.dnTr | es.dnTer | Pa | Maxwell downward surface stress tensor, r component | Boundaries 1–14 |  |
| es.dnTphi | es.dnTephi | Pa | Maxwell downward surface stress tensor, phi component | Boundaries 1–14 |  |
| es.dnTz | es.dnTez | Pa | Maxwell downward surface stress tensor, z component | Boundaries 1–14 |  |
| es.unr | unr |  | Normal vector up direction, r component | Boundaries 1–14 |  |
| es.unphi | 0 |  | Normal vector up direction, phi component | Boundaries 1–14 |  |
| es.unz | unz |  | Normal vector up direction, z component | Boundaries 1–14 |  |
| es.dnr | dnr |  | Normal vector down direction, r component | Boundaries 1–14 |  |
| es.dnphi | 0 |  | Normal vector down direction, phi component | Boundaries 1–14 |  |
| es.dnz | dnz |  | Normal vector down direction, z component | Boundaries 1–14 |  |
| es.unTer | -0.5*es.dnr*(real(up(es.Dr))*real(up(es.Er))+real(up(es.Dphi))*real(up(es.Ephi))+real(up(es.Dz))*real(up(es.Ez)))+real(up(es.Dr))*(real(up(es.Er))*es.dnr+real(up(es.Ephi))*es.dnphi+real(up(es.Ez))*es.dnz) | Pa | Maxwell upward electric surface stress tensor, r component | Boundaries 3, 5, 10 |  |
| es.unTephi | -0.5*es.dnphi*(real(up(es.Dr))*real(up(es.Er))+real(up(es.Dphi))*real(up(es.Ephi))+real(up(es.Dz))*real(up(es.Ez)))+real(up(es.Dphi))*(real(up(es.Er))*es.dnr+real(up(es.Ephi))*es.dnphi+real(up(es.Ez))*es.dnz) | Pa | Maxwell upward electric surface stress tensor, phi component | Boundaries 3, 5, 10 |  |
| es.unTez | -0.5*es.dnz*(real(up(es.Dr))*real(up(es.Er))+real(up(es.Dphi))*real(up(es.Ephi))+real(up(es.Dz))*real(up(es.Ez)))+real(up(es.Dz))*(real(up(es.Er))*es.dnr+real(up(es.Ephi))*es.dnphi+real(up(es.Ez))*es.dnz) | Pa | Maxwell upward electric surface stress tensor, z component | Boundaries 3, 5, 10 |  |
| es.unTer | 0 | Pa | Maxwell upward electric surface stress tensor, r component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| es.unTephi | 0 | Pa | Maxwell upward electric surface stress tensor, phi component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| es.unTez | 0 | Pa | Maxwell upward electric surface stress tensor, z component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| es.dnTer | -0.5*es.unr*(real(down(es.Dr))*real(down(es.Er))+real(down(es.Dphi))*real(down(es.Ephi))+real(down(es.Dz))*real(down(es.Ez)))+real(down(es.Dr))*(real(down(es.Er))*es.unr+real(down(es.Ephi))*es.unphi+real(down(es.Ez))*es.unz) | Pa | Maxwell downward electric surface stress tensor, r component | Boundaries 1–14 |  |
| es.dnTephi | -0.5*es.unphi*(real(down(es.Dr))*real(down(es.Er))+real(down(es.Dphi))*real(down(es.Ephi))+real(down(es.Dz))*real(down(es.Ez)))+real(down(es.Dphi))*(real(down(es.Er))*es.unr+real(down(es.Ephi))*es.unphi+real(down(es.Ez))*es.unz) | Pa | Maxwell downward electric surface stress tensor, phi component | Boundaries 1–14 |  |
| es.dnTez | -0.5*es.unz*(real(down(es.Dr))*real(down(es.Er))+real(down(es.Dphi))*real(down(es.Ephi))+real(down(es.Dz))*real(down(es.Ez)))+real(down(es.Dz))*(real(down(es.Er))*es.unr+real(down(es.Ephi))*es.unphi+real(down(es.Ez))*es.unz) | Pa | Maxwell downward electric surface stress tensor, z component | Boundaries 1–14 |  |
| es.intWe | es.int_We(es.d*es.dWe) | J | Total electric energy | Global | + operation |
| es.zref | 50[ohm] | Ω | Reference impedance | Global |  |

Charge Conservation (Pore)

Charge Conservation (Pore)

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: All domains |

Equations

Constitutive Relation D-E

Settings

| Description | Value |
| --- | --- |
| Dielectric model | Relative permittivity |
| Relative permittivity | User defined |
| Relative permittivity | {{EpsilonR, 0, 0}, {0, EpsilonR, 0}, {0, 0, EpsilonR}} |

Coordinate System Selection

Settings

| Description | Value |
| --- | --- |
| Coordinate system | Global coordinate system |

Variables

| Name | Expression | Unit | Description | Selection | Details |
| --- | --- | --- | --- | --- | --- |
| es.nD | 0 | C/m² | Surface charge density | Boundaries 4–6, 11 | + operation |
| es.epsilonrrr | EpsilonR | 1 | Relative permittivity, rr component | Domain 3 |  |
| es.epsilonrphir | 0 | 1 | Relative permittivity, phir component | Domain 3 |  |
| es.epsilonrzr | 0 | 1 | Relative permittivity, zr component | Domain 3 |  |
| es.epsilonrrphi | 0 | 1 | Relative permittivity, rphi component | Domain 3 |  |
| es.epsilonrphiphi | EpsilonR | 1 | Relative permittivity, phiphi component | Domain 3 |  |
| es.epsilonrzphi | 0 | 1 | Relative permittivity, zphi component | Domain 3 |  |
| es.epsilonrrz | 0 | 1 | Relative permittivity, rz component | Domain 3 |  |
| es.epsilonrphiz | 0 | 1 | Relative permittivity, phiz component | Domain 3 |  |
| es.epsilonrzz | EpsilonR | 1 | Relative permittivity, zz component | Domain 3 |  |
| es.epsilonr_iso | EpsilonR | 1 | Relative permittivity, isotropic value | Domain 3 |  |
| es.Drr | 0 | C/m² | Remanent electric displacement, r component | Domain 3 |  |
| es.Drphi | 0 | C/m² | Remanent electric displacement, phi component | Domain 3 |  |
| es.Drz | 0 | C/m² | Remanent electric displacement, z component | Domain 3 |  |
| es.Dr | epsilon0_const*es.I_srr*es.Er+epsilon0_const*es.I_srphi*es.Ephi+epsilon0_const*es.I_srz*es.Ez+es.Pr+es.Per | C/m² | Electric displacement field, r component | Domain 3 |  |
| es.Dphi | epsilon0_const*es.I_sphir*es.Er+epsilon0_const*es.I_sphiphi*es.Ephi+epsilon0_const*es.I_sphiz*es.Ez+es.Pphi+es.Pephi | C/m² | Electric displacement field, phi component | Domain 3 |  |
| es.Dz | epsilon0_const*es.I_szr*es.Er+epsilon0_const*es.I_szphi*es.Ephi+epsilon0_const*es.I_szz*es.Ez+es.Pz+es.Pez | C/m² | Electric displacement field, z component | Domain 3 |  |
| es.Pr | epsilon0_const*(es.chirr*es.Er+es.chirphi*es.Ephi+es.chirz*es.Ez) | C/m² | Polarization, r component | Domain 3 |  |
| es.Pphi | epsilon0_const*(es.chiphir*es.Er+es.chiphiphi*es.Ephi+es.chiphiz*es.Ez) | C/m² | Polarization, phi component | Domain 3 |  |
| es.Pz | epsilon0_const*(es.chizr*es.Er+es.chizphi*es.Ephi+es.chizz*es.Ez) | C/m² | Polarization, z component | Domain 3 |  |
| es.normD | sqrt(realdot(es.Dr,es.Dr)+realdot(es.Dphi,es.Dphi)+realdot(es.Dz,es.Dz)) | C/m² | Electric displacement field norm | Domain 3 |  |
| es.normP | sqrt(realdot(es.Pr,es.Pr)+realdot(es.Pphi,es.Pphi)+realdot(es.Pz,es.Pz)) | C/m² | Polarization norm | Domain 3 |  |
| es.Per | 0 | C/m² | Polarization contribution, r component | Domain 3 | + operation |
| es.Pephi | 0 | C/m² | Polarization contribution, phi component | Domain 3 | + operation |
| es.Pez | 0 | C/m² | Polarization contribution, z component | Domain 3 | + operation |
| es.chirr | -1+es.epsilonrrr | 1 | Electric susceptibility, rr component | Domain 3 |  |
| es.chiphir | es.epsilonrphir | 1 | Electric susceptibility, phir component | Domain 3 |  |
| es.chizr | es.epsilonrzr | 1 | Electric susceptibility, zr component | Domain 3 |  |
| es.chirphi | es.epsilonrrphi | 1 | Electric susceptibility, rphi component | Domain 3 |  |
| es.chiphiphi | -1+es.epsilonrphiphi | 1 | Electric susceptibility, phiphi component | Domain 3 |  |
| es.chizphi | es.epsilonrzphi | 1 | Electric susceptibility, zphi component | Domain 3 |  |
| es.chirz | es.epsilonrrz | 1 | Electric susceptibility, rz component | Domain 3 |  |
| es.chiphiz | es.epsilonrphiz | 1 | Electric susceptibility, phiz component | Domain 3 |  |
| es.chizz | -1+es.epsilonrzz | 1 | Electric susceptibility, zz component | Domain 3 |  |
| es.Er | -Vr | V/m | Electric field, r component | Domain 3 |  |
| es.Ephi | 0 | V/m | Electric field, phi component | Domain 3 |  |
| es.Ez | -Vz | V/m | Electric field, z component | Domain 3 |  |
| es.tEr | -VTr | V/m | Tangential electric field, r component | Boundaries 4–6, 11 |  |
| es.tEphi | 0 | V/m | Tangential electric field, phi component | Boundaries 4–6, 11 |  |
| es.tEz | -VTz | V/m | Tangential electric field, z component | Boundaries 4–6, 11 |  |
| es.normE | sqrt(realdot(es.Er,es.Er)+realdot(es.Ephi,es.Ephi)+realdot(es.Ez,es.Ez)) | V/m | Electric field norm | Domain 3 |  |
| es.Jr | 2*es.Jdr | A/m² | Current density, r component | Domain 3 | + operation |
| es.Jphi | 2*es.Jdphi | A/m² | Current density, phi component | Domain 3 | + operation |
| es.Jz | 2*es.Jdz | A/m² | Current density, z component | Domain 3 | + operation |
| es.Jdr | 0 | A/m² | Displacement current density, r component | Domain 3 |  |
| es.Jdphi | 0 | A/m² | Displacement current density, phi component | Domain 3 |  |
| es.Jdz | 0 | A/m² | Displacement current density, z component | Domain 3 |  |
| es.normJ | sqrt(realdot(es.Jr,es.Jr)+realdot(es.Jphi,es.Jphi)+realdot(es.Jz,es.Jz)) | A/m² | Current density norm | Domain 3 |  |
| es.W | es.We | J/m³ | Energy density | Domain 3 | + operation |
| es.dWe | 2*es.We*pi*r | J/m² | Integrand for total electric energy | Domain 3 | Meta |
| es.We | 0.5*epsilon0_const*(((es.I_srr+es.chirr)*es.Er+(es.I_srphi+es.chirphi)*es.Ephi+(es.I_srz+es.chirz)*es.Ez)*es.Er+((es.I_sphir+es.chiphir)*es.Er+(es.I_sphiphi+es.chiphiphi)*es.Ephi+(es.I_sphiz+es.chiphiz)*es.Ez)*es.Ephi+((es.I_szr+es.chizr)*es.Er+(es.I_szphi+es.chizphi)*es.Ephi+(es.I_szz+es.chizz)*es.Ez)*es.Ez) | J/m³ | Electric energy density | Domain 3 |  |
| es.ccn1.nJ | es.unr*down(es.Jr)+es.unphi*down(es.Jphi)+es.unz*down(es.Jz) | A/m² | Inward current density | Boundaries 4–6, 11 |  |

Shape functions

| Name | Shape function | Unit | Description | Shape frame | Selection |
| --- | --- | --- | --- | --- | --- |
| V | Lagrange (Quadratic) | V | Electric potential | Material | Domain 3 |

Weak Expressions

| Weak expression | Integration order | Integration frame | Selection |
| --- | --- | --- | --- |
| -2*(es.Dr*test(Vr)+es.Dz*test(Vz))*es.d*pi*r | 4 | Material | Domain 3 |

Axial Symmetry

Axial Symmetry

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Selection | Geometry geom1: Dimension 1: All boundaries |

Zero Charge

Zero Charge

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Selection | Geometry geom1: Dimension 1: All boundaries |

Equations

Shape functions

| Name | Shape function | Unit | Description | Shape frame | Selection | Details |
| --- | --- | --- | --- | --- | --- | --- |
| V | Lagrange (Quadratic) | V | Electric potential | Material | No boundaries | Slit |

Initial Values

Initial Values

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: All domains |

Settings

| Description | Value |
| --- | --- |
| Electric potential | 0 |

Charge Conservation (Bath)

Charge Conservation (Bath)

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: Domains 1–2, 4 |

Equations

Constitutive Relation D-E

Settings

| Description | Value |
| --- | --- |
| Dielectric model | Relative permittivity |
| Relative permittivity | User defined |
| Relative permittivity | {{EpsilonRBath, 0, 0}, {0, EpsilonRBath, 0}, {0, 0, EpsilonRBath}} |

Coordinate System Selection

Settings

| Description | Value |
| --- | --- |
| Coordinate system | Global coordinate system |

Variables

| Name | Expression | Unit | Description | Selection | Details |
| --- | --- | --- | --- | --- | --- |
| es.nD | 0 | C/m² | Surface charge density | Boundaries 1–3, 5, 7–10, 12–14 | + operation |
| es.epsilonrrr | EpsilonRBath | 1 | Relative permittivity, rr component | Domains 1–2, 4 |  |
| es.epsilonrphir | 0 | 1 | Relative permittivity, phir component | Domains 1–2, 4 |  |
| es.epsilonrzr | 0 | 1 | Relative permittivity, zr component | Domains 1–2, 4 |  |
| es.epsilonrrphi | 0 | 1 | Relative permittivity, rphi component | Domains 1–2, 4 |  |
| es.epsilonrphiphi | EpsilonRBath | 1 | Relative permittivity, phiphi component | Domains 1–2, 4 |  |
| es.epsilonrzphi | 0 | 1 | Relative permittivity, zphi component | Domains 1–2, 4 |  |
| es.epsilonrrz | 0 | 1 | Relative permittivity, rz component | Domains 1–2, 4 |  |
| es.epsilonrphiz | 0 | 1 | Relative permittivity, phiz component | Domains 1–2, 4 |  |
| es.epsilonrzz | EpsilonRBath | 1 | Relative permittivity, zz component | Domains 1–2, 4 |  |
| es.epsilonr_iso | EpsilonRBath | 1 | Relative permittivity, isotropic value | Domains 1–2, 4 |  |
| es.Drr | 0 | C/m² | Remanent electric displacement, r component | Domains 1–2, 4 |  |
| es.Drphi | 0 | C/m² | Remanent electric displacement, phi component | Domains 1–2, 4 |  |
| es.Drz | 0 | C/m² | Remanent electric displacement, z component | Domains 1–2, 4 |  |
| es.Dr | epsilon0_const*es.I_srr*es.Er+epsilon0_const*es.I_srphi*es.Ephi+epsilon0_const*es.I_srz*es.Ez+es.Pr+es.Per | C/m² | Electric displacement field, r component | Domains 1–2, 4 |  |
| es.Dphi | epsilon0_const*es.I_sphir*es.Er+epsilon0_const*es.I_sphiphi*es.Ephi+epsilon0_const*es.I_sphiz*es.Ez+es.Pphi+es.Pephi | C/m² | Electric displacement field, phi component | Domains 1–2, 4 |  |
| es.Dz | epsilon0_const*es.I_szr*es.Er+epsilon0_const*es.I_szphi*es.Ephi+epsilon0_const*es.I_szz*es.Ez+es.Pz+es.Pez | C/m² | Electric displacement field, z component | Domains 1–2, 4 |  |
| es.Pr | epsilon0_const*(es.chirr*es.Er+es.chirphi*es.Ephi+es.chirz*es.Ez) | C/m² | Polarization, r component | Domains 1–2, 4 |  |
| es.Pphi | epsilon0_const*(es.chiphir*es.Er+es.chiphiphi*es.Ephi+es.chiphiz*es.Ez) | C/m² | Polarization, phi component | Domains 1–2, 4 |  |
| es.Pz | epsilon0_const*(es.chizr*es.Er+es.chizphi*es.Ephi+es.chizz*es.Ez) | C/m² | Polarization, z component | Domains 1–2, 4 |  |
| es.normD | sqrt(realdot(es.Dr,es.Dr)+realdot(es.Dphi,es.Dphi)+realdot(es.Dz,es.Dz)) | C/m² | Electric displacement field norm | Domains 1–2, 4 |  |
| es.normP | sqrt(realdot(es.Pr,es.Pr)+realdot(es.Pphi,es.Pphi)+realdot(es.Pz,es.Pz)) | C/m² | Polarization norm | Domains 1–2, 4 |  |
| es.Per | 0 | C/m² | Polarization contribution, r component | Domains 1–2, 4 | + operation |
| es.Pephi | 0 | C/m² | Polarization contribution, phi component | Domains 1–2, 4 | + operation |
| es.Pez | 0 | C/m² | Polarization contribution, z component | Domains 1–2, 4 | + operation |
| es.chirr | -1+es.epsilonrrr | 1 | Electric susceptibility, rr component | Domains 1–2, 4 |  |
| es.chiphir | es.epsilonrphir | 1 | Electric susceptibility, phir component | Domains 1–2, 4 |  |
| es.chizr | es.epsilonrzr | 1 | Electric susceptibility, zr component | Domains 1–2, 4 |  |
| es.chirphi | es.epsilonrrphi | 1 | Electric susceptibility, rphi component | Domains 1–2, 4 |  |
| es.chiphiphi | -1+es.epsilonrphiphi | 1 | Electric susceptibility, phiphi component | Domains 1–2, 4 |  |
| es.chizphi | es.epsilonrzphi | 1 | Electric susceptibility, zphi component | Domains 1–2, 4 |  |
| es.chirz | es.epsilonrrz | 1 | Electric susceptibility, rz component | Domains 1–2, 4 |  |
| es.chiphiz | es.epsilonrphiz | 1 | Electric susceptibility, phiz component | Domains 1–2, 4 |  |
| es.chizz | -1+es.epsilonrzz | 1 | Electric susceptibility, zz component | Domains 1–2, 4 |  |
| es.Er | -Vr | V/m | Electric field, r component | Domains 1–2, 4 |  |
| es.Ephi | 0 | V/m | Electric field, phi component | Domains 1–2, 4 |  |
| es.Ez | -Vz | V/m | Electric field, z component | Domains 1–2, 4 |  |
| es.tEr | -VTr | V/m | Tangential electric field, r component | Boundaries 1–3, 5, 7–10, 12–14 |  |
| es.tEphi | 0 | V/m | Tangential electric field, phi component | Boundaries 1–3, 5, 7–10, 12–14 |  |
| es.tEz | -VTz | V/m | Tangential electric field, z component | Boundaries 1–3, 5, 7–10, 12–14 |  |
| es.normE | sqrt(realdot(es.Er,es.Er)+realdot(es.Ephi,es.Ephi)+realdot(es.Ez,es.Ez)) | V/m | Electric field norm | Domains 1–2, 4 |  |
| es.Jr | 2*es.Jdr | A/m² | Current density, r component | Domains 1–2, 4 | + operation |
| es.Jphi | 2*es.Jdphi | A/m² | Current density, phi component | Domains 1–2, 4 | + operation |
| es.Jz | 2*es.Jdz | A/m² | Current density, z component | Domains 1–2, 4 | + operation |
| es.Jdr | 0 | A/m² | Displacement current density, r component | Domains 1–2, 4 |  |
| es.Jdphi | 0 | A/m² | Displacement current density, phi component | Domains 1–2, 4 |  |
| es.Jdz | 0 | A/m² | Displacement current density, z component | Domains 1–2, 4 |  |
| es.normJ | sqrt(realdot(es.Jr,es.Jr)+realdot(es.Jphi,es.Jphi)+realdot(es.Jz,es.Jz)) | A/m² | Current density norm | Domains 1–2, 4 |  |
| es.W | es.We | J/m³ | Energy density | Domains 1–2, 4 | + operation |
| es.dWe | 2*es.We*pi*r | J/m² | Integrand for total electric energy | Domains 1–2, 4 | Meta |
| es.We | 0.5*epsilon0_const*(((es.I_srr+es.chirr)*es.Er+(es.I_srphi+es.chirphi)*es.Ephi+(es.I_srz+es.chirz)*es.Ez)*es.Er+((es.I_sphir+es.chiphir)*es.Er+(es.I_sphiphi+es.chiphiphi)*es.Ephi+(es.I_sphiz+es.chiphiz)*es.Ez)*es.Ephi+((es.I_szr+es.chizr)*es.Er+(es.I_szphi+es.chizphi)*es.Ephi+(es.I_szz+es.chizz)*es.Ez)*es.Ez) | J/m³ | Electric energy density | Domains 1–2, 4 |  |
| es.ccn2.nJ | es.dnr*up(es.Jr)+es.dnphi*up(es.Jphi)+es.dnz*up(es.Jz) | A/m² | Inward current density | Boundary 5 |  |
| es.ccn2.nJ | es.unr*down(es.Jr)+es.unphi*down(es.Jphi)+es.unz*down(es.Jz) | A/m² | Inward current density | Boundaries 1–2, 7–9, 12–14 |  |

Shape functions

| Name | Shape function | Unit | Description | Shape frame | Selection |
| --- | --- | --- | --- | --- | --- |
| V | Lagrange (Quadratic) | V | Electric potential | Material | Domains 1–2, 4 |

Weak Expressions

| Weak expression | Integration order | Integration frame | Selection |
| --- | --- | --- | --- |
| -2*(es.Dr*test(Vr)+es.Dz*test(Vz))*es.d*pi*r | 4 | Material | Domains 1–2, 4 |

Initial Values (Gouy-Chapman in Pore)

Initial Values (Gouy-Chapman in Pore)

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: Domain 3 |

Settings

| Description | Value |
| --- | --- |
| Electric potential | Potential_GC + AnalyticalPotentialNoCharge |

Initial Values (Gouy-Chapman in Bath)

Initial Values (Gouy-Chapman in Bath)

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: Domains 1–2, 4 |

Settings

| Description | Value |
| --- | --- |
| Electric potential | Potential_GCBath + AnalyticalPotentialNoCharge |

Space Charge Density

Space Charge Density

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: Domains 1–4 |

Equations

Coordinate System Selection

Settings

| Description | Value |
| --- | --- |
| Coordinate system | Global coordinate system |

Variables

| Name | Expression | Unit | Description | Selection | Details |
| --- | --- | --- | --- | --- | --- |
| es.scd1.rhoq | ExcessCharge | C/m³ | Space charge density | Domains 1–4 |  |
| es.rhoq | es.scd1.rhoq | C/m³ | Space charge density | Domains 1–4 | + operation |

Weak Expressions

| Weak expression | Integration order | Integration frame | Selection |
| --- | --- | --- | --- |
| -2*es.scd1.rhoq*test(V)*es.d*pi*r | 4 | Material | Domains 1–4 |

Surface Charge (Glass Wall)

Surface Charge (Glass Wall)

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Name | Glass Wall |
| Selection | Named sel1: Geometry geom1: Dimension 1: Boundaries 7–9, 11 |

Equations

Surface Charge Density

Settings

| Description | Value |
| --- | --- |
| Surface charge density | PoreSurfaceCharge |

Coordinate System Selection

Settings

| Description | Value |
| --- | --- |
| Coordinate system | Global coordinate system |

Variables

| Name | Expression | Unit | Description | Selection | Details |
| --- | --- | --- | --- | --- | --- |
| es.nD | es.sfcd1.rhoqs | C/m² | Surface charge density | Boundaries 7–9, 11 | + operation |
| es.sfcd1.rhoqs | PoreSurfaceCharge | C/m² | Surface charge density | Boundaries 7–9, 11 |  |

Weak Expressions

| Weak expression | Integration order | Integration frame | Selection |
| --- | --- | --- | --- |
| -2*es.sfcd1.rhoqs*test(V)*es.d*pi*r | 4 | Material | Boundaries 7–9, 11 |

Electric Potential (Gouy-Chapman, external electrode)

Electric Potential (Gouy-Chapman, external electrode)

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Name | External Electrode |
| Selection | Named sel4: Geometry geom1: Dimension 1: Boundaries 12–14 |

Equations

Electric Potential

Settings

| Description | Value |
| --- | --- |
| Electric potential | E_GCBath(dGlass) |

Variables

| Name | Expression | Unit | Description | Selection | Details |
| --- | --- | --- | --- | --- | --- |
| es.nD | es.unr*down(es.Dr)+es.unphi*down(es.Dphi)+es.unz*down(es.Dz) | C/m² | Surface charge density | Boundaries 12–14 | + operation |
| es.V0 | E_GCBath(dGlass) | V | Electric potential | Boundaries 12–14 |  |

Constraints

| Constraint | Constraint force | Shape function | Selection | Details |
| --- | --- | --- | --- | --- |
| es.V0-V | test(es.V0-V) | Lagrange (Quadratic) | Boundaries 12–14 | Elemental |

Electric Potential (Gouy-Chapman, internal electrode)

Electric Potential (Gouy-Chapman, internal electrode)

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Name | Internal Electrode |
| Selection | Named sel3: Geometry geom1: Dimension 1: Boundary 6 |

Equations

Electric Potential

Settings

| Description | Value |
| --- | --- |
| Electric potential | VApp + E_GC(dGlass) |

Variables

| Name | Expression | Unit | Description | Selection | Details |
| --- | --- | --- | --- | --- | --- |
| es.nD | es.unr*down(es.Dr)+es.unphi*down(es.Dphi)+es.unz*down(es.Dz) | C/m² | Surface charge density | Boundary 6 | + operation |
| es.V0 | VApp+E_GC(dGlass) | V | Electric potential | Boundary 6 |  |

Constraints

| Constraint | Constraint force | Shape function | Selection | Details |
| --- | --- | --- | --- | --- |
| es.V0-V | test(es.V0-V) | Lagrange (Quadratic) | Boundary 6 | Elemental |

Laminar Flow

Used products

COMSOL Multiphysics

Laminar Flow

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: All domains |

Equations

Interface Settings

Discretization

Settings

| Description | Value |
| --- | --- |
| Discretization of fluids | P1 + P1 |

Settings

| Description | Value |
| --- | --- |
| Equation form | Study controlled |

Physical Model

Settings

| Description | Value |
| --- | --- |
| Neglect inertial term (Stokes flow) | Off |
| Compressibility | Incompressible flow |
| Swirl flow | Off |
| Enable porous media domains | Off |
| Include gravity | Off |
| Reference temperature | 293.15[K] |
| Reference pressure level | 1[atm] |
| Reference temperature | User defined |

Turbulence

Settings

| Description | Value |
| --- | --- |
| Turbulence model type | None |

Variables

| Name | Expression | Unit | Description | Selection | Details |
| --- | --- | --- | --- | --- | --- |
| spf.Tref | model.input.Tref | K | Reference temperature | Global | Meta |
| spf.dz | 1 | m | Thickness | Domains 1–4 |  |
| spf.pref | 1[atm] | Pa | Reference pressure level | Domains 1–4 |  |
| spf.pA | p+spf.pref | Pa | Absolute pressure | Domains 1–4 |  |
| spf.hasWF | 0 |  | Help variable | Boundaries 1–2, 4, 6–9, 11–14 |  |
| spf.hasWF_u | 0 |  | Help variable | Boundaries 3, 5, 10 |  |
| spf.hasWF_d | 0 |  | Help variable | Boundaries 3, 5, 10 |  |
| spf.dt_CFL | 1/max(spf.maxop(sqrt(emetric(u,w))),eps) | s | Time step, CFL=1 | Global |  |
| spf.Qvd_tot | spf.intop(2*spf.Qvd*pi*r) | W | Total viscous dissipation | Global |  |
| spf.K_stressr | spf.K_stress_tensorrr*spf.nrmesh+spf.K_stress_tensorrphi*spf.nphimesh+spf.K_stress_tensorrz*spf.nzmesh | N/m² | Viscous force, exterior boundaries, r component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| spf.K_stressphi | spf.K_stress_tensorphir*spf.nrmesh+spf.K_stress_tensorphiphi*spf.nphimesh+spf.K_stress_tensorphiz*spf.nzmesh | N/m² | Viscous force, exterior boundaries, phi component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| spf.K_stressz | spf.K_stress_tensorzr*spf.nrmesh+spf.K_stress_tensorzphi*spf.nphimesh+spf.K_stress_tensorzz*spf.nzmesh | N/m² | Viscous force, exterior boundaries, z component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| spf.T_stressr | spf.T_stress_tensorrr*spf.nrmesh+spf.T_stress_tensorrphi*spf.nphimesh+spf.T_stress_tensorrz*spf.nzmesh | N/m² | Total traction, exterior boundaries, r component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| spf.T_stressphi | spf.T_stress_tensorphir*spf.nrmesh+spf.T_stress_tensorphiphi*spf.nphimesh+spf.T_stress_tensorphiz*spf.nzmesh | N/m² | Total traction, exterior boundaries, phi component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| spf.T_stressz | spf.T_stress_tensorzr*spf.nrmesh+spf.T_stress_tensorzphi*spf.nphimesh+spf.T_stress_tensorzz*spf.nzmesh | N/m² | Total traction, exterior boundaries, z component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| spf.K_stress_dr | down(spf.K_stress_tensorrr)*spf.nrmesh+down(spf.K_stress_tensorrphi)*spf.nphimesh+down(spf.K_stress_tensorrz)*spf.nzmesh | N/m² | Viscous force, interior boundaries, downside, r component | Boundaries 3, 5, 10 |  |
| spf.K_stress_dphi | down(spf.K_stress_tensorphir)*spf.nrmesh+down(spf.K_stress_tensorphiphi)*spf.nphimesh+down(spf.K_stress_tensorphiz)*spf.nzmesh | N/m² | Viscous force, interior boundaries, downside, phi component | Boundaries 3, 5, 10 |  |
| spf.K_stress_dz | down(spf.K_stress_tensorzr)*spf.nrmesh+down(spf.K_stress_tensorzphi)*spf.nphimesh+down(spf.K_stress_tensorzz)*spf.nzmesh | N/m² | Viscous force, interior boundaries, downside, z component | Boundaries 3, 5, 10 |  |
| spf.K_stress_dr | down(spf.K_stress_tensorrr)*spf.dnrmesh+down(spf.K_stress_tensorrphi)*spf.dnphimesh+down(spf.K_stress_tensorrz)*spf.dnzmesh | N/m² | Viscous force, interior boundaries, downside, r component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| spf.K_stress_dphi | down(spf.K_stress_tensorphir)*spf.dnrmesh+down(spf.K_stress_tensorphiphi)*spf.dnphimesh+down(spf.K_stress_tensorphiz)*spf.dnzmesh | N/m² | Viscous force, interior boundaries, downside, phi component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| spf.K_stress_dz | down(spf.K_stress_tensorzr)*spf.dnrmesh+down(spf.K_stress_tensorzphi)*spf.dnphimesh+down(spf.K_stress_tensorzz)*spf.dnzmesh | N/m² | Viscous force, interior boundaries, downside, z component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| spf.K_stress_ur | -up(spf.K_stress_tensorrr)*spf.nrmesh-up(spf.K_stress_tensorrphi)*spf.nphimesh-up(spf.K_stress_tensorrz)*spf.nzmesh | N/m² | Viscous force, interior boundaries, upside, r component | Boundaries 3, 5, 10 |  |
| spf.K_stress_uphi | -up(spf.K_stress_tensorphir)*spf.nrmesh-up(spf.K_stress_tensorphiphi)*spf.nphimesh-up(spf.K_stress_tensorphiz)*spf.nzmesh | N/m² | Viscous force, interior boundaries, upside, phi component | Boundaries 3, 5, 10 |  |
| spf.K_stress_uz | -up(spf.K_stress_tensorzr)*spf.nrmesh-up(spf.K_stress_tensorzphi)*spf.nphimesh-up(spf.K_stress_tensorzz)*spf.nzmesh | N/m² | Viscous force, interior boundaries, upside, z component | Boundaries 3, 5, 10 |  |
| spf.T_stress_dr | down(spf.T_stress_tensorrr)*spf.nrmesh+down(spf.T_stress_tensorrphi)*spf.nphimesh+down(spf.T_stress_tensorrz)*spf.nzmesh | N/m² | Total traction, interior boundaries, downside, r component | Boundaries 3, 5, 10 |  |
| spf.T_stress_dphi | down(spf.T_stress_tensorphir)*spf.nrmesh+down(spf.T_stress_tensorphiphi)*spf.nphimesh+down(spf.T_stress_tensorphiz)*spf.nzmesh | N/m² | Total traction, interior boundaries, downside, phi component | Boundaries 3, 5, 10 |  |
| spf.T_stress_dz | down(spf.T_stress_tensorzr)*spf.nrmesh+down(spf.T_stress_tensorzphi)*spf.nphimesh+down(spf.T_stress_tensorzz)*spf.nzmesh | N/m² | Total traction, interior boundaries, downside, z component | Boundaries 3, 5, 10 |  |
| spf.T_stress_dr | down(spf.T_stress_tensorrr)*spf.dnrmesh+down(spf.T_stress_tensorrphi)*spf.dnphimesh+down(spf.T_stress_tensorrz)*spf.dnzmesh | N/m² | Total traction, interior boundaries, downside, r component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| spf.T_stress_dphi | down(spf.T_stress_tensorphir)*spf.dnrmesh+down(spf.T_stress_tensorphiphi)*spf.dnphimesh+down(spf.T_stress_tensorphiz)*spf.dnzmesh | N/m² | Total traction, interior boundaries, downside, phi component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| spf.T_stress_dz | down(spf.T_stress_tensorzr)*spf.dnrmesh+down(spf.T_stress_tensorzphi)*spf.dnphimesh+down(spf.T_stress_tensorzz)*spf.dnzmesh | N/m² | Total traction, interior boundaries, downside, z component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| spf.T_stress_ur | -up(spf.T_stress_tensorrr)*spf.nrmesh-up(spf.T_stress_tensorrphi)*spf.nphimesh-up(spf.T_stress_tensorrz)*spf.nzmesh | N/m² | Total traction, interior boundaries, upside, r component | Boundaries 3, 5, 10 |  |
| spf.T_stress_uphi | -up(spf.T_stress_tensorphir)*spf.nrmesh-up(spf.T_stress_tensorphiphi)*spf.nphimesh-up(spf.T_stress_tensorphiz)*spf.nzmesh | N/m² | Total traction, interior boundaries, upside, phi component | Boundaries 3, 5, 10 |  |
| spf.T_stress_uz | -up(spf.T_stress_tensorzr)*spf.nrmesh-up(spf.T_stress_tensorzphi)*spf.nphimesh-up(spf.T_stress_tensorzz)*spf.nzmesh | N/m² | Total traction, interior boundaries, upside, z component | Boundaries 3, 5, 10 |  |
| spf.usePseudoTimeStepping | 0 | 1 | Help variable | Global |  |
| spf.nr | nr | 1 | Normal vector, r component | Boundaries 3, 5, 10 |  |
| spf.nphi | 0 | 1 | Normal vector, phi component | Boundaries 3, 5, 10 |  |
| spf.nz | nz | 1 | Normal vector, z component | Boundaries 3, 5, 10 |  |
| spf.nr | dnr | 1 | Normal vector, r component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| spf.nphi | 0 | 1 | Normal vector, phi component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| spf.nz | dnz | 1 | Normal vector, z component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| spf.nrmesh | nrmesh | 1 | Normal vector, r component | Boundaries 3, 5, 10 |  |
| spf.nphimesh | 0 | 1 | Normal vector, phi component | Boundaries 3, 5, 10 |  |
| spf.nzmesh | nzmesh | 1 | Normal vector, z component | Boundaries 3, 5, 10 |  |
| spf.nrmesh | dnrmesh | 1 | Normal vector, r component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| spf.nphimesh | 0 | 1 | Normal vector, phi component | Boundaries 1–2, 4, 6–9, 11–14 |  |
| spf.nzmesh | dnzmesh | 1 | Normal vector, z component | Boundaries 1–2, 4, 6–9, 11–14 |  |

Fluid Properties Bulk

Fluid Properties Bulk

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: All domains |

Equations

Fluid Properties

Settings

| Description | Value |
| --- | --- |
| Density | User defined |
| Density | FluidDensity |
|  | Newtonian |
| Dynamic viscosity | User defined |
| Dynamic viscosity | FluidViscosity |

Shape functions

| Name | Shape function | Unit | Description | Shape frame | Selection |
| --- | --- | --- | --- | --- | --- |
| u | Lagrange (Linear) | m/s | Velocity field, r component | Material | No domains |
| w | Lagrange (Linear) | m/s | Velocity field, z component | Material | No domains |
| p | Lagrange (Linear) | Pa | Pressure | Material | No domains |

Initial Values

Initial Values

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: All domains |

Initial Values

Settings

| Description | Value |
| --- | --- |
| Velocity field, r component | 0 |
| Velocity field, phi component | 0 |
| Velocity field, z component | 0 |
| Pressure | 0 |

Coordinate System Selection

Settings

| Description | Value |
| --- | --- |
| Coordinate system | Global coordinate system |

Variables

| Name | Expression | Unit | Description | Selection |
| --- | --- | --- | --- | --- |
| spf.u_initr | 0 | m/s | Velocity field, r component | Domains 1–4 |
| spf.u_initphi | 0 | m/s | Velocity field, phi component | Domains 1–4 |
| spf.u_initz | 0 | m/s | Velocity field, z component | Domains 1–4 |
| spf.p_init | 0 | Pa | Pressure | Domains 1–4 |

Axial Symmetry

Axial Symmetry

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Selection | Geometry geom1: Dimension 1: All boundaries |

Wall (Glass)

Wall (Glass)

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Selection | Geometry geom1: Dimension 1: All boundaries |

Equations

Boundary Condition

Settings

| Description | Value |
| --- | --- |
| Wall condition | No slip |

Wall Movement

Settings

| Description | Value |
| --- | --- |
| Translational velocity | Automatic from frame |
| Sliding wall | Off |

Variables

| Name | Expression | Unit | Description | Selection | Details |
| --- | --- | --- | --- | --- | --- |
| spf.ubndr | spf.utrr+spf.usr | m/s | Velocity at boundary, r component | Boundaries 7–9, 11 |  |
| spf.ubndphi | spf.utrphi+spf.usphi | m/s | Velocity at boundary, phi component | Boundaries 7–9, 11 |  |
| spf.ubndz | spf.utrz+spf.usz | m/s | Velocity at boundary, z component | Boundaries 7–9, 11 |  |
| spf.usr | 0 | m/s | Velocity of sliding wall, r component | Boundaries 7–9, 11 |  |
| spf.usphi | 0 | m/s | Velocity of sliding wall, phi component | Boundaries 7–9, 11 |  |
| spf.usz | 0 | m/s | Velocity of sliding wall, z component | Boundaries 7–9, 11 |  |
| spf.utrr | 0 | m/s | Velocity of moving wall, r component | Boundaries 7–9, 11 |  |
| spf.utrphi | 0 | m/s | Velocity of moving wall, phi component | Boundaries 7–9, 11 |  |
| spf.utrz | 0 | m/s | Velocity of moving wall, z component | Boundaries 7–9, 11 |  |
| spf.uLeakager | 0 | m/s | Leakage velocity, r component | Boundaries 7–9, 11 | + operation |
| spf.uLeakagephi | 0 | m/s | Leakage velocity, phi component | Boundaries 7–9, 11 | + operation |
| spf.uLeakagez | 0 | m/s | Leakage velocity, z component | Boundaries 7–9, 11 | + operation |
| spf.noSlipWall | 1 | 1 | Help variable | Boundaries 7–9, 11 |  |

Fluid Properties Bath

Fluid Properties Bath

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: Domains 1–4 |

Equations

Fluid Properties

Settings

| Description | Value |
| --- | --- |
| Density | User defined |
| Density | FluidDensityBath |
|  | Newtonian |
| Dynamic viscosity | User defined |
| Dynamic viscosity | FluidViscosityBath |

Variables

| Name | Expression | Unit | Description | Selection | Details |
| --- | --- | --- | --- | --- | --- |
| spf.mu | material.mu | Pa·s | Dynamic viscosity | Domains 1–4 | Meta |
| spf.rho | material.rho | kg/m³ | Density | Domains 1–4 | Meta |
| spf.Trho | spf.fp2.minput_temperature | K | Temperature for density evaluation | Domains 1–4 |  |
| spf.prho | spf.fp2.minput_pressure | Pa | Pressure for the evaluation of density | Domains 1–4 |  |
| spf.rhoref | subst(material.rho,minput.T,spf.Tref,minput.pA,spf.pref) | kg/m³ | Reference density | Domains 1–4 | Meta |
| spf.mumat | material.mu | Pa·s | Dynamic viscosity | Domains 1–4 | Meta |
| spf.srijrr | ur | 1/s | Strain rate tensor, rr component | Domains 1–4 |  |
| spf.srijphir | 0 | 1/s | Strain rate tensor, phir component | Domains 1–4 |  |
| spf.srijzr | 0.5*(wr+uz) | 1/s | Strain rate tensor, zr component | Domains 1–4 |  |
| spf.srijrphi | 0 | 1/s | Strain rate tensor, rphi component | Domains 1–4 |  |
| spf.srijphiphi | if(abs(r)<0.001*h,ur,u/r) | 1/s | Strain rate tensor, phiphi component | Domains 1–4 |  |
| spf.srijzphi | 0 | 1/s | Strain rate tensor, zphi component | Domains 1–4 |  |
| spf.srijrz | 0.5*(uz+wr) | 1/s | Strain rate tensor, rz component | Domains 1–4 |  |
| spf.srijphiz | 0 | 1/s | Strain rate tensor, phiz component | Domains 1–4 |  |
| spf.srijzz | wz | 1/s | Strain rate tensor, zz component | Domains 1–4 |  |
| spf.rrijrr | 0 | 1/s | Rotation rate tensor, rr component | Domains 1–4 |  |
| spf.rrijphir | 0 | 1/s | Rotation rate tensor, phir component | Domains 1–4 |  |
| spf.rrijzr | 0.5*(wr-uz) | 1/s | Rotation rate tensor, zr component | Domains 1–4 |  |
| spf.rrijrphi | 0 | 1/s | Rotation rate tensor, rphi component | Domains 1–4 |  |
| spf.rrijphiphi | 0 | 1/s | Rotation rate tensor, phiphi component | Domains 1–4 |  |
| spf.rrijzphi | 0 | 1/s | Rotation rate tensor, zphi component | Domains 1–4 |  |
| spf.rrijrz | 0.5*(uz-wr) | 1/s | Rotation rate tensor, rz component | Domains 1–4 |  |
| spf.rrijphiz | 0 | 1/s | Rotation rate tensor, phiz component | Domains 1–4 |  |
| spf.rrijzz | 0 | 1/s | Rotation rate tensor, zz component | Domains 1–4 |  |
| spf.sr | sqrt(2*spf.srijrr^2+2*spf.srijrphi^2+2*spf.srijrz^2+2*spf.srijphir^2+2*spf.srijphiphi^2+2*spf.srijphiz^2+2*spf.srijzr^2+2*spf.srijzphi^2+2*spf.srijzz^2+eps) | 1/s | Shear rate | Domains 1–4 |  |
| spf.rr | sqrt(2*spf.rrijrr^2+2*spf.rrijrphi^2+2*spf.rrijrz^2+2*spf.rrijphir^2+2*spf.rrijphiphi^2+2*spf.rrijphiz^2+2*spf.rrijzr^2+2*spf.rrijzphi^2+2*spf.rrijzz^2+eps) | 1/s | Rotation rate | Domains 1–4 |  |
| spf.divu | ur+if(abs(r)<0.001*h,ur,u/r)+wz | 1/s | Divergence of velocity field | Domains 1–4 |  |
| spf.Fr | 0 | N/m³ | Volume force, r component | Domains 1–4 | + operation |
| spf.Fphi | 0 | N/m³ | Volume force, phi component | Domains 1–4 | + operation |
| spf.Fz | 0 | N/m³ | Volume force, z component | Domains 1–4 | + operation |
| spf.U | sqrt(u^2+w^2) | m/s | Velocity magnitude | Domains 1–4 |  |
| spf.vorticityr | 0 | 1/s | Vorticity field, r component | Domains 1–4 |  |
| spf.vorticityphi | -wr+uz | 1/s | Vorticity field, phi component | Domains 1–4 |  |
| spf.vorticityz | 0 | 1/s | Vorticity field, z component | Domains 1–4 |  |
| spf.vort_magn | sqrt(spf.vorticityr^2+spf.vorticityphi^2+spf.vorticityz^2) | 1/s | Vorticity magnitude | Domains 1–4 |  |
| spf.cellRe | 0.25*spf.rho*sqrt(emetric(u,w)/emetric2)/spf.mu | 1 | Cell Reynolds number | Domains 1–4 |  |
| spf.nu | spf.mu/spf.rho | m²/s | Kinematic viscosity | Domains 1–4 |  |
| spf.betaT | 0 | 1/Pa | Isothermal compressibility coefficient | Domains 1–4 |  |
| spf.Qm | 0 | kg/(m³·s) | Source term | Domains 1–4 | + operation |
| spf.Fgtotr | 0 | N/m³ | Gravity force, r component | Domains 1–4 | + operation |
| spf.Fgtotphi | 0 | N/m³ | Gravity force, phi component | Domains 1–4 | + operation |
| spf.Fgtotz | 0 | N/m³ | Gravity force, z component | Domains 1–4 | + operation |
| spf.mu_eff | spf.mu+spf.muT | Pa·s | Effective dynamic viscosity | Domains 1–4 |  |
| spf.muT | 0 | Pa·s | Turbulent dynamic viscosity | Domains 1–4 |  |
| spf.T_stress_tensorrr | spf.K_stress_tensorrr-p | N/m² | Total stress tensor, rr component | Domains 1–4 | + operation |
| spf.T_stress_tensorphir | spf.K_stress_tensorphir | N/m² | Total stress tensor, phir component | Domains 1–4 | + operation |
| spf.T_stress_tensorzr | spf.K_stress_tensorzr | N/m² | Total stress tensor, zr component | Domains 1–4 | + operation |
| spf.T_stress_tensorrphi | spf.K_stress_tensorrphi | N/m² | Total stress tensor, rphi component | Domains 1–4 | + operation |
| spf.T_stress_tensorphiphi | spf.K_stress_tensorphiphi-p | N/m² | Total stress tensor, phiphi component | Domains 1–4 | + operation |
| spf.T_stress_tensorzphi | spf.K_stress_tensorzphi | N/m² | Total stress tensor, zphi component | Domains 1–4 | + operation |
| spf.T_stress_tensorrz | spf.K_stress_tensorrz | N/m² | Total stress tensor, rz component | Domains 1–4 | + operation |
| spf.T_stress_tensorphiz | spf.K_stress_tensorphiz | N/m² | Total stress tensor, phiz component | Domains 1–4 | + operation |
| spf.T_stress_tensorzz | spf.K_stress_tensorzz-p | N/m² | Total stress tensor, zz component | Domains 1–4 | + operation |
| spf.K_stress_tensorrr | 2*spf.mu_eff*ur | N/m² | Viscous stress tensor, rr component | Domains 1–4 | + operation |
| spf.K_stress_tensorphir | 0 | N/m² | Viscous stress tensor, phir component | Domains 1–4 | + operation |
| spf.K_stress_tensorzr | spf.mu_eff*(wr+uz) | N/m² | Viscous stress tensor, zr component | Domains 1–4 | + operation |
| spf.K_stress_tensorrphi | 0 | N/m² | Viscous stress tensor, rphi component | Domains 1–4 | + operation |
| spf.K_stress_tensorphiphi | 2*spf.mu_eff*if(abs(r)<0.001*h,ur,u/r) | N/m² | Viscous stress tensor, phiphi component | Domains 1–4 | + operation |
| spf.K_stress_tensorzphi | 0 | N/m² | Viscous stress tensor, zphi component | Domains 1–4 | + operation |
| spf.K_stress_tensorrz | spf.mu_eff*(uz+wr) | N/m² | Viscous stress tensor, rz component | Domains 1–4 | + operation |
| spf.K_stress_tensorphiz | 0 | N/m² | Viscous stress tensor, phiz component | Domains 1–4 | + operation |
| spf.K_stress_tensorzz | 2*spf.mu_eff*wz | N/m² | Viscous stress tensor, zz component | Domains 1–4 | + operation |
| spf.K_stress_tensor_testrr | 2*spf.mu_eff*test(ur) | N/m² | Viscous stress tensor test, rr component | Domains 1–4 | + operation |
| spf.K_stress_tensor_testphir | 0 | N/m² | Viscous stress tensor test, phir component | Domains 1–4 | + operation |
| spf.K_stress_tensor_testzr | spf.mu_eff*(test(wr)+test(uz)) | N/m² | Viscous stress tensor test, zr component | Domains 1–4 | + operation |
| spf.K_stress_tensor_testrphi | 0 | N/m² | Viscous stress tensor test, rphi component | Domains 1–4 | + operation |
| spf.K_stress_tensor_testphiphi | 2*spf.mu_eff*if(abs(r)<0.001*h,test(ur),test(u)/r) | N/m² | Viscous stress tensor test, phiphi component | Domains 1–4 | + operation |
| spf.K_stress_tensor_testzphi | 0 | N/m² | Viscous stress tensor test, zphi component | Domains 1–4 | + operation |
| spf.K_stress_tensor_testrz | spf.mu_eff*(test(uz)+test(wr)) | N/m² | Viscous stress tensor test, rz component | Domains 1–4 | + operation |
| spf.K_stress_tensor_testphiz | 0 | N/m² | Viscous stress tensor test, phiz component | Domains 1–4 | + operation |
| spf.K_stress_tensor_testzz | 2*spf.mu_eff*test(wz) | N/m² | Viscous stress tensor test, zz component | Domains 1–4 | + operation |
| spf.upwind_helpr | u | m/s | Upwind term, r component | Domains 1–4 | + operation |
| spf.upwind_helpphi | 0 | m/s | Upwind term, phi component | Domains 1–4 | + operation |
| spf.upwind_helpz | w | m/s | Upwind term, z component | Domains 1–4 | + operation |
| spf.continuityEquation | spf.rho*spf.divu | kg/(m³·s) | Continuity equation | Domains 1–4 |  |
| spf.contCoeff | spf.rho | kg/m³ | Continuity equation | Domains 1–4 |  |
| spf.tau_vdrr | 2*spf.mu*spf.srijrr | Pa | Viscous stress tensor, rr component | Domains 1–4 | + operation |
| spf.tau_vdphir | 2*spf.mu*spf.srijphir | Pa | Viscous stress tensor, phir component | Domains 1–4 | + operation |
| spf.tau_vdzr | 2*spf.mu*spf.srijzr | Pa | Viscous stress tensor, zr component | Domains 1–4 | + operation |
| spf.tau_vdrphi | 2*spf.mu*spf.srijrphi | Pa | Viscous stress tensor, rphi component | Domains 1–4 | + operation |
| spf.tau_vdphiphi | 2*spf.mu*spf.srijphiphi | Pa | Viscous stress tensor, phiphi component | Domains 1–4 | + operation |
| spf.tau_vdzphi | 2*spf.mu*spf.srijzphi | Pa | Viscous stress tensor, zphi component | Domains 1–4 | + operation |
| spf.tau_vdrz | 2*spf.mu*spf.srijrz | Pa | Viscous stress tensor, rz component | Domains 1–4 | + operation |
| spf.tau_vdphiz | 2*spf.mu*spf.srijphiz | Pa | Viscous stress tensor, phiz component | Domains 1–4 | + operation |
| spf.tau_vdzz | 2*spf.mu*spf.srijzz | Pa | Viscous stress tensor, zz component | Domains 1–4 | + operation |
| spf.Qvd | spf.tau_vdrr*ur+spf.tau_vdrz*uz+spf.tau_vdphiphi*if(abs(r)<0.001*h,ur,u/r)+spf.tau_vdzr*wr+spf.tau_vdzz*wz | W/m³ | Viscous dissipation | Domains 1–4 | + operation |
| spf.epsilon_p | 1 | 1 | Porosity | Domains 1–4 |  |
| spf.Fst_tensorrr | 0 | N/m² | Surface tension force, rr component | Domains 1–4 | + operation |
| spf.Fst_tensorphir | 0 | N/m² | Surface tension force, phir component | Domains 1–4 | + operation |
| spf.Fst_tensorzr | 0 | N/m² | Surface tension force, zr component | Domains 1–4 | + operation |
| spf.Fst_tensorrphi | 0 | N/m² | Surface tension force, rphi component | Domains 1–4 | + operation |
| spf.Fst_tensorphiphi | 0 | N/m² | Surface tension force, phiphi component | Domains 1–4 | + operation |
| spf.Fst_tensorzphi | 0 | N/m² | Surface tension force, zphi component | Domains 1–4 | + operation |
| spf.Fst_tensorrz | 0 | N/m² | Surface tension force, rz component | Domains 1–4 | + operation |
| spf.Fst_tensorphiz | 0 | N/m² | Surface tension force, phiz component | Domains 1–4 | + operation |
| spf.Fst_tensorzz | 0 | N/m² | Surface tension force, zz component | Domains 1–4 | + operation |
| spf.res_u | if(spf.isFluidHasBeenSolved==0,0,pr+spf.rho*u*ur+spf.rho*w*uz-(d(2*ur,r)+if(abs(r)<0.001*h,d(2*ur,r),2*ur/r)+d(uz+wr,z)-2*if(abs(r)<0.001*h,ur,u/r)/r)*spf.mu-spf.Fr) | N/m³ | Equation residual | Domains 1–4 |  |
| spf.res_v | if(spf.isFluidHasBeenSolved==0,0,-spf.Fphi) | N/m³ | Equation residual | Domains 1–4 |  |
| spf.res_w | if(spf.isFluidHasBeenSolved==0,0,spf.rho*u*wr+pz+spf.rho*w*wz-(d(wr+uz,r)+if(abs(r)<0.001*h,d(wr+uz,r),(wr+uz)/r)+d(2*wz,z))*spf.mu-spf.Fz) | N/m³ | Equation residual | Domains 1–4 |  |
| spf.res_p | spf.rho*spf.divu | kg/(m³·s) | Pressure equation residual | Domains 1–4 |  |

Shape functions

| Name | Shape function | Unit | Description | Shape frame | Selection |
| --- | --- | --- | --- | --- | --- |
| u | Lagrange (Linear) | m/s | Velocity field, r component | Material | Domains 1–4 |
| w | Lagrange (Linear) | m/s | Velocity field, z component | Material | Domains 1–4 |
| p | Lagrange (Linear) | Pa | Pressure | Material | Domains 1–4 |

Volume Force

Volume Force

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: Domains 1–4 |

Equations

Variables

| Name | Expression | Unit | Description | Selection | Details |
| --- | --- | --- | --- | --- | --- |
| spf.Fr | -ExcessCharge*Vr | N/m³ | Volume force, r component | Domains 1–4 | + operation |
| spf.Fphi | 0 | N/m³ | Volume force, phi component | Domains 1–4 | + operation |
| spf.Fz | -ExcessCharge*Vz | N/m³ | Volume force, z component | Domains 1–4 | + operation |

Inlet

Inlet

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Name | Internal Electrode |
| Selection | Named sel3: Geometry geom1: Dimension 1: Boundary 6 |

Equations

Boundary Condition

Settings

| Description | Value |
| --- | --- |
| Boundary condition | Pressure |

Pressure Conditions

Settings

| Description | Value |
| --- | --- |
| Pressure | Static |
| Pressure | PApp |
| Suppress backflow | Off |
| Flow direction | Normal flow |

Constraint Settings

Settings

| Description | Value |
| --- | --- |
| Apply reaction terms on | All physics (symmetric) |
| Use weak constraints | Off |
| Constraint method | Elemental |

Variables

| Name | Expression | Unit | Description | Selection |
| --- | --- | --- | --- | --- |
| spf.KStressn_avr | spf.K_stress_tensorrr*spf.nrmesh+spf.K_stress_tensorrphi*spf.nphimesh+spf.K_stress_tensorrz*spf.nzmesh | N/m² | Average viscous stress, r component | Boundary 6 |
| spf.KStressn_avphi | spf.K_stress_tensorphir*spf.nrmesh+spf.K_stress_tensorphiphi*spf.nphimesh+spf.K_stress_tensorphiz*spf.nzmesh | N/m² | Average viscous stress, phi component | Boundary 6 |
| spf.KStressn_avz | spf.K_stress_tensorzr*spf.nrmesh+spf.K_stress_tensorzphi*spf.nphimesh+spf.K_stress_tensorzz*spf.nzmesh | N/m² | Average viscous stress, z component | Boundary 6 |
| spf.KStressTestn_avr | spf.K_stress_tensor_testrr*spf.nrmesh+spf.K_stress_tensor_testrphi*spf.nphimesh+spf.K_stress_tensor_testrz*spf.nzmesh | N/m² | Average viscous stress, r component | Boundary 6 |
| spf.KStressTestn_avphi | spf.K_stress_tensor_testphir*spf.nrmesh+spf.K_stress_tensor_testphiphi*spf.nphimesh+spf.K_stress_tensor_testphiz*spf.nzmesh | N/m² | Average viscous stress, phi component | Boundary 6 |
| spf.KStressTestn_avz | spf.K_stress_tensor_testzr*spf.nrmesh+spf.K_stress_tensor_testzphi*spf.nphimesh+spf.K_stress_tensor_testzz*spf.nzmesh | N/m² | Average viscous stress, z component | Boundary 6 |
| spf.ujumpr | spf.ut_herer-spf.ut_therer | m/s | Velocity jump, r component | Boundary 6 |
| spf.ujumpphi | spf.ut_herephi-spf.ut_therephi | m/s | Velocity jump, phi component | Boundary 6 |
| spf.ujumpz | spf.ut_herez-spf.ut_therez | m/s | Velocity jump, z component | Boundary 6 |
| spf.meshVol | meshvol | m |  | Boundary 6 |
| spf.meshVolInt | down(meshvol) | m² | Volume of interior mesh element | Boundary 6 |
| spf.sigma_dg_ns | 4*spf.ct_here | kg/(m²·s) |  | Boundary 6 |
| spf.p0 | PApp | Pa | Pressure | Boundary 6 |
| spf.f0 | spf.p0 | N/m² | Normal stress | Boundary 6 |
| spf.inl1.dz | spf.dz | m | Channel thickness | Boundary 6 |
| spf.un_here | u*nojac(spf.nrmesh)+w*nojac(spf.nzmesh) | m/s | Intermediate variable | Boundary 6 |
| spf.ut_herer | u-spf.un_here*nojac(spf.nrmesh) | m/s | Intermediate variable, r component | Boundary 6 |
| spf.ut_herephi | -spf.un_here*nojac(spf.nphimesh) | m/s | Intermediate variable, phi component | Boundary 6 |
| spf.ut_herez | w-spf.un_here*nojac(spf.nzmesh) | m/s | Intermediate variable, z component | Boundary 6 |
| spf.un_there | 0 | m/s | Intermediate variable | Boundary 6 |
| spf.ut_therer | -spf.un_there*nojac(spf.nrmesh) | m/s | Intermediate variable, r component | Boundary 6 |
| spf.ut_therephi | -spf.un_there*nojac(spf.nphimesh) | m/s | Intermediate variable, phi component | Boundary 6 |
| spf.ut_therez | -spf.un_there*nojac(spf.nzmesh) | m/s | Intermediate variable, z component | Boundary 6 |
| spf.ct_here | 24*nojac(down((spf.mu+spf.muT)/spf.epsilon_p))*spf.meshVol/spf.meshVolInt | Pa·s/m | Intermediate variable | Boundary 6 |
| spf.inl1.volumeFlowRate | spf.inl1.intop(2*(u*spf.nrmesh+w*spf.nzmesh)*pi*r) | m³/s | Outward volume flow rate across feature selection | Global |
| spf.inl1.massFlowRate | spf.inl1.intop(2*spf.rho*(u*spf.nrmesh+w*spf.nzmesh)*pi*r) | kg/s | Outward mass flow rate across feature selection | Global |
| spf.inl1.pAverage | spf.inl1.intop(2*p*pi*r)/max(spf.inl1.intop(2*pi*r),1000*eps) | Pa | Pressure average over feature selection | Global |

Outlet

Outlet

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Name | External Electrode |
| Selection | Named sel4: Geometry geom1: Dimension 1: Boundaries 12–14 |

Equations

Boundary Condition

Settings

| Description | Value |
| --- | --- |
| Boundary condition | Pressure |

Pressure Conditions

Settings

| Description | Value |
| --- | --- |
| Pressure | Static |
| Pressure | 0 |
| Normal flow | Off |
| Suppress backflow | On |

Constraint Settings

Settings

| Description | Value |
| --- | --- |
| Apply reaction terms on | All physics (symmetric) |
| Use weak constraints | Off |
| Constraint method | Elemental |

Variables

| Name | Expression | Unit | Description | Selection |
| --- | --- | --- | --- | --- |
| spf.meshVol | meshvol | m |  | Boundaries 12–14 |
| spf.meshVolInt | down(meshvol) | m² | Volume of interior mesh element | Boundaries 12–14 |
| spf.c_here | 96/spf.epsilon_p | 1 | Intermediate variable | Boundaries 12–14 |
| spf.rhoFace | down(spf.rho) | kg/m³ | Density face value | Boundaries 12–14 |
| spf.umxTnFace | spf.upwind_helpr*spf.nrmesh+spf.upwind_helpphi*spf.nphimesh+spf.upwind_helpz*spf.nzmesh | m/s | Relative velocity on face | Boundaries 12–14 |
| spf.upwind_ns | spf.backflowPenaltyConv*spf.uNormal | Pa | Upwind term | Boundaries 12–14 |
| spf.p0 | 0 | Pa | Pressure | Boundaries 12–14 |
| spf.f0 | spf.p0+spf.uNormal*(spf.backflowPenaltyDiff-spf.backflowPenaltyConv)*(spf.uNormal<0) | N/m² | Normal stress | Boundaries 12–14 |
| spf.out1.Uav | 0 | m/s | Average velocity | Global |
| spf.out1.Uavfdf | 0 | m/s | Average velocity | Global |
| spf.out1.dz | spf.dz | m | Channel thickness | Boundaries 12–14 |
| spf.out1.Mflow | spf.out1.massFlowRate | kg/s | Mass flow | Global |
| spf.uNormal | u*nojac(spf.nrmesh)+w*nojac(spf.nzmesh) | m/s | Normal velocity | Boundaries 12–14 |
| spf.backflowPenaltyDiff | spf.c_here*min((down(spf.mu)+spf.muT)*spf.meshVol/spf.meshVolInt,down(spf.rho)*abs(spf.uNormal)/down(spf.epsilon_p)) | Pa·s/m | Backflow penalty parameter, diffusive contribution | Boundaries 12–14 |
| spf.backflowPenaltyConv | spf.rhoFace*spf.umxTnFace/spf.epsilon_p^2 | kg/(m²·s) | Backflow penalty parameter, convective contribution | Boundaries 12–14 |
| spf.out1.volumeFlowRate | spf.out1.intop(2*(u*spf.nrmesh+w*spf.nzmesh)*pi*r) | m³/s | Outward volume flow rate across feature selection | Global |
| spf.out1.massFlowRate | spf.out1.intop(2*spf.rho*(u*spf.nrmesh+w*spf.nzmesh)*pi*r) | kg/s | Outward mass flow rate across feature selection | Global |
| spf.out1.pAverage | spf.out1.intop(2*p*pi*r)/max(spf.out1.intop(2*pi*r),1000*eps) | Pa | Pressure average over feature selection | Global |

Meshes

Testing Mesh

Testing Mesh

Mesh statistics

| Description | Value |
| --- | --- |
| Status | Empty mesh |
| Mesh vertices | 0 |

Size (size)

Settings

| Description | Value |
| --- | --- |
| Maximum element size | 4.3E-5 |
| Minimum element size | 1.93E-7 |
| Curvature factor | 0.3 |
| Maximum element growth rate | 1.3 |

Size 1 (size1)

Selection

| Geometric entity level | Point |
| --- | --- |
| Selection | Geometry geom1: Dimension 0: Point 5 |

Size 1

Settings

| Description | Value |
| --- | --- |
| Maximum element size | PoreRadius/100 |
| Minimum element size | 6.45E-10 |
| Minimum element size | Off |
| Curvature factor | 0.3 |
| Curvature factor | Off |
| Resolution of narrow regions | Off |
| Maximum element growth rate | 1.3 |
| Maximum element growth rate | Off |
| Custom element size | Custom |

Boundary Layers 1 (bl1)

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1 |

Boundary Layers 1

Settings

| Description | Value |
| --- | --- |
| Last build time | 1 |
| Built with | COMSOL 6.0.0.354 (glnxa64)¦2024 - 02 - 23T13:39:38.436070 |

Boundary Layer Properties (blp)

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Name | Glass Wall |
| Selection | Named sel1: Geometry geom1: Dimension 1: Boundaries 7–9, 11 |

Boundary Layer Properties

Settings

| Description | Value |
| --- | --- |
| Thickness specification | First layer |
| Thickness | DebyeLength/6 |

Free Triangular 1 (ftri1)

Selection

| Geometric entity level | Remaining |
| --- | --- |

Free Triangular 1

Settings

| Description | Value |
| --- | --- |
| Last build time | 0 |
| Built with | COMSOL 6.0.0.354 (glnxa64)¦2024 - 02 - 23T13:39:38.447555 |

Final Mesh

Final Mesh

Mesh statistics

| Description | Value |
| --- | --- |
| Status | Complete mesh |
| Mesh vertices | 21377 |
| Triangles | 22982 |
| Quads | 9084 |
| Number of elements | 32066 |
| Minimum element quality | -0.03065 |
| Average element quality | 0.8452 |
| Element area ratio | -3.6933E-7 |
| Mesh area | 4.119E-8 m² |

Size Overall (size)

Settings

| Description | Value |
| --- | --- |
| Maximum element size | 200E-7 |
| Minimum element size | 5E-10 |
| Curvature factor | 0.2 |
| Resolution of narrow regions | 10 |
| Predefined size | Extremely fine |
| Custom element size | Custom |

Size for Glass Wall (size2)

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Name | Glass Wall |
| Selection | Named sel1: Geometry geom1: Dimension 1: Boundaries 7–9, 11 |

Size for Glass Wall

Settings

| Description | Value |
| --- | --- |
| Maximum element size | 6.42E-6 |
| Minimum element size | 1.28E-8 |
| Curvature factor | 0.2 |
| Predefined size | Extremely fine |

Size Aperture Points (size1)

Selection

| Geometric entity level | Point |
| --- | --- |
| Selection | Geometry geom1: Dimension 0: Points 5–6, 9 |

Size Aperture Points

Settings

| Description | Value |
| --- | --- |
| Maximum element size | PoreRadius/100 |
| Minimum element size | 6.45E-10 |
| Minimum element size | Off |
| Curvature factor | 0.3 |
| Curvature factor | Off |
| Resolution of narrow regions | Off |
| Maximum element growth rate | 1.3 |
| Maximum element growth rate | Off |
| Custom element size | Custom |

Boundary Layers (bl1)

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1 |

Boundary Layers

Settings

| Description | Value |
| --- | --- |
| Number of iterations | 30 |
| Maximum element depth to process | 30 |
| Last build time | 3 |
| Built with | COMSOL 6.0.0.354 (glnxa64)¦2024 - 06 - 03T21:07:32.687094 |

Boundary Layer Properties (Internal) (blp)

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Selection | Geometry geom1: Dimension 1: Boundaries 8, 11 |

Boundary Layer Properties (Internal)

Settings

| Description | Value |
| --- | --- |
| Number of layers | 12 |
| Thickness specification | First layer |
| Thickness | DebyeLength/10 |

Boundary Layer Properties (External) (blp1)

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Selection | Geometry geom1: Dimension 1: Boundaries 7, 9 |

Boundary Layer Properties (External)

Settings

| Description | Value |
| --- | --- |
| Number of layers | 12 |
| Thickness specification | First layer |
| Thickness | DebyeLengthBath/10 |

Steady State

Computation information

| Computation time | 6 min 33 s |
| --- | --- |

Vapp PS

| Parameter name | Parameter value list | Parameter unit |
| --- | --- | --- |
| VApp | range(0.5,-0.1,-0.5) | V |

Study settings

| Description | Value |
| --- | --- |
| Sweep type | Specified combinations |
| Parameter name | VApp |
| Unit | V |

Parameters

| Parameter name | Parameter value list | Parameter unit |
| --- | --- | --- |
| VApp (Applied voltage) | range(0.5,-0.1,-0.5) | V |

Stationary

Study settings

| Description | Value |
| --- | --- |
| Include geometric nonlinearity | Off |

Physics and variables selection

| Physics interface | Discretization |
| --- | --- |
| Transport of Diluted Species (chds) | physics |
| Electrostatics (es) | physics |

Mesh selection

| Geometry | Mesh |
| --- | --- |
| Nanopipette (geom1) | mesh2 |

Solver Configurations

Solution 1

Compile Equations: Stationary (st1)

Study and step

| Description | Value |
| --- | --- |
| Use study | Steady State |
| Use study step | Stationary |

Log

<---- Compile Equations: Stationary in Steady State/Solution 1 (sol1) ----------

Started at Jun 4, 2024, 1:52:43 PM.

Geometry shape function: Linear Lagrange

Parameter VApp = -0.5 (V).

Time: 2 s.

Physical memory: 1.86 GB

Virtual memory: 109.04 GB

Ended at Jun 4, 2024, 1:52:45 PM.

----- Compile Equations: Stationary in Steady State/Solution 1 (sol1) --------->

Dependent Variables 1 (v1)

General

| Description | Value |
| --- | --- |
| Defined by study step | Stationary |

Log

<---- Dependent Variables 1 in Steady State/Solution 1 (sol1) ------------------

Started at Jun 4, 2024, 1:52:45 PM.

Solution time: 1 s.

Physical memory: 1.86 GB

Virtual memory: 109.04 GB

Ended at Jun 4, 2024, 1:52:46 PM.

----- Dependent Variables 1 in Steady State/Solution 1 (sol1) ----------------->

Concentration (mod1.cCl) (mod1_cCl)

General

| Description | Value |
| --- | --- |
| Field components | mod1.cCl |
| Internal variables | {mod1.uflux.cCl, mod1.dflux.cCl} |

Concentration (mod1.cK) (mod1_cK)

General

| Description | Value |
| --- | --- |
| Field components | mod1.cK |
| Internal variables | {mod1.uflux.cK, mod1.dflux.cK} |

Pressure (mod1.p) (mod1_p)

General

| Description | Value |
| --- | --- |
| Field components | mod1.p |
| Solve for this field | Off |

Velocity field (mod1.u) (mod1_u)

General

| Description | Value |
| --- | --- |
| Field components | {mod1.u, mod1.w} |
| Internal variables | mod1.spf.isFluidHasBeenSolved |
| Solve for this field | Off |

Electric potential (mod1.V) (mod1_V)

General

| Description | Value |
| --- | --- |
| Field components | mod1.V |

Stationary Solver 1 (s1)

General

| Description | Value |
| --- | --- |
| Defined by study step | Stationary |

Results while solving

| Description | Value |
| --- | --- |
| Probes | None |

Log

<---- Stationary Solver 1 in Steady State/Solution 1 (sol1) --------------------

Started at Jun 4, 2024, 1:52:46 PM.

Nonlinear solver

Number of degrees of freedom solved for: 251709 (plus 7738 internal DOFs).

Nonsymmetric matrix found.

Scales for dependent variables:

Concentration (mod1.cCl): 23

Concentration (mod1.cK): 23

Electric potential (mod1.V): 44

Orthonormal null-space function used.

Iter      SolEst      ResEst     Damping    Stepsize #Res #Jac #Sol   LinErr   LinRes

1         2.1       1e+04   0.0100000         2.1    2    1    2  5.5e-07  1.4e-12

2           2     9.3e+03   0.1000000         2.2    3    2    4  2.9e-07  2.1e-12

3       0.015     1.6e+04   1.0000000        0.43    4    3    6  2.7e-09  1.6e-10

4      0.0012          60   1.0000000       0.015    5    4    8  6.9e-10  1.6e-10

5     1.6e-05           9   1.0000000      0.0014    7    5   10  2.8e-10  3.2e-12

Solution time: 36 s.

Physical memory: 2.52 GB

Virtual memory: 109.81 GB

Ended at Jun 4, 2024, 1:53:22 PM.

----- Stationary Solver 1 in Steady State/Solution 1 (sol1) ------------------->

Advanced (aDef)

Assembly settings

| Description | Value |
| --- | --- |
| Reuse sparsity pattern | On |

Fully Coupled 1 (fc1)

General

| Description | Value |
| --- | --- |
| Linear solver | Direct, concentrations (chds) (merged) |

Method and termination

| Description | Value |
| --- | --- |
| Initial damping factor | 0.01 |
| Minimum damping factor | 1.0E-6 |
| Maximum number of iterations | 50 |

Parametric Solutions 1

VApp=0.5 (su1)

General

| Description | Value |
| --- | --- |
| Solution | VApp=0.5 |

Log

<---- Compile Equations: Stationary in Steady State/Solution 1 (sol1) ----------

Started at Jun 4, 2024, 1:46:51 PM.

Geometry shape function: Linear Lagrange

Running on 2 x Intel(R) Xeon(R) Gold 6130 CPU at 2.10 GHz.

Using 2 sockets with 1 core in total on c1331.

Available memory: 191.69 GB.

Parameter VApp = 0.5 (V).

Time: 3 s.

Physical memory: 1.76 GB

Virtual memory: 108.99 GB

Ended at Jun 4, 2024, 1:46:53 PM.

----- Compile Equations: Stationary in Steady State/Solution 1 (sol1) --------->

<---- Dependent Variables 1 in Steady State/Solution 1 (sol1) ------------------

Started at Jun 4, 2024, 1:46:53 PM.

Solution time: 1 s.

Physical memory: 1.76 GB

Virtual memory: 108.99 GB

Ended at Jun 4, 2024, 1:46:54 PM.

----- Dependent Variables 1 in Steady State/Solution 1 (sol1) ----------------->

<---- Stationary Solver 1 in Steady State/Solution 1 (sol1) --------------------

Started at Jun 4, 2024, 1:46:54 PM.

Nonlinear solver

Number of degrees of freedom solved for: 251709 (plus 7738 internal DOFs).

Nonsymmetric matrix found.

Scales for dependent variables:

Concentration (mod1.cCl): 23

Concentration (mod1.cK): 23

Electric potential (mod1.V): 44

Orthonormal null-space function used.

Iter      SolEst      ResEst     Damping    Stepsize #Res #Jac #Sol   LinErr   LinRes

1         2.1       1e+04   0.0100000         2.1    2    1    2  3.5e-07  2.9e-12

2           2     9.3e+03   0.1000000         2.2    3    2    4  2.1e-07  2.2e-12

3       0.019     1.9e+04   1.0000000        0.44    4    3    6  5.1e-10  1.9e-10

4     0.00042          27   1.0000000       0.023    6    4    8  7.2e-10  4.6e-11

Solution time: 33 s.

Physical memory: 2.52 GB

Virtual memory: 109.81 GB

Ended at Jun 4, 2024, 1:47:27 PM.

----- Stationary Solver 1 in Steady State/Solution 1 (sol1) ------------------->

VApp=0.4 (su2)

General

| Description | Value |
| --- | --- |
| Solution | VApp=0.4 |

Log

<---- Compile Equations: Stationary in Steady State/Solution 1 (sol1) ----------

Started at Jun 4, 2024, 1:47:28 PM.

Geometry shape function: Linear Lagrange

Parameter VApp = 0.4 (V).

Time: 3 s.

Physical memory: 1.76 GB

Virtual memory: 108.97 GB

Ended at Jun 4, 2024, 1:47:30 PM.

----- Compile Equations: Stationary in Steady State/Solution 1 (sol1) --------->

<---- Dependent Variables 1 in Steady State/Solution 1 (sol1) ------------------

Started at Jun 4, 2024, 1:47:30 PM.

Solution time: 1 s.

Physical memory: 1.76 GB

Virtual memory: 108.97 GB

Ended at Jun 4, 2024, 1:47:31 PM.

----- Dependent Variables 1 in Steady State/Solution 1 (sol1) ----------------->

<---- Stationary Solver 1 in Steady State/Solution 1 (sol1) --------------------

Started at Jun 4, 2024, 1:47:31 PM.

Nonlinear solver

Number of degrees of freedom solved for: 251709 (plus 7738 internal DOFs).

Nonsymmetric matrix found.

Scales for dependent variables:

Concentration (mod1.cCl): 23

Concentration (mod1.cK): 23

Electric potential (mod1.V): 46

Orthonormal null-space function used.

Iter      SolEst      ResEst     Damping    Stepsize #Res #Jac #Sol   LinErr   LinRes

1         1.7       1e+04   0.0100000         1.7    2    1    2  2.1e-08  1.6e-12

2         1.6     9.3e+03   0.1000000         1.7    3    2    4    1e-07  2.1e-12

3       0.013     1.7e+04   1.0000000        0.43    4    3    6  3.2e-09  1.6e-10

4     0.00021          25   1.0000000       0.017    6    4    8  4.4e-10  3.2e-11

Solution time: 31 s.

Physical memory: 2.52 GB

Virtual memory: 109.81 GB

Ended at Jun 4, 2024, 1:48:02 PM.

----- Stationary Solver 1 in Steady State/Solution 1 (sol1) ------------------->

VApp=0.3 (su3)

General

| Description | Value |
| --- | --- |
| Solution | VApp=0.3 |

Log

<---- Compile Equations: Stationary in Steady State/Solution 1 (sol1) ----------

Started at Jun 4, 2024, 1:48:03 PM.

Geometry shape function: Linear Lagrange

Parameter VApp = 0.3 (V).

Time: 3 s.

Physical memory: 1.85 GB

Virtual memory: 109.04 GB

Ended at Jun 4, 2024, 1:48:05 PM.

----- Compile Equations: Stationary in Steady State/Solution 1 (sol1) --------->

<---- Dependent Variables 1 in Steady State/Solution 1 (sol1) ------------------

Started at Jun 4, 2024, 1:48:06 PM.

Solution time: 1 s.

Physical memory: 1.85 GB

Virtual memory: 109.04 GB

Ended at Jun 4, 2024, 1:48:06 PM.

----- Dependent Variables 1 in Steady State/Solution 1 (sol1) ----------------->

<---- Stationary Solver 1 in Steady State/Solution 1 (sol1) --------------------

Started at Jun 4, 2024, 1:48:06 PM.

Nonlinear solver

Number of degrees of freedom solved for: 251709 (plus 7738 internal DOFs).

Nonsymmetric matrix found.

Scales for dependent variables:

Concentration (mod1.cCl): 23

Concentration (mod1.cK): 23

Electric potential (mod1.V): 48

Orthonormal null-space function used.

Iter      SolEst      ResEst     Damping    Stepsize #Res #Jac #Sol   LinErr   LinRes

1         1.3       1e+04   0.0100000         1.3    2    1    2  2.9e-07  2.4e-12

2         1.2     9.3e+03   0.1000000         1.3    3    2    4  1.8e-07  4.7e-12

3      0.0076     1.6e+04   1.0000000        0.42    4    3    6    2e-09  1.3e-10

4     9.4e-05          18   1.0000000       0.012    6    4    8  1.2e-09  3.4e-11

Solution time: 31 s.

Physical memory: 2.52 GB

Virtual memory: 109.8 GB

Ended at Jun 4, 2024, 1:48:37 PM.

----- Stationary Solver 1 in Steady State/Solution 1 (sol1) ------------------->

VApp=0.2 (su4)

General

| Description | Value |
| --- | --- |
| Solution | VApp=0.2 |

Log

<---- Compile Equations: Stationary in Steady State/Solution 1 (sol1) ----------

Started at Jun 4, 2024, 1:48:38 PM.

Geometry shape function: Linear Lagrange

Parameter VApp = 0.19999999999999996 (V).

Time: 3 s.

Physical memory: 1.84 GB

Virtual memory: 109.03 GB

Ended at Jun 4, 2024, 1:48:41 PM.

----- Compile Equations: Stationary in Steady State/Solution 1 (sol1) --------->

<---- Dependent Variables 1 in Steady State/Solution 1 (sol1) ------------------

Started at Jun 4, 2024, 1:48:41 PM.

Solution time: 1 s.

Physical memory: 1.84 GB

Virtual memory: 109.03 GB

Ended at Jun 4, 2024, 1:48:42 PM.

----- Dependent Variables 1 in Steady State/Solution 1 (sol1) ----------------->

<---- Stationary Solver 1 in Steady State/Solution 1 (sol1) --------------------

Started at Jun 4, 2024, 1:48:42 PM.

Nonlinear solver

Number of degrees of freedom solved for: 251709 (plus 7738 internal DOFs).

Nonsymmetric matrix found.

Scales for dependent variables:

Concentration (mod1.cCl): 23

Concentration (mod1.cK): 23

Electric potential (mod1.V): 48

Orthonormal null-space function used.

Iter      SolEst      ResEst     Damping    Stepsize #Res #Jac #Sol   LinErr   LinRes

1        0.85       1e+04   0.0100000        0.85    2    1    2  2.1e-07  1.8e-12

2         0.8     9.3e+03   0.1000000        0.89    3    2    4    2e-07  2.4e-12

3      0.0037     1.4e+04   1.0000000        0.42    4    3    6  1.9e-09  9.7e-11

4     3.6e-05         8.1   1.0000000      0.0076    6    4    8  4.3e-09  3.8e-11

Solution time: 31 s.

Physical memory: 2.53 GB

Virtual memory: 109.8 GB

Ended at Jun 4, 2024, 1:49:13 PM.

----- Stationary Solver 1 in Steady State/Solution 1 (sol1) ------------------->

VApp=0.1 (su5)

General

| Description | Value |
| --- | --- |
| Solution | VApp=0.1 |

Log

<---- Compile Equations: Stationary in Steady State/Solution 1 (sol1) ----------

Started at Jun 4, 2024, 1:49:13 PM.

Geometry shape function: Linear Lagrange

Parameter VApp = 0.09999999999999998 (V).

Time: 3 s.

Physical memory: 1.84 GB

Virtual memory: 109.03 GB

Ended at Jun 4, 2024, 1:49:16 PM.

----- Compile Equations: Stationary in Steady State/Solution 1 (sol1) --------->

<---- Dependent Variables 1 in Steady State/Solution 1 (sol1) ------------------

Started at Jun 4, 2024, 1:49:16 PM.

Solution time: 1 s.

Physical memory: 1.84 GB

Virtual memory: 109.03 GB

Ended at Jun 4, 2024, 1:49:17 PM.

----- Dependent Variables 1 in Steady State/Solution 1 (sol1) ----------------->

<---- Stationary Solver 1 in Steady State/Solution 1 (sol1) --------------------

Started at Jun 4, 2024, 1:49:17 PM.

Nonlinear solver

Number of degrees of freedom solved for: 251709 (plus 7738 internal DOFs).

Nonsymmetric matrix found.

Scales for dependent variables:

Concentration (mod1.cCl): 23

Concentration (mod1.cK): 23

Electric potential (mod1.V): 43

Orthonormal null-space function used.

Iter      SolEst      ResEst     Damping    Stepsize #Res #Jac #Sol   LinErr   LinRes

1        0.42       1e+04   0.0100000        0.43    2    1    2  6.4e-07  1.5e-12

2         0.4     9.3e+03   0.1000000        0.45    3    2    4  1.4e-07  2.8e-12

3       0.001     1.3e+04   1.0000000        0.39    4    3    6  4.3e-09  5.1e-11

4     9.6e-06         2.9   1.0000000      0.0038    6    4    8  1.2e-09    6e-11

Solution time: 31 s.

Physical memory: 2.52 GB

Virtual memory: 109.8 GB

Ended at Jun 4, 2024, 1:49:48 PM.

----- Stationary Solver 1 in Steady State/Solution 1 (sol1) ------------------->

VApp=0 (su6)

General

| Description | Value |
| --- | --- |
| Solution | VApp=0 |

Log

<---- Compile Equations: Stationary in Steady State/Solution 1 (sol1) ----------

Started at Jun 4, 2024, 1:49:48 PM.

Geometry shape function: Linear Lagrange

Parameter VApp = 0.0 (V).

Time: 3 s.

Physical memory: 1.84 GB

Virtual memory: 109.03 GB

Ended at Jun 4, 2024, 1:49:51 PM.

----- Compile Equations: Stationary in Steady State/Solution 1 (sol1) --------->

<---- Dependent Variables 1 in Steady State/Solution 1 (sol1) ------------------

Started at Jun 4, 2024, 1:49:51 PM.

Solution time: 1 s.

Physical memory: 1.84 GB

Virtual memory: 109.03 GB

Ended at Jun 4, 2024, 1:49:52 PM.

----- Dependent Variables 1 in Steady State/Solution 1 (sol1) ----------------->

<---- Stationary Solver 1 in Steady State/Solution 1 (sol1) --------------------

Started at Jun 4, 2024, 1:49:52 PM.

Nonlinear solver

Number of degrees of freedom solved for: 251709 (plus 7738 internal DOFs).

Nonsymmetric matrix found.

Scales for dependent variables:

Concentration (mod1.cCl): 22

Concentration (mod1.cK): 23

Electric potential (mod1.V): 21

Orthonormal null-space function used.

Iter      SolEst      ResEst     Damping    Stepsize #Res #Jac #Sol   LinErr   LinRes

1      0.0012       1e+04   0.0100000      0.0012    2    1    2  4.6e-09  7.7e-15

2      0.0011     9.3e+03   0.1000000      0.0012    3    2    4    2e-09    5e-15

3       0.015          16   1.0000000       0.065    5    3    6  1.4e-09  8.1e-12

4     3.1e-05        0.14   1.0000000       0.015    7    4    8  9.5e-09  9.2e-12

Solution time: 32 s.

Physical memory: 2.54 GB

Virtual memory: 109.81 GB

Ended at Jun 4, 2024, 1:50:24 PM.

----- Stationary Solver 1 in Steady State/Solution 1 (sol1) ------------------->

VApp=-0.1 (su7)

General

| Description | Value |
| --- | --- |
| Solution | VApp= - 0.1 |

Log

<---- Compile Equations: Stationary in Steady State/Solution 1 (sol1) ----------

Started at Jun 4, 2024, 1:50:24 PM.

Geometry shape function: Linear Lagrange

Parameter VApp = -0.10000000000000009 (V).

Time: 3 s.

Physical memory: 1.85 GB

Virtual memory: 109.04 GB

Ended at Jun 4, 2024, 1:50:27 PM.

----- Compile Equations: Stationary in Steady State/Solution 1 (sol1) --------->

<---- Dependent Variables 1 in Steady State/Solution 1 (sol1) ------------------

Started at Jun 4, 2024, 1:50:27 PM.

Solution time: 1 s.

Physical memory: 1.85 GB

Virtual memory: 109.04 GB

Ended at Jun 4, 2024, 1:50:27 PM.

----- Dependent Variables 1 in Steady State/Solution 1 (sol1) ----------------->

<---- Stationary Solver 1 in Steady State/Solution 1 (sol1) --------------------

Started at Jun 4, 2024, 1:50:27 PM.

Nonlinear solver

Number of degrees of freedom solved for: 251709 (plus 7738 internal DOFs).

Nonsymmetric matrix found.

Scales for dependent variables:

Concentration (mod1.cCl): 23

Concentration (mod1.cK): 23

Electric potential (mod1.V): 43

Orthonormal null-space function used.

Iter      SolEst      ResEst     Damping    Stepsize #Res #Jac #Sol   LinErr   LinRes

1        0.42       1e+04   0.0100000        0.43    2    1    2  1.9e-07  1.5e-12

2         0.4     9.3e+03   0.1000000        0.45    3    2    4    2e-07  1.2e-12

3      0.0011     1.2e+04   1.0000000        0.38    4    3    6  1.8e-09  8.5e-11

4     1.5e-05         2.9   1.0000000      0.0035    6    4    8  1.3e-09    7e-11

Solution time: 31 s.

Physical memory: 2.52 GB

Virtual memory: 109.81 GB

Ended at Jun 4, 2024, 1:50:59 PM.

----- Stationary Solver 1 in Steady State/Solution 1 (sol1) ------------------->

VApp=-0.2 (su8)

General

| Description | Value |
| --- | --- |
| Solution | VApp= - 0.2 |

Log

<---- Compile Equations: Stationary in Steady State/Solution 1 (sol1) ----------

Started at Jun 4, 2024, 1:50:59 PM.

Geometry shape function: Linear Lagrange

Parameter VApp = -0.20000000000000007 (V).

Time: 3 s.

Physical memory: 1.85 GB

Virtual memory: 109.04 GB

Ended at Jun 4, 2024, 1:51:02 PM.

----- Compile Equations: Stationary in Steady State/Solution 1 (sol1) --------->

<---- Dependent Variables 1 in Steady State/Solution 1 (sol1) ------------------

Started at Jun 4, 2024, 1:51:02 PM.

Solution time: 1 s.

Physical memory: 1.85 GB

Virtual memory: 109.04 GB

Ended at Jun 4, 2024, 1:51:02 PM.

----- Dependent Variables 1 in Steady State/Solution 1 (sol1) ----------------->

<---- Stationary Solver 1 in Steady State/Solution 1 (sol1) --------------------

Started at Jun 4, 2024, 1:51:02 PM.

Nonlinear solver

Number of degrees of freedom solved for: 251709 (plus 7738 internal DOFs).

Nonsymmetric matrix found.

Scales for dependent variables:

Concentration (mod1.cCl): 23

Concentration (mod1.cK): 23

Electric potential (mod1.V): 48

Orthonormal null-space function used.

Iter      SolEst      ResEst     Damping    Stepsize #Res #Jac #Sol   LinErr   LinRes

1        0.85       1e+04   0.0100000        0.85    2    1    2  6.5e-07  2.3e-12

2         0.8     9.3e+03   0.1000000        0.89    3    2    4  4.2e-08  1.6e-12

3      0.0037     1.2e+04   1.0000000        0.41    4    3    6  6.3e-10  9.2e-11

4     7.4e-05          12   1.0000000      0.0074    6    4    8  1.7e-10  4.5e-11

Solution time: 31 s.

Physical memory: 2.55 GB

Virtual memory: 109.81 GB

Ended at Jun 4, 2024, 1:51:34 PM.

----- Stationary Solver 1 in Steady State/Solution 1 (sol1) ------------------->

VApp=-0.3 (su9)

General

| Description | Value |
| --- | --- |
| Solution | VApp= - 0.3 |

Log

<---- Compile Equations: Stationary in Steady State/Solution 1 (sol1) ----------

Started at Jun 4, 2024, 1:51:34 PM.

Geometry shape function: Linear Lagrange

Parameter VApp = -0.30000000000000004 (V).

Time: 2 s.

Physical memory: 1.85 GB

Virtual memory: 109.04 GB

Ended at Jun 4, 2024, 1:51:36 PM.

----- Compile Equations: Stationary in Steady State/Solution 1 (sol1) --------->

<---- Dependent Variables 1 in Steady State/Solution 1 (sol1) ------------------

Started at Jun 4, 2024, 1:51:36 PM.

Solution time: 1 s.

Physical memory: 1.85 GB

Virtual memory: 109.04 GB

Ended at Jun 4, 2024, 1:51:37 PM.

----- Dependent Variables 1 in Steady State/Solution 1 (sol1) ----------------->

<---- Stationary Solver 1 in Steady State/Solution 1 (sol1) --------------------

Started at Jun 4, 2024, 1:51:37 PM.

Nonlinear solver

Number of degrees of freedom solved for: 251709 (plus 7738 internal DOFs).

Nonsymmetric matrix found.

Scales for dependent variables:

Concentration (mod1.cCl): 23

Concentration (mod1.cK): 23

Electric potential (mod1.V): 48

Orthonormal null-space function used.

Iter      SolEst      ResEst     Damping    Stepsize #Res #Jac #Sol   LinErr   LinRes

1         1.3       1e+04   0.0100000         1.3    2    1    2  9.1e-08  1.2e-12

2         1.2     9.3e+03   0.1000000         1.3    3    2    4  9.5e-08  1.2e-12

3      0.0069     1.3e+04   1.0000000        0.42    4    3    6  1.5e-09  1.7e-10

4     0.00024          23   1.0000000       0.011    6    4    8  4.3e-10  1.1e-10

Solution time: 31 s.

Physical memory: 2.53 GB

Virtual memory: 109.81 GB

Ended at Jun 4, 2024, 1:52:08 PM.

----- Stationary Solver 1 in Steady State/Solution 1 (sol1) ------------------->

VApp=-0.4 (su10)

General

| Description | Value |
| --- | --- |
| Solution | VApp= - 0.4 |

Log

<---- Compile Equations: Stationary in Steady State/Solution 1 (sol1) ----------

Started at Jun 4, 2024, 1:52:08 PM.

Geometry shape function: Linear Lagrange

Parameter VApp = -0.4 (V).

Time: 3 s.

Physical memory: 1.85 GB

Virtual memory: 109.04 GB

Ended at Jun 4, 2024, 1:52:11 PM.

----- Compile Equations: Stationary in Steady State/Solution 1 (sol1) --------->

<---- Dependent Variables 1 in Steady State/Solution 1 (sol1) ------------------

Started at Jun 4, 2024, 1:52:11 PM.

Solution time: 1 s.

Physical memory: 1.85 GB

Virtual memory: 109.04 GB

Ended at Jun 4, 2024, 1:52:12 PM.

----- Dependent Variables 1 in Steady State/Solution 1 (sol1) ----------------->

<---- Stationary Solver 1 in Steady State/Solution 1 (sol1) --------------------

Started at Jun 4, 2024, 1:52:12 PM.

Nonlinear solver

Number of degrees of freedom solved for: 251709 (plus 7738 internal DOFs).

Nonsymmetric matrix found.

Scales for dependent variables:

Concentration (mod1.cCl): 23

Concentration (mod1.cK): 23

Electric potential (mod1.V): 46

Orthonormal null-space function used.

Iter      SolEst      ResEst     Damping    Stepsize #Res #Jac #Sol   LinErr   LinRes

1         1.7       1e+04   0.0100000         1.7    2    1    2  3.3e-07  3.1e-12

2         1.6     9.3e+03   0.1000000         1.8    3    2    4  5.2e-08  1.5e-12

3       0.011     1.4e+04   1.0000000        0.42    4    3    6  1.3e-09  1.3e-10

4     0.00054          33   1.0000000       0.016    6    4    8  2.6e-10  1.6e-10

Solution time: 31 s.

Physical memory: 2.55 GB

Virtual memory: 109.81 GB

Ended at Jun 4, 2024, 1:52:43 PM.

----- Stationary Solver 1 in Steady State/Solution 1 (sol1) ------------------->

VApp=-0.5 (su11)

General

| Description | Value |
| --- | --- |
| Solution | VApp= - 0.5 |

Log

<---- Compile Equations: Stationary in Steady State/Solution 1 (sol1) ----------

Started at Jun 4, 2024, 1:52:43 PM.

Geometry shape function: Linear Lagrange

Parameter VApp = -0.5 (V).

Time: 2 s.

Physical memory: 1.86 GB

Virtual memory: 109.04 GB

Ended at Jun 4, 2024, 1:52:45 PM.

----- Compile Equations: Stationary in Steady State/Solution 1 (sol1) --------->

<---- Dependent Variables 1 in Steady State/Solution 1 (sol1) ------------------

Started at Jun 4, 2024, 1:52:45 PM.

Solution time: 1 s.

Physical memory: 1.86 GB

Virtual memory: 109.04 GB

Ended at Jun 4, 2024, 1:52:46 PM.

----- Dependent Variables 1 in Steady State/Solution 1 (sol1) ----------------->

<---- Stationary Solver 1 in Steady State/Solution 1 (sol1) --------------------

Started at Jun 4, 2024, 1:52:46 PM.

Nonlinear solver

Number of degrees of freedom solved for: 251709 (plus 7738 internal DOFs).

Nonsymmetric matrix found.

Scales for dependent variables:

Concentration (mod1.cCl): 23

Concentration (mod1.cK): 23

Electric potential (mod1.V): 44

Orthonormal null-space function used.

Iter      SolEst      ResEst     Damping    Stepsize #Res #Jac #Sol   LinErr   LinRes

1         2.1       1e+04   0.0100000         2.1    2    1    2  5.5e-07  1.4e-12

2           2     9.3e+03   0.1000000         2.2    3    2    4  2.9e-07  2.1e-12

3       0.015     1.6e+04   1.0000000        0.43    4    3    6  2.7e-09  1.6e-10

4      0.0012          60   1.0000000       0.015    5    4    8  6.9e-10  1.6e-10

5     1.6e-05           9   1.0000000      0.0014    7    5   10  2.8e-10  3.2e-12

Solution time: 36 s.

Physical memory: 2.52 GB

Virtual memory: 109.81 GB

Ended at Jun 4, 2024, 1:53:22 PM.

----- Stationary Solver 1 in Steady State/Solution 1 (sol1) ------------------->

Results

Data Sets

Steady State/Solution 1

Solution

| Description | Value |
| --- | --- |
| Solution | Solution 1 |
| Component | Model 1 (mod1) |

Dataset: Steady State/Solution 1

Probe Solution 2

Solution

| Description | Value |
| --- | --- |
| Solution | Solution 1 |
| Component | Model 1 (mod1) |

Dataset: Probe Solution 2

Current (internal electrode)

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Selection | Geometry geom1: Dimension 1: Boundary 6 |

Data

| Description | Value |
| --- | --- |
| Dataset | Probe Solution 2 |

Settings

| Description | Value |
| --- | --- |
| Method | Integration |
| Integration order | 4 |
| Integration order | On |

Mirror 2D 1

Data

| Description | Value |
| --- | --- |
| Dataset | Steady State/Solution 1 |

Axis data

| Description | Value |
| --- | --- |
| Axis entry method | Two points |
| Points | {{0, 0}, {0, 1}} |

Dataset: Mirror 2D 1

Steady State/Parametric Solutions 1

Solution

| Description | Value |
| --- | --- |
| Solution | Parametric Solutions 1 |
| Component | Model 1 (mod1) |

Dataset: Steady State/Parametric Solutions 1

Derived Values

Current (internal electrode)

Output

| Evaluated in | Probe Table 1 |
| --- | --- |

Data

| Description | Value |
| --- | --- |
| Dataset | Current (internal electrode) |

Expressions

| Expression | Unit | Description |
| --- | --- | --- |
| -F_const*(chds.bndFlux_cK-chds.bndFlux_cCl)*2*pi*r | nA | Current (internal) |

Line Integration 1

Data

| Description | Value |
| --- | --- |
| Dataset | Steady State/Solution 1 |

Expressions

| Expression | Unit | Description |
| --- | --- | --- |
| chds.ntflux_cCl*F_const | nA |  |
| -F_const*chds.ntflux_cK | nA |  |
| -F_const*(chds.ntflux_cK-chds.ntflux_cCl) | nA |  |

Integration settings

| Description | Value |
| --- | --- |
| Integration order | 4 |
| Compute surface integral | On |

Line Average 1

Data

| Description | Value |
| --- | --- |
| Dataset | Steady State/Solution 1 |

Expressions

| Expression | Unit | Description |
| --- | --- | --- |
| chds.ndflux_cCl | mol/(m^2*s) | Normal diffusive flux |
| chds.nmflux_cCl | mol/(m^2*s) | Normal electrophoretic flux |
| chds.ndflux_cCl-chds.nmflux_cCl | mol/(m^2*s) |  |

Integration settings

| Description | Value |
| --- | --- |
| Integration order | 4 |
| Compute surface integral | On |

Line Average 2

Data

| Description | Value |
| --- | --- |
| Dataset | Steady State/Solution 1 |

Expressions

| Expression | Unit | Description |
| --- | --- | --- |
| chds.ndflux_cK | mol/(m^2*s) | Normal diffusive flux |
| chds.nmflux_cK | mol/(m^2*s) | Normal electrophoretic flux |
| chds.ndflux_cK-chds.nmflux_cK | mol/(m^2*s) |  |

Integration settings

| Description | Value |
| --- | --- |
| Integration order | 4 |
| Compute surface integral | On |

Line Integration 2

Data

| Description | Value |
| --- | --- |
| Dataset | Steady State/Solution 1 |

Expressions

| Expression | Unit | Description |
| --- | --- | --- |
| chds.ndflux_cCl | mol/s | Normal diffusive flux |
| chds.nmflux_cCl | mol/s | Normal electrophoretic flux |
| chds.ndflux_cCl-chds.nmflux_cCl | mol/s |  |

Integration settings

| Description | Value |
| --- | --- |
| Integration order | 4 |
| Compute surface integral | On |

Line Integration 3

Data

| Description | Value |
| --- | --- |
| Dataset | Steady State/Solution 1 |

Expressions

| Expression | Unit | Description |
| --- | --- | --- |
| chds.ndflux_cK | mol/s | Normal diffusive flux |
| chds.nmflux_cK | mol/s | Normal electrophoretic flux |
| chds.ndflux_cCl-chds.nmflux_cK | mol/s |  |

Integration settings

| Description | Value |
| --- | --- |
| Integration order | 4 |
| Compute surface integral | On |

Line Integration 4

Data

| Description | Value |
| --- | --- |
| Dataset | Steady State/Solution 1 |

Expressions

| Expression | Unit | Description |
| --- | --- | --- |
| chds.ndflux_cK | mol/s | Normal diffusive flux |
| chds.nmflux_cK | mol/s | Normal electrophoretic flux |
| chds.ndflux_cCl-chds.nmflux_cK | mol/s |  |

Integration settings

| Description | Value |
| --- | --- |
| Integration order | 4 |
| Compute surface integral | On |

Line Integration 5

Data

| Description | Value |
| --- | --- |
| Dataset | Steady State/Parametric Solutions 1 |

Expressions

| Expression | Unit | Description |
| --- | --- | --- |
| -F_const*(chds.ntflux_cK-chds.ntflux_cCl) | nA |  |

Integration settings

| Description | Value |
| --- | --- |
| Integration order | 4 |
| Compute surface integral | On |

Tables

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Probe Table 1

| VApp (V) | Current (internal) (nA), Current (internal electrode) |
| --- | --- |
| 0.50000 | 2.4848 |
| 0.40000 | 2.0479 |
| 0.30000 | 1.5830 |
| 0.20000 | 1.0880 |
| 0.10000 | 0.56101 |
| 0.0000 | 4.7198E-7 |
| -0.10000 | -0.59738 |
| -0.20000 | -1.2333 |
| -0.30000 | -1.9103 |
| -0.40000 | -2.6308 |
| -0.50000 | -3.3983 |

Plot Groups

V axial

V axial

cK

Surface:  (mol/m3)

Delta Ionic Conc

Surface: cK-cCl (mol/m3)

2D Plot Group 5

Surface: Element quality (Volume versus circumradius)

AxialConcKCl,-0.5V

Line Graph: Concentration [K] (mol/m3) Line Graph: Concentration [Cl] (mol/m3)

V axial

Conc Grad

Line Graph: Concentration gradient, z component (mol/m4) Line Graph: Concentration gradient, z component (mol/m4)

Mobility

Line Graph: Mobility, zz component (s*mol/kg)

V axial

V axial

V axial

V axial

[Avg i]

Surface: 0.5*(cK+cCl) (mol/m3)