## WS1-Metadata
T | Return period (years)
RFD | Rainfall deoth (mm)
RET | Retention (%)
RD | Rainfall duration (hours)
RFMI | Rainfall mean intenisty (mm/hr)
ADWP | Duration of the antecedent dry weather period (hours)

## WS2-Fig 3
Parameters
Calculation type=Design rainfall
Calculation mode=For a point
Duration= | 10 | 1 | (hours)
Fixed duration= | 0
Return period= | 1.01 | 1 | (years)
Annual maximum= | 0
c | d1 | d2 | d3 | e | f | T
-0.026 | 0.373 | 0.376 | 0.277 | 0.3 | 2.394 | 5
A design rainfall of 17.9 mm was calculated.
No warning(s) or advisory(ies) is present for this calculation.
The data in the following table have been computed using sliding durations
Duration
minutes |  |  | 1 yr | 2 yr | 5 yr | 10 yr | 20 yr | 50 yr | 100 yr
15 | 0.25 | 0.25 | 3.4124 | 7.3896 | 10.8153 | 13.92 | 17.73 | 24.24 | 30.65 | 3.5 | 1.02 | 2.04 | 1.02 | 1.02
30 | 0.5 | 0.5 | 4.5758 | 9.5069 | 13.6327 | 17.31 | 21.76 | 29.26 | 36.54 | 5
45 | 0.75 | 0.75 | 5.4325 | 11.0165 | 15.6098 | 19.66 | 24.53 | 32.67 | 40.49 | 2.04 | 2.04
60 | 1 | 1 | 6.1359 | 12.2308 | 17.1841 | 21.52 | 26.71 | 35.32 | 43.56 | 4.08
75 | 1.25 | 1.25 | 6.7437 | 13.2641 | 18.5137 | 23.09 | 28.53 | 37.53 | 46.09
90 | 1.5 | 1.5 | 7.2847 | 14.1729 | 19.6762 | 24.45 | 30.11 | 39.44 | 48.27 | 2.04
105 | 1.75 | 1.75 | 7.7758 | 14.9896 | 20.7158 | 25.66 | 31.52 | 41.12 | 50.19 | 4.08
120 | 2 | 2 | 8.228 | 15.7351 | 21.6606 | 26.77 | 32.79 | 42.64 | 51.92
135 | 2.25 | 2.25 | 8.6485 | 16.4233 | 22.5297 | 27.78 | 33.95 | 44.03 | 53.49
150 | 2.5 | 2.5 | 9.043 | 17.0645 | 23.3366 | 28.71 | 35.03 | 45.3 | 54.94
165 | 2.75 | 2.75 | 9.4152 | 17.666 | 24.0915 | 29.58 | 36.03 | 46.49 | 56.28
180 | 3 | 3 | 9.7684 | 18.2336 | 24.8019 | 30.41 | 36.97 | 47.6 | 57.54
195 | 3.25 | 3.25 | 10.105 | 18.7719 | 25.4739 | 31.18 | 37.85 | 48.65 | 58.72
210 | 3.5 | 3.5 | 10.427 | 19.2844 | 26.1123 | 31.92 | 38.69 | 49.64 | 59.83
225 | 3.75 | 3.75 | 10.736 | 19.7741 | 26.721 | 32.62 | 39.49 | 50.58 | 60.88
240 | 4 | 4 | 11.0333 | 20.2434 | 27.3033 | 33.28 | 40.25 | 51.47 | 61.89
255 | 4.25 | 4.25 | 11.32 | 20.6945 | 27.8618 | 33.93 | 40.98 | 52.33 | 62.85 | 4.08
270 | 4.5 | 4.5 | 11.5972 | 21.1289 | 28.3988 | 34.54 | 41.68 | 53.14 | 63.76
285 | 4.75 | 4.75 | 11.8657 | 21.5482 | 28.9163 | 35.13 | 42.35 | 53.93 | 64.64 | 4.08
300 | 5 | 5 | 12.1261 | 21.9537 | 29.4159 | 35.7 | 43 | 54.69 | 65.49
315 | 5.25 | 5.25 | 12.3791 | 22.3465 | 29.8992 | 36.26 | 43.62 | 55.42 | 66.3
330 | 5.5 | 5.5 | 12.6253 | 22.7276 | 30.3674 | 36.79 | 44.22 | 56.12 | 67.09
345 | 5.75 | 5.75 | 12.8651 | 23.0978 | 30.8217 | 37.31 | 44.81 | 56.8 | 67.85
360 | 6 | 6 | 13.0989 | 23.4579 | 31.2629 | 37.81 | 45.38 | 57.46 | 68.58 | 20
375 | 6.25 | 6.25 | 13.3272 | 23.8085 | 31.6921 | 38.3 | 45.93 | 58.1 | 69.3 | 5.1
390 | 6.5 | 6.5 | 13.5503 | 24.1504 | 32.11 | 38.77 | 46.46 | 58.73 | 69.99
405 | 6.75 | 6.75 | 13.7685 | 24.4839 | 32.5173 | 39.24 | 46.99 | 59.33 | 70.66 | 2.04
420 | 7 | 7 | 13.9821 | 24.8097 | 32.9147 | 39.69 | 47.49 | 59.92 | 71.32 | 11.22
435 | 7.25 | 7.25 | 14.1913 | 25.1282 | 33.3027 | 40.13 | 47.99 | 60.49 | 71.95
450 | 7.5 | 7.5 | 14.3964 | 25.4397 | 33.682 | 40.56 | 48.47 | 61.05 | 72.57
465 | 7.75 | 7.75 | 14.5976 | 25.7447 | 34.0529 | 40.98 | 48.95 | 61.6 | 73.18 | 3.1
480 | 8 | 8 | 14.795 | 26.0435 | 34.4159 | 41.39 | 49.41 | 62.13 | 73.77
495 | 8.25 | 8.25 | 14.989 | 26.3365 | 34.7714 | 41.79 | 49.86 | 62.65 | 74.35
510 | 8.5 | 8.5 | 15.1796 | 26.6238 | 35.1199 | 42.19 | 50.3 | 63.16 | 74.91
525 | 8.75 | 8.75 | 15.367 | 26.9058 | 35.4616 | 42.57 | 50.73 | 63.66 | 75.47 | 5.1
540 | 9 | 9 | 15.5513 | 27.1827 | 35.7968 | 42.95 | 51.16 | 64.15 | 76.01
555 | 9.25 | 9.25 | 15.7327 | 27.4548 | 36.1259 | 43.33 | 51.58 | 64.63 | 76.54
570 | 9.5 | 9.5 | 15.9113 | 27.7222 | 36.4491 | 43.69 | 51.98 | 65.1 | 77.05
585 | 9.75 | 9.75 | 16.0872 | 27.9851 | 36.7667 | 44.05 | 52.38 | 65.56 | 77.56
600 | 10 | 10 | 16.2605 | 28.2439 | 37.0789 | 44.4 | 52.78 | 66.01 | 78.06 | 17.4
615 | 10.25 | 10.25 | 16.4313 | 28.4985 | 37.386 | 44.75 | 53.17 | 66.46 | 78.55
630 | 10.5 | 10.5 | 16.5998 | 28.7492 | 37.6881 | 45.09 | 53.55 | 66.89 | 79.03
645 | 10.75 | 10.75 | 16.7659 | 28.9961 | 37.9855 | 45.42 | 53.92 | 67.32 | 79.51
660 | 11 | 11 | 16.9299 | 29.2394 | 38.2783 | 45.75 | 54.29 | 67.74 | 79.97
675 | 11.25 | 11.25 | 17.0917 | 29.4793 | 38.5667 | 46.08 | 54.65 | 68.16 | 80.43
690 | 11.5 | 11.5 | 17.2514 | 29.7157 | 38.8508 | 46.4 | 55.01 | 68.57 | 80.88
705 | 11.75 | 11.75 | 17.4091 | 29.9489 | 39.1309 | 46.71 | 55.36 | 68.97 | 81.32 | 5.1
720 | 12 | 12 | 17.565 | 30.1789 | 39.407 | 47.02 | 55.7 | 69.36 | 81.75
735 | 12.25 | 12.25 | 17.72 | 30.4079 | 39.6794 | 47.33 | 56.05 | 69.76 | 82.19
750 | 12.5 | 12.5 | 17.8733 | 30.6338 | 39.948 | 47.63 | 56.39 | 70.15 | 82.61
765 | 12.75 | 12.75 | 18.0248 | 30.8569 | 40.2131 | 47.93 | 56.72 | 70.53 | 83.03
780 | 13 | 13 | 18.1746 | 31.0773 | 40.4748 | 48.23 | 57.05 | 70.9 | 83.45
795 | 13.25 | 13.25 | 18.3228 | 31.295 | 40.7331 | 48.52 | 57.38 | 71.28 | 83.86
810 | 13.5 | 13.5 | 18.4693 | 31.5101 | 40.9882 | 48.81 | 57.7 | 71.64 | 84.26 | 12.24
825 | 13.75 | 13.75 | 18.6144 | 31.7227 | 41.2402 | 49.1 | 58.02 | 72 | 84.66
840 | 14 | 14 | 18.7579 | 31.9329 | 41.4891 | 49.38 | 58.33 | 72.36 | 85.05
855 | 14.25 | 14.25 | 18.8999 | 32.1407 | 41.7351 | 49.66 | 58.64 | 72.71 | 85.44
870 | 14.5 | 14.5 | 19.0406 | 32.3462 | 41.9783 | 49.93 | 58.94 | 73.06 | 85.82 | 11.22
885 | 14.75 | 14.75 | 19.1798 | 32.5495 | 42.2186 | 50.2 | 59.24 | 73.41 | 86.2
900 | 15 | 15 | 19.3177 | 32.7506 | 42.4563 | 50.47 | 59.54 | 73.75 | 86.57
915 | 15.25 | 15.25 | 19.4543 | 32.9496 | 42.6913 | 50.74 | 59.84 | 74.08 | 86.94
930 | 15.5 | 15.5 | 19.5896 | 33.1465 | 42.9238 | 51 | 60.13 | 74.41 | 87.3
945 | 15.75 | 15.75 | 19.7237 | 33.3414 | 43.1538 | 51.26 | 60.42 | 74.74 | 87.66
960 | 16 | 16 | 19.8565 | 33.5344 | 43.3814 | 51.52 | 60.7 | 75.06 | 88.01
975 | 16.25 | 16.25 | 19.9882 | 33.7255 | 43.6066 | 51.77 | 60.98 | 75.38 | 88.36
990 | 16.5 | 16.5 | 20.1187 | 33.9147 | 43.8296 | 52.02 | 61.26 | 75.7 | 88.71
1005 | 16.75 | 16.75 | 20.248 | 34.1021 | 44.0503 | 52.27 | 61.54 | 76.01 | 89.05
1020 | 17 | 17 | 20.3763 | 34.2878 | 44.2688 | 52.52 | 61.81 | 76.32 | 89.39
1035 | 17.25 | 17.25 | 20.5035 | 34.4717 | 44.4852 | 52.76 | 62.08 | 76.63 | 89.73
1050 | 17.5 | 17.5 | 20.6296 | 34.654 | 44.6995 | 53 | 62.35 | 76.93 | 90.06
1065 | 17.75 | 17.75 | 20.7547 | 34.8346 | 44.9117 | 53.24 | 62.61 | 77.23 | 90.39 | 4.08
1080 | 18 | 18 | 20.8789 | 35.0136 | 45.122 | 53.48 | 62.88 | 77.53 | 90.71
1095 | 18.25 | 18.25 | 21.002 | 35.191 | 45.3304 | 53.72 | 63.14 | 77.83 | 91.03
1110 | 18.5 | 18.5 | 21.1241 | 35.3669 | 45.5369 | 53.95 | 63.39 | 78.12 | 91.35
1125 | 18.75 | 18.75 | 21.2453 | 35.5413 | 45.7415 | 54.18 | 63.65 | 78.4 | 91.66
1140 | 19 | 19 | 21.3656 | 35.7142 | 45.9443 | 54.41 | 63.9 | 78.69 | 91.98
1155 | 19.25 | 19.25 | 21.485 | 35.8857 | 46.1453 | 54.63 | 64.15 | 78.97 | 92.29
1170 | 19.5 | 19.5 | 21.6035 | 36.0558 | 46.3446 | 54.86 | 64.4 | 79.25 | 92.59
1185 | 19.75 | 19.75 | 21.7211 | 36.2246 | 46.5422 | 55.08 | 64.64 | 79.53 | 92.89
1200 | 20 | 20 | 21.8379 | 36.3919 | 46.7382 | 55.3 | 64.89 | 79.81 | 93.19
1215 | 20.25 | 20.25 | 21.9538 | 36.558 | 46.9325 | 55.52 | 65.13 | 80.08 | 93.49
1230 | 20.5 | 20.5 | 22.069 | 36.7227 | 47.1252 | 55.74 | 65.37 | 80.35 | 93.79
1245 | 20.75 | 20.75 | 22.1833 | 36.8862 | 47.3164 | 55.95 | 65.61 | 80.62 | 94.08
1260 | 21 | 21 | 22.2968 | 37.0485 | 47.5061 | 56.16 | 65.84 | 80.88 | 94.37 | 24.2
1275 | 21.25 | 21.25 | 22.4096 | 37.2095 | 47.6942 | 56.37 | 66.07 | 81.15 | 94.65
1290 | 21.5 | 21.5 | 22.5216 | 37.3693 | 47.8809 | 56.58 | 66.3 | 81.41 | 94.94
1305 | 21.75 | 21.75 | 22.6328 | 37.528 | 48.0661 | 56.79 | 66.53 | 81.67 | 95.22
1320 | 22 | 22 | 22.7434 | 37.6855 | 48.25 | 57 | 66.76 | 81.92 | 95.5 | 84
1335 | 22.25 | 22.25 | 22.8532 | 37.8419 | 48.4324 | 57.2 | 66.99 | 82.18 | 95.78
1350 | 22.5 | 22.5 | 22.9623 | 37.9972 | 48.6135 | 57.41 | 67.21 | 82.43 | 96.05
1365 | 22.75 | 22.75 | 23.0707 | 38.1513 | 48.7932 | 57.61 | 67.43 | 82.68 | 96.32
1380 | 23 | 23 | 23.1784 | 38.3044 | 48.9717 | 57.81 | 67.65 | 82.93 | 96.59
1395 | 23.25 | 23.25 | 23.2855 | 38.4565 | 49.1488 | 58.01 | 67.87 | 83.17 | 96.86
1410 | 23.5 | 23.5 | 23.3919 | 38.6075 | 49.3247 | 58.21 | 68.09 | 83.42 | 97.13
1425 | 23.75 | 23.75 | 23.4976 | 38.7575 | 49.4993 | 58.4 | 68.31 | 83.66 | 97.39
1440 | 24 | 24 | 23.6027 | 38.9066 | 49.6728 | 58.6 | 68.52 | 83.9 | 97.65
1455 | 24.25 | 24.25 | 23.7072 | 39.0546 | 49.845 | 58.79 | 68.73 | 84.14 | 97.91 | 5.1
1470 | 24.5 | 24.5 | 23.8111 | 39.2017 | 50.016 | 58.98 | 68.94 | 84.38 | 98.17
1485 | 24.75 | 24.75 | 23.9143 | 39.3478 | 50.1859 | 59.17 | 69.15 | 84.61 | 98.43
1500 | 25 | 25 | 24.017 | 39.493 | 50.3547 | 59.36 | 69.36 | 84.85 | 98.68
1515 | 25.25 | 25.25 | 24.1191 | 39.6372 | 50.5223 | 59.55 | 69.57 | 85.08 | 98.93
1530 | 25.5 | 25.5 | 24.2206 | 39.7806 | 50.6888 | 59.73 | 69.77 | 85.31 | 99.18
1545 | 25.75 | 25.75 | 24.3215 | 39.9231 | 50.8543 | 59.92 | 69.98 | 85.54 | 99.43
1560 | 26 | 26 | 24.4219 | 40.0647 | 51.0187 | 60.1 | 70.18 | 85.77 | 99.68
1575 | 26.25 | 26.25 | 24.5217 | 40.2055 | 51.182 | 60.29 | 70.38 | 85.99 | 99.92
1590 | 26.5 | 26.5 | 24.621 | 40.3454 | 51.3443 | 60.47 | 70.58 | 86.22 | 100.17
1605 | 26.75 | 26.75 | 24.7197 | 40.4844 | 51.5056 | 60.65 | 70.78 | 86.44 | 100.41
1620 | 27 | 27 | 24.818 | 40.6227 | 51.6658 | 60.83 | 70.97 | 86.66 | 100.65
1635 | 27.25 | 27.25 | 24.9156 | 40.7601 | 51.8251 | 61.01 | 71.17 | 86.88 | 100.89
1650 | 27.5 | 27.5 | 25.0128 | 40.8968 | 51.9834 | 61.18 | 71.36 | 87.1 | 101.12
1665 | 27.75 | 27.75 | 25.1095 | 41.0326 | 52.1408 | 61.36 | 71.56 | 87.31 | 101.36
1680 | 28 | 28 | 25.2057 | 41.1677 | 52.2972 | 61.53 | 71.75 | 87.53 | 101.59
1695 | 28.25 | 28.25 | 25.3014 | 41.302 | 52.4527 | 61.71 | 71.94 | 87.74 | 101.82
1710 | 28.5 | 28.5 | 25.3966 | 41.4356 | 52.6073 | 61.88 | 72.13 | 87.96 | 102.05
1725 | 28.75 | 28.75 | 25.4913 | 41.5684 | 52.761 | 62.05 | 72.32 | 88.17 | 102.28
1740 | 29 | 29 | 25.5855 | 41.7005 | 52.9138 | 62.22 | 72.51 | 88.38 | 102.51
1755 | 29.25 | 29.25 | 25.6793 | 41.8319 | 53.0657 | 62.39 | 72.69 | 88.59 | 102.73
1770 | 29.5 | 29.5 | 25.7726 | 41.9626 | 53.2168 | 62.56 | 72.88 | 88.79 | 102.96
1785 | 29.75 | 29.75 | 25.8655 | 42.0926 | 53.367 | 62.73 | 73.06 | 89 | 103.18
1800 | 30 | 30 | 25.9579 | 42.2219 | 53.5164 | 62.9 | 73.24 | 89.2 | 103.4
1815 | 30.25 | 30.25 | 26.0499 | 42.3505 | 53.6649 | 63.06 | 73.43 | 89.41 | 103.62
1830 | 30.5 | 30.5 | 26.1415 | 42.4784 | 53.8126 | 63.23 | 73.61 | 89.61 | 103.84
1845 | 30.75 | 30.75 | 26.2326 | 42.6057 | 53.9595 | 63.39 | 73.79 | 89.81 | 104.06
1860 | 31 | 31 | 26.3233 | 42.7323 | 54.1057 | 63.56 | 73.97 | 90.01 | 104.28
1875 | 31.25 | 31.25 | 26.4136 | 42.8583 | 54.251 | 63.72 | 74.14 | 90.21 | 104.49
1890 | 31.5 | 31.5 | 26.5034 | 42.9836 | 54.3956 | 63.88 | 74.32 | 90.41 | 104.71
1905 | 31.75 | 31.75 | 26.5929 | 43.1083 | 54.5394 | 64.04 | 74.5 | 90.6 | 104.92
1920 | 32 | 32 | 26.6819 | 43.2324 | 54.6825 | 64.2 | 74.67 | 90.8 | 105.13
1935 | 32.25 | 32.25 | 26.7706 | 43.3558 | 54.8248 | 64.36 | 74.84 | 90.99 | 105.34
1950 | 32.5 | 32.5 | 26.8589 | 43.4787 | 54.9664 | 64.52 | 75.02 | 91.19 | 105.55
1965 | 32.75 | 32.75 | 26.9467 | 43.601 | 55.1072 | 64.67 | 75.19 | 91.38 | 105.76
1980 | 33 | 33 | 27.0342 | 43.7227 | 55.2474 | 64.83 | 75.36 | 91.57 | 105.96
1995 | 33.25 | 33.25 | 27.1213 | 43.8438 | 55.3868 | 64.99 | 75.53 | 91.76 | 106.17
2010 | 33.5 | 33.5 | 27.2081 | 43.9643 | 55.5256 | 65.14 | 75.7 | 91.95 | 106.37
2025 | 33.75 | 33.75 | 27.2944 | 44.0842 | 55.6636 | 65.29 | 75.87 | 92.14 | 106.57 | 6.72
2040 | 34 | 34 | 27.3804 | 44.2036 | 55.801 | 65.45 | 76.03 | 92.32 | 106.78
2055 | 34.25 | 34.25 | 27.4661 | 44.3225 | 55.9377 | 65.6 | 76.2 | 92.51 | 106.98
2070 | 34.5 | 34.5 | 27.5513 | 44.4408 | 56.0738 | 65.75 | 76.37 | 92.69 | 107.18
2085 | 34.75 | 34.75 | 27.6363 | 44.5585 | 56.2091 | 65.9 | 76.53 | 92.88 | 107.38
2100 | 35 | 35 | 27.7208 | 44.6757 | 56.3439 | 66.05 | 76.7 | 93.06 | 107.57
2115 | 35.25 | 35.25 | 27.8051 | 44.7924 | 56.478 | 66.2 | 76.86 | 93.24 | 107.77
2130 | 35.5 | 35.5 | 27.889 | 44.9085 | 56.6115 | 66.35 | 77.02 | 93.42 | 107.96
2145 | 35.75 | 35.75 | 27.9725 | 45.0242 | 56.7443 | 66.5 | 77.18 | 93.6 | 108.16
2160 | 36 | 36 | 28.0557 | 45.1393 | 56.8765 | 66.65 | 77.34 | 93.78 | 108.35
2175 | 36.25 | 36.25 | 28.1386 | 45.2539 | 57.0082 | 66.79 | 77.5 | 93.96 | 108.54
2190 | 36.5 | 36.5 | 28.2212 | 45.3681 | 57.1392 | 66.94 | 77.66 | 94.14 | 108.74
2205 | 36.75 | 36.75 | 28.3034 | 45.4817 | 57.2696 | 67.08 | 77.82 | 94.32 | 108.93
2220 | 37 | 37 | 28.3853 | 45.5948 | 57.3994 | 67.23 | 77.98 | 94.49 | 109.12
2235 | 37.25 | 37.25 | 28.4669 | 45.7075 | 57.5287 | 67.37 | 78.14 | 94.67 | 109.3
2250 | 37.5 | 37.5 | 28.5482 | 45.8197 | 57.6573 | 67.51 | 78.29 | 94.84 | 109.49
2265 | 37.75 | 37.75 | 28.6291 | 45.9314 | 57.7854 | 67.66 | 78.45 | 95.01 | 109.68
2280 | 38 | 38 | 28.7098 | 46.0426 | 57.913 | 67.8 | 78.6 | 95.19 | 109.87
2295 | 38.25 | 38.25 | 28.7902 | 46.1534 | 58.04 | 67.94 | 78.76 | 95.36 | 110.05
2310 | 38.5 | 38.5 | 28.8702 | 46.2637 | 58.1664 | 68.08 | 78.91 | 95.53 | 110.23
2325 | 38.75 | 38.75 | 28.95 | 46.3736 | 58.2923 | 68.22 | 79.06 | 95.7 | 110.42
2340 | 39 | 39 | 29.0295 | 46.483 | 58.4176 | 68.36 | 79.22 | 95.87 | 110.6
2355 | 39.25 | 39.25 | 29.1086 | 46.592 | 58.5424 | 68.5 | 79.37 | 96.03 | 110.78
2370 | 39.5 | 39.5 | 29.1875 | 46.7005 | 58.6667 | 68.64 | 79.52 | 96.2 | 110.96
2385 | 39.75 | 39.75 | 29.2661 | 46.8086 | 58.7905 | 68.78 | 79.67 | 96.37 | 111.14
2400 | 40 | 40 | 29.3444 | 46.9163 | 58.9137 | 68.91 | 79.82 | 96.54 | 111.32
2415 | 40.25 | 40.25 | 29.4225 | 47.0236 | 59.0364 | 69.05 | 79.97 | 96.7 | 111.5
2430 | 40.5 | 40.5 | 29.5002 | 47.1304 | 59.1586 | 69.18 | 80.11 | 96.86 | 111.67
2445 | 40.75 | 40.75 | 29.5777 | 47.2368 | 59.2804 | 69.32 | 80.26 | 97.03 | 111.85
2460 | 41 | 41 | 29.6549 | 47.3428 | 59.4016 | 69.46 | 80.41 | 97.19 | 112.03
2475 | 41.25 | 41.25 | 29.7319 | 47.4484 | 59.5223 | 69.59 | 80.56 | 97.35 | 112.2
2490 | 41.5 | 41.5 | 29.8085 | 47.5536 | 59.6426 | 69.72 | 80.7 | 97.52 | 112.38
2505 | 41.75 | 41.75 | 29.8849 | 47.6583 | 59.7623 | 69.86 | 80.85 | 97.68 | 112.55
2520 | 42 | 42 | 29.9611 | 47.7627 | 59.8816 | 69.99 | 80.99 | 97.84 | 112.72
2535 | 42.25 | 42.25 | 30.037 | 47.8667 | 60.0004 | 70.12 | 81.13 | 98 | 112.89
2550 | 42.5 | 42.5 | 30.1126 | 47.9703 | 60.1188 | 70.25 | 81.28 | 98.16 | 113.06
2565 | 42.75 | 42.75 | 30.188 | 48.0735 | 60.2367 | 70.38 | 81.42 | 98.31 | 113.23
2580 | 43 | 43 | 30.2631 | 48.1764 | 60.3541 | 70.51 | 81.56 | 98.47 | 113.4
2595 | 43.25 | 43.25 | 30.338 | 48.2788 | 60.4711 | 70.64 | 81.7 | 98.63 | 113.57
2610 | 43.5 | 43.5 | 30.4126 | 48.3809 | 60.5876 | 70.77 | 81.84 | 98.78 | 113.74
2625 | 43.75 | 43.75 | 30.487 | 48.4826 | 60.7037 | 70.9 | 81.98 | 98.94 | 113.91
2640 | 44 | 44 | 30.5611 | 48.584 | 60.8193 | 71.03 | 82.12 | 99.09 | 114.07
2655 | 44.25 | 44.25 | 30.635 | 48.685 | 60.9345 | 71.16 | 82.26 | 99.25 | 114.24
2670 | 44.5 | 44.5 | 30.7087 | 48.7856 | 61.0493 | 71.29 | 82.4 | 99.4 | 114.4
2685 | 44.75 | 44.75 | 30.7821 | 48.8858 | 61.1636 | 71.41 | 82.54 | 99.56 | 114.57
2700 | 45 | 45 | 30.8553 | 48.9857 | 61.2775 | 71.54 | 82.68 | 99.71 | 114.73
2715 | 45.25 | 45.25 | 30.9282 | 49.0853 | 61.391 | 71.66 | 82.81 | 99.86 | 114.9 | 9.18
2730 | 45.5 | 45.5 | 31.001 | 49.1845 | 61.5041 | 71.79 | 82.95 | 100.01 | 115.06 | 39.78
2745 | 45.75 | 45.75 | 31.0734 | 49.2834 | 61.6168 | 71.91 | 83.09 | 100.16 | 115.22
2760 | 46 | 46 | 31.1457 | 49.3819 | 61.729 | 72.04 | 83.22 | 100.31 | 115.38
2775 | 46.25 | 46.25 | 31.2177 | 49.4801 | 61.8409 | 72.16 | 83.36 | 100.46 | 115.54
2790 | 46.5 | 46.5 | 31.2896 | 49.5779 | 61.9523 | 72.29 | 83.49 | 100.61 | 115.7
2805 | 46.75 | 46.75 | 31.3612 | 49.6754 | 62.0634 | 72.41 | 83.62 | 100.76 | 115.86
2820 | 47 | 47 | 31.4325 | 49.7726 | 62.174 | 72.53 | 83.76 | 100.91 | 116.02
2835 | 47.25 | 47.25 | 31.5037 | 49.8695 | 62.2843 | 72.66 | 83.89 | 101.05 | 116.18
2850 | 47.5 | 47.5 | 31.5746 | 49.966 | 62.3942 | 72.78 | 84.02 | 101.2 | 116.33
2865 | 47.75 | 47.75 | 31.6454 | 50.0622 | 62.5037 | 72.9 | 84.16 | 101.34 | 116.49
2880 | 48 | 48 | 31.7159 | 50.1581 | 62.6128 | 73.02 | 84.29 | 101.49 | 116.65

## WS3-Figure 4
T (years) | Retention (%)
1.01 | 34
61 | 10.7
1.45 | 30
1.01 | 21.5
1.01 | 35
1 | 61
1.19 | 99.34

## WS4-Figure 5a
RFD (mm) | RET(%)
17.4 | 34
84 | 10.7
20 | 30
24.2 | 21.5
5 | 35
3.5 | 61
2.04 | 99.34
5.1 | 92.44
11.22 | 100
1.02 | 100
5.1 | 97.15
3.06 | 95.36
2.04 | 99.67
5.1 | 85.95
4.08 | 90.56
4.08 | 85.09
1.02 | 99.34
4.08 | 92.71
4.08 | 99.75
12.24 | 84.48
39.78 | 25.89
4.08 | 68.35
1.02 | 100
11.22 | 91.2
2.04 | 3.57
9.18 | 11.04
7.14 | 5.84
2.04 | 71
2.04 | 15.83
5.1 | 29.29

## WS5-Fig 5b
RD(hrs) | RET(%)
10 | 34
22 | 10.7
6 | 30
21 | 21.5
0.5 | 35
0.25 | 61
6.77 | 99.34
24.3 | 92.44
6.87 | 100
0.17 | 100
8.62 | 97.15
7.8 | 95.36
0.32 | 99.67
5.88 | 85.95
1.02 | 90.56
1.8 | 85.09
0.17 | 99.34
4.17 | 92.71
4.68 | 99.75
13.55 | 84.48
45.4 | 25.89
17.85 | 68.35
0.17 | 100
14.5 | 91.2
0.68 | 3.57
44.37 | 11.04
33.75 | 5.84
1.55 | 71
0.86 | 15.83
11.78 | 29.29

## WS6-Fig 5c
RFMI (mm/hr) | RET(%)
1.74 | 34
3.8182 | 10.7
3.3333 | 30
1.1524 | 21.5
10 | 35
14 | 61
0.30133 | 99.34
0.20988 | 92.44
1.6332 | 100
6 | 100
0.59165 | 97.15
0.39231 | 95.36
6.375 | 99.67
0.86735 | 85.95
4 | 90.56
2.2667 | 85.09
6 | 99.34
0.97842 | 92.71
0.87179 | 99.75
0.90332 | 84.48
0.87621 | 25.89
0.22857 | 68.35
6 | 100
0.77379 | 91.2
3 | 3.57
0.2069 | 11.04
0.21156 | 5.84
1.3161 | 71
2.3721 | 15.83
0.43294 | 29.29

## WS7-Fig 5d
RFPI(mm/hr) | RET(%)
2.8 | 34
15.2 | 10.7
12 | 30
1.8 | 21.5
10 | 35
14 | 61
1.02 | 99.34
2.04 | 92.44
6.12 | 100
6 | 100
2.04 | 97.15
1.02 | 95.36
6 | 99.67
2.04 | 85.95
2.04 | 90.56
7 | 85.09
12 | 99.34
2.04 | 92.71
2.04 | 99.75
7.14 | 84.48
9.18 | 25.89
1.02 | 68.35
12 | 100
2.04 | 91.2
9 | 3.57
2.04 | 11.04
2.04 | 5.84
4 | 71
5 | 15.83
1.02 | 29.29

## WS8-Fig 5e
ADWP (hrs) | RET(%)
45 | 34
19 | 10.7
22 | 30
21 | 21.5
17 | 35
22 | 61
12.38 | 92.44
99.38 | 100
60.5 | 100
15.76 | 97.15
368.6 | 95.36
13.52 | 99.67
114.18 | 85.95
25.23 | 90.56
18.43 | 85.09
112.37 | 99.34
14.8 | 92.71
102.23 | 99.75
489.2 | 84.48
97.93 | 25.89
44.02 | 68.35
65.72 | 100
40.02 | 91.2
12.42 | 3.57
66.25 | 11.04
76.23 | 5.84
52.55 | 71
10.97 | 15.83
19.68 | 29.29

## WS9-Tab 3_Fig 6
Date | Total rainfall (mm) | Total runoff (mm) | Lag1 (min) | Lag2 (min) | Retention depth R (mm) | Retention PR %
2012-06-30 | 17.4 | 11.4 | 60 | 60 | 6 | 34
2012-07-06 | 84 | 75 | 240 | 180 | 9 | 10.7
2012-07-07 | 20 | 14 | 120 | 60 | 6 | 30
2012-07-09 | 24.2 | 19 | 60 | 0 | 5.2 | 21.5
2012-08-03 | 5 | 3.23 | 0 | 0 | 1.77 | 35
2012-08-04 | 3.5 | 1.36 | 60 | 0 | 2.14 | 61
2013-04-12 | 2.04 | 0.01 | 403 | 420 | 2.03 | 99.34
2013-04-12 | 5.1 | 0.39 | 20 | 1500 | 4.71 | 92.44
2013-04-17 | 11.22 | 0 | 146 | 120 | 11.22 | 100
2013-05-23 | 1.02 | 0 | _ | _ | 1.02 | 100
2013-05-24 | 5.1 | 0.15 | 11 | 180 | 4.95 | 97.15
2013-06-14 | 3.06 | 0.14 | 139 | 240 | 2.92 | 95.36
2013-06-15 | 2.04 | 0.01 | 709 | 720 | 2.03 | 99.67
2013-06-20 | 5.1 | 0.72 | 53 | 120 | 4.38 | 85.95
2013-06-22 | 4.08 | 0.39 | 26 | 60 | 3.69 | 90.56
2013-06-22 | 4.08 | 0.61 | 7 | 60 | 3.47 | 85.09
2013-06-27 | 1.02 | 0.01 | 130 | 180 | 1.01 | 99.34
2013-06-28 | 4.08 | 0.3 | 114 | 120 | 3.78 | 92.71
2013-07-02 | 4.08 | 0.01 | 209 | 0 | 4.07 | 99.75
2013-07-23 | 12.24 | 1.9 | 8 | 60 | 10.34 | 84.48
2013-07-27 | 39.78 | 29.48 | 53 | 60 | 10.3 | 25.9
2013-07-31 | 4.08 | 1.29 | 8 | 240 | 2.79 | 68.35
2013-08-03 | 1.02 | 0 | 37 | 60 | 1.02 | 100
2013-08-04 | 11.22 | 0.99 | 38 | 780 | 10.23 | 91.2
2014-01-19 | 2.04 | 1.97 | 0 | 60 | 0.07 | 3.57
2014-01-21 | 9.18 | 8.17 | 15 | 60 | 1.01 | 11.04
2014-01-31 | 7.14 | 6.72 | 3 | 120 | 0.42 | 5.84
2014-02-04 | 2.04 | 0.59 | 35 | 120 | 1.45 | 71
2014-02-08 | 2.04 | 1.72 | 1 | 60 | 0.32 | 15.83
8-9 Feb 2014 | 5.1 | 3.61 | 43 | 600 | 1.49 | 29.29

## WS10-Fig 8
Spring | Summer | Winter |  | Summer | Winter
99.34 | 34 | 3.57 | Q1 | 35 | 7.14
92.44 | 10.7 | 11.04 | Min | 10.7 | 3.57
100 | 30 | 5.84 | Median | 85.95 | 13.435
| 21.5 | 71 | Max | 100 | 71
| 35 | 15.83 | Q3 | 97.15 | 25.925
| 61 | 29.29
100
97.15
95.36
99.67
85.95
90.56
85.09
99.34
92.71
99.75
84.48
25.89
68.35
100
91.2

## WS11-Fig 9
12-13 Jan 2014
Time (Interval) | Rainfall (mm) | Conventional roof runoff (mm/hr) | Green roof runoff (mm/hr)
17:05 | 0 | 0 | 0
17:10 | 0 | 0 | 0
17:15 | 0 | 0 | 0
17:20 | 0 | 0 | 0.04056
17:25 | 0 | 0 | 0
17:30 | 0 | 0 | 0.04056
17:35 | 0 | 0 | 0
17:40 | 0 | 0 | 0
17:45 | 0 | 0 | 0
17:50 | 0 | 0 | 0.04056
17:55 | 0 | 0 | 0
18:00 | 0 | 0 | 0.04056
18:05 | 0 | 0 | 0
18:10 | 0 | 0 | 0
18:15 | 0 | 0 | 0
18:20 | 0 | 0 | 0.04056
18:25 | 0 | 0 | 0.04056
18:30 | 0 | 0 | 0
18:35 | 0 | 0 | 0
18:40 | 0 | 0.0261 | 0.04056
18:45 | 0 | 0 | 0.04056
18:50 | 1.02 | 0.0783 | 0.04056
18:55 | 0 | 0.8613 | 0.12168
19:00 | 0 | 1.6834 | 0.16224
19:05 | 0 | 1.2919 | 0.28392
19:10 | 0 | 0.9657 | 0.32448
19:15 | 0 | 0.7308 | 0.36504
19:20 | 1.02 | 0.7047 | 0.36504
19:25 | 0 | 0.7308 | 0.4056
19:30 | 0 | 0.8874 | 0.44616
19:35 | 0 | 0.9657 | 0.48672
19:40 | 0 | 0.9657 | 0.56784
19:45 | 1.02 | 0.8613 | 0.56784
19:50 | 0 | 0.9918 | 0.56784
19:55 | 0 | 1.1223 | 0.6084
20:00 | 0 | 0.9396 | 0.68952
20:05 | 0 | 1.1484 | 0.68952
20:10 | 0 | 1.044 | 0.73008
20:15 | 0 | 0.7569 | 0.73008
20:20 | 0 | 0.6003 | 0.68952
20:25 | 0 | 0.5481 | 0.64896
20:30 | 1.02 | 0.6003 | 0.64896
20:35 | 0 | 0.6264 | 0.68952
20:40 | 0 | 0.6264 | 0.68952
20:45 | 0 | 0.6003 | 0.64896
20:50 | 0 | 0.8352 | 0.68952
20:55 | 1.02 | 1.0701 | 0.77064
21:00 | 0 | 1.2267 | 0.8112
21:05 | 0 | 1.305 | 0.85176
21:10 | 0 | 1.5399 | 0.93288
21:15 | 1.02 | 1.6704 | 0.97344
21:20 | 0 | 1.6182 | 1.1357
21:25 | 0 | 1.3833 | 1.1357
21:30 | 0 | 0.9657 | 1.1762
21:35 | 0 | 0.6264 | 1.0951
21:40 | 0 | 0.4176 | 1.0546
21:45 | 0 | 0.3393 | 0.93288
21:50 | 0 | 0.3915 | 0.89232
21:55 | 1.02 | 0.4959 | 0.85176
22:00 | 0 | 0.8613 | 0.93288
22:05 | 0 | 0.9135 | 0.97344
22:10 | 0 | 0.7047 | 0.97344
22:15 | 0 | 0.5742 | 0.93288
22:20 | 0 | 0.522 | 0.89232
22:25 | 0 | 0.4698 | 0.89232
22:30 | 0 | 0.4698 | 0.85176
22:35 | 0 | 0.8352 | 0.85176
22:40 | 0 | 1.0701 | 0.97344
22:45 | 1.02 | 1.2006 | 1.0546
22:50 | 0 | 1.0962 | 1.1357
22:55 | 0 | 1.044 | 1.1357
23:00 | 0 | 1.0701 | 1.2168
23:05 | 0 | 0.9918 | 1.2979
23:10 | 0 | 0.8613 | 1.2979
23:15 | 0 | 0.7047 | 1.2979
23:20 | 0 | 0.5742 | 1.2979
23:25 | 1.02 | 0.6264 | 1.2168
23:30 | 0 | 0.7569 | 1.2168
23:35 | 0 | 0.6003 | 1.2979
23:40 | 0 | 0.4437 | 1.1762
23:45 | 0 | 0.2871 | 1.1357
23:50 | 0 | 0.2349 | 1.0546
23:55 | 0 | 0.1827 | 0.97344
24:00 | 0 | 0.1566 | 0.93288
24:05 | 0 | 0.1566 | 0.89232
24:10 | 0 | 0.1305 | 0.85176
24:15 | 0 | 0.1305 | 0.77064
24:20 | 0 | 0.1044 | 0.8112
24:25 | 0 | 0.1044 | 0.73008
24:30 | 0 | 0.0783 | 0.68952
24:35 | 0 | 0.0783 | 0.64896
24:40 | 0 | 0.0783 | 0.64896
24:45 | 0 | 0.0522 | 0.64896
24:50 | 0 | 0.0522 | 0.6084
24:55 | 0 | 0.0522 | 0.56784
25:00 | 0 | 0.0522 | 0.56784
25:05 | 0 | 0.0522 | 0.56784
25:10 | 0 | 0.0522 | 0.52728
25:15 | 0 | 0.0522 | 0.52728
25:20 | 0 | 0.0261 | 0.52728
25:25 | 0 | 0.0522 | 0.48672
25:30 | 0 | 0.0261 | 0.48672
25:35 | 0 | 0.0522 | 0.44616
25:40 | 0 | 0.0261 | 0.48672
25:45 | 0 | 0.0261 | 0.44616
25:50 | 0 | 0.0261 | 0.44616
25:55 | 0 | 0.0261 | 0.44616
26:00 | 0 | 0.0261 | 0.4056
26:05 | 0 | 0.0261 | 0.4056
26:10 | 0 | 0.0261 | 0.4056
26:15 | 0 | 0.0261 | 0.4056
26:20 | 0 | 0.0261 | 0.4056
26:25 | 0 | 0.0261 | 0.36504
26:30 | 0 | 0 | 0.4056
26:35 | 0 | 0.0261 | 0.36504
26:40 | 0 | 0.0261 | 0.36504
26:45 | 0 | 0.0261 | 0.36504
26:50 | 0 | 0.0261 | 0.36504
26:55 | 0 | 0 | 0.32448
27:00 | 0 | 0.0261 | 0.36504
27:05 | 0 | 0 | 0.32448
27:10 | 0 | 0.0261 | 0.36504
27:15 | 0 | 0 | 0.32448
27:20 | 0 | 0.0261 | 0.32448
27:25 | 0 | 0.0261 | 0.32448
27:30 | 0 | 0 | 0.32448
27:35 | 0 | 0.0261 | 0.32448
27:40 | 0 | 0 | 0.32448
27:45 | 0 | 0.0261 | 0.28392
27:50 | 0 | 0 | 0.28392
27:55 | 0 | 0.0261 | 0.32448
28:00 | 0 | 0.0261 | 0.32448
28:05 | 0 | 0 | 0.28392
28:10 | 0 | 0 | 0.28392
28:15 | 0 | 0.0261 | 0.28392
28:20 | 0 | 0 | 0.28392
28:25 | 0 | 0.0261 | 0.28392
28:30 | 0 | 0 | 0.28392
28:35 | 0 | 0.0261 | 0.28392
28:40 | 0 | 0 | 0.28392
28:45 | 0 | 0 | 0.24336
28:50 | 0 | 0.0261 | 0.28392
28:55 | 0 | 0 | 0.24336
29:00 | 0 | 0 | 0.28392
29:05 | 0 | 0 | 0.24336
29:10 | 0 | 0.0261 | 0.24336
29:15 | 0 | 0 | 0.28392
29:20 | 0 | 0 | 0.24336
29:25 | 0 | 0 | 0.24336
29:30 | 0 | 0 | 0.24336
29:35 | 0 | 0.0261 | 0.24336
29:40 | 0 | 0 | 0.24336
29:45 | 0 | 0 | 0.24336
29:50 | 0 | 0 | 0.24336
29:55 | 0 | 0 | 0.24336
30:00 | 0 | 0 | 0.2028
30:05 | 0 | 0 | 0.24336
30:10 | 0 | 0 | 0.24336
30:15 | 0 | 0 | 0.24336
30:20 | 0 | 0 | 0.2028
30:25 | 0 | 0 | 0.2028
30:30 | 0 | 0.0261 | 0.24336
30:35 | 0 | 0 | 0.2028
30:40 | 0 | 0 | 0.2028
30:45 | 0 | 0 | 0.24336
30:50 | 0 | 0 | 0.2028
30:55 | 0 | 0 | 0.2028
31:00 | 0 | 0 | 0.24336
31:05 | 0 | 0 | 0.16224
31:10 | 0 | 0 | 0.24336
31:15 | 0 | 0 | 0.2028
31:20 | 0 | 0 | 0.2028
31:25 | 0 | 0 | 0.2028
31:30 | 0 | 0 | 0.2028
31:35 | 0 | 0.0261 | 0.2028
31:40 | 0 | 0 | 0.2028
31:45 | 0 | 0 | 0.16224
31:50 | 0 | 0 | 0.24336
31:55 | 0 | 0 | 0.16224
32:00 | 0 | 0 | 0.2028
32:05 | 0 | 0 | 0.2028
32:10 | 0 | 0 | 0.16224
32:15 | 0 | 0 | 0.2028
32:20 | 0 | 0 | 0.2028
32:25 | 0 | 0 | 0.16224
32:30 | 0 | 0 | 0.2028
32:35 | 0 | 0 | 0.16224
32:40 | 0 | 0 | 0.2028
32:45 | 0 | 0 | 0.16224
32:50 | 0 | 0 | 0.2028
32:55 | 0 | 0 | 0.16224
33:00 | 0 | 0 | 0.16224
33:05 | 0 | 0.0261 | 0.2028
33:10 | 0 | 0 | 0.16224
33:15 | 0 | 0 | 0.16224
33:20 | 0 | 0 | 0.16224
33:25 | 0 | 0 | 0.16224
33:30 | 0 | 0 | 0.2028
33:35 | 0 | 0 | 0.16224
33:40 | 0 | 0 | 0.16224
33:45 | 0 | 0 | 0.16224
33:50 | 0 | 0 | 0.16224
33:55 | 0 | 0 | 0.2028
34:00 | 0 | 0 | 0.16224
34:05 | 0 | 0 | 0.16224
34:10 | 0 | 0 | 0.16224
34:15 | 0 | 0 | 0.16224
34:20 | 0 | 0 | 0.16224
34:25 | 0 | 0 | 0.16224
34:30 | 0 | 0 | 0.16224
34:35 | 0 | 0 | 0.16224
34:40 | 0 | 0 | 0.16224
34:45 | 0 | 0 | 0.16224
34:50 | 0 | 0.0261 | 0.16224
34:55 | 0 | 0 | 0.16224
35:00 | 0 | 0 | 0.16224
35:05 | 0 | 0 | 0.16224
35:10 | 0 | 0 | 0.12168
35:15 | 0 | 0 | 0.16224
35:20 | 0 | 0 | 0.16224
35:25 | 0 | 0 | 0.16224
35:30 | 0 | 0 | 0.16224
35:35 | 0 | 0 | 0.12168
35:40 | 0 | 0.0261 | 0.16224
35:45 | 0 | 0 | 0.16224
35:50 | 0 | 0 | 0.16224
35:55 | 0 | 0.0261 | 0.16224
36:00 | 0 | 0.0522 | 0.12168

## WS12-Fig 10
14th-15th January 2014
Time (Interval) | Rainfall (mm) | Conventional roof runoff (mm/hour) | Green roof runoff (mm/hour)
20:00 | 0 | 0 | 0.04056
20:05 | 0 | 0 | 0.04056
20:10 | 0 | 0 | 0.04056
20:15 | 0 | 0 | 0.04056
20:20 | 0 | 0 | 0.08112
20:25 | 0 | 0 | 0.04056
20:30 | 0 | 0 | 0.04056
20:35 | 0 | 0 | 0.08112
20:40 | 0 | 0 | 0.08112
20:45 | 0 | 0 | 0.04056
20:50 | 0 | 0.0261 | 0.08112
20:55 | 0 | 0 | 0.08112
21:00 | 0 | 0 | 0.04056
21:05 | 0 | 0 | 0.08112
21:10 | 0 | 0.0261 | 0.12168
21:15 | 0 | 0.0261 | 0.08112
21:20 | 0 | 0.0261 | 0.12168
21:25 | 0 | 0.0783 | 0.12168
21:30 | 0 | 0.0783 | 0.16224
21:35 | 1.02 | 0.1305 | 0.12168
21:40 | 0 | 0.1827 | 0.16224
21:45 | 0 | 0.261 | 0.16224
21:50 | 0 | 0.3132 | 0.2028
21:55 | 0 | 0.2871 | 0.2028
22:00 | 0 | 0.261 | 0.16224
22:05 | 0 | 0.2349 | 0.2028
22:10 | 0 | 0.2088 | 0.2028
22:15 | 0 | 0.2088 | 0.16224
22:20 | 0 | 0.1566 | 0.2028
22:25 | 0 | 0.1566 | 0.16224
22:30 | 0 | 0.1305 | 0.2028
22:35 | 0 | 0.1044 | 0.16224
22:40 | 0 | 0.1305 | 0.16224
22:45 | 0 | 0.1044 | 0.16224
22:50 | 0 | 0.1044 | 0.12168
22:55 | 0 | 0.1044 | 0.16224
23:00 | 0 | 0.0783 | 0.16224
23:05 | 0 | 0.1044 | 0.12168
23:10 | 0 | 0.1044 | 0.16224
23:15 | 0 | 0.0783 | 0.16224
23:20 | 0 | 0.1305 | 0.16224
23:25 | 0 | 0.1566 | 0.16224
23:30 | 0 | 0.2088 | 0.2028
23:35 | 0 | 0.2871 | 0.2028
23:40 | 0 | 0.2871 | 0.24336
23:45 | 0 | 0.3393 | 0.24336
23:50 | 1.02 | 0.3915 | 0.24336
23:55 | 0 | 0.5742 | 0.24336
24:00 | 0 | 0.6786 | 0.32448
24:05 | 0 | 0.6786 | 0.32448
24:10 | 0 | 0.6003 | 0.36504
24:15 | 0 | 0.4176 | 0.36504
24:20 | 0 | 0.3132 | 0.32448
24:25 | 0 | 0.261 | 0.32448
24:30 | 0 | 0.2088 | 0.32448
24:35 | 0 | 0.2088 | 0.32448
24:40 | 0 | 0.1566 | 0.28392
24:45 | 0 | 0.1305 | 0.28392
24:50 | 0 | 0.1305 | 0.24336
24:55 | 0 | 0.1044 | 0.24336
25:00 | 0 | 0.1044 | 0.24336
25:05 | 0 | 0.0783 | 0.24336
25:10 | 0 | 0.0783 | 0.24336
25:15 | 0 | 0.0783 | 0.2028
25:20 | 0 | 0.0522 | 0.2028
25:25 | 0 | 0.0522 | 0.2028
25:30 | 0 | 0.0522 | 0.2028
25:35 | 0 | 0.0522 | 0.16224
25:40 | 0 | 0.0522 | 0.2028
25:45 | 0 | 0.0522 | 0.2028
25:50 | 0 | 0.0261 | 0.16224
25:55 | 0 | 0.0522 | 0.16224
26:00 | 0 | 0.0261 | 0.16224
26:05 | 0 | 0.0522 | 0.16224
26:10 | 0 | 0.0261 | 0.16224
26:15 | 0 | 0.0261 | 0.16224
26:20 | 0 | 0.0522 | 0.16224
26:25 | 0 | 0.0522 | 0.16224
26:30 | 0 | 0.0261 | 0.16224
26:35 | 0 | 0.0261 | 0.12168
26:40 | 0 | 0.0261 | 0.16224
26:45 | 0 | 0.0261 | 0.12168
26:50 | 0 | 0.0261 | 0.16224
26:55 | 0 | 0.0261 | 0.12168
27:00 | 0 | 0.0261 | 0.12168
27:05 | 0 | 0.0261 | 0.16224
27:10 | 0 | 0 | 0.12168
27:15 | 0 | 0.0261 | 0.12168
27:20 | 0 | 0.0261 | 0.16224
27:25 | 0 | 0.0261 | 0.08112
27:30 | 0 | 0 | 0.16224
27:35 | 0 | 0.0261 | 0.08112
27:40 | 0 | 0.0261 | 0.16224
27:45 | 0 | 0 | 0.08112
27:50 | 0 | 0.0261 | 0.16224
27:55 | 0 | 0.0261 | 0.08112
28:00 | 0 | 0.0522 | 0.16224
28:05 | 0 | 0.0783 | 0.16224
28:10 | 0 | 0.0783 | 0.16224
28:15 | 0 | 0.1305 | 0.2028
28:20 | 0 | 0.2088 | 0.2028
28:25 | 0 | 0.2871 | 0.24336
28:30 | 0 | 0.3132 | 0.24336
28:35 | 0 | 0.3393 | 0.24336
28:40 | 1.02 | 0.3393 | 0.24336
28:45 | 0 | 0.4176 | 0.24336
28:50 | 0 | 0.5481 | 0.28392
28:55 | 0 | 0.6003 | 0.32448
29:00 | 0 | 0.6003 | 0.36504
29:05 | 0 | 0.522 | 0.32448
29:10 | 0 | 0.522 | 0.4056
29:15 | 0 | 0.4959 | 0.36504
29:20 | 0 | 0.4437 | 0.4056
29:25 | 0 | 0.4437 | 0.36504
29:30 | 1.02 | 0.522 | 0.4056
29:35 | 0 | 0.5742 | 0.4056
29:40 | 0 | 0.6003 | 0.44616
29:45 | 0 | 0.5742 | 0.44616
29:50 | 0 | 0.4959 | 0.48672
29:55 | 0 | 0.4437 | 0.44616
30:00 | 0 | 0.3654 | 0.44616
30:05 | 0 | 0.2871 | 0.4056
30:10 | 0 | 0.3132 | 0.4056
30:15 | 0 | 0.3393 | 0.44616
30:20 | 0 | 0.3654 | 0.44616
30:25 | 0 | 0.3393 | 0.4056
30:30 | 0 | 0.261 | 0.4056
30:35 | 0 | 0.261 | 0.4056
30:40 | 0 | 0.2349 | 0.4056
30:45 | 0 | 0.1827 | 0.36504
30:50 | 0 | 0.1566 | 0.36504
30:55 | 0 | 0.1566 | 0.32448
31:00 | 0 | 0.1305 | 0.36504
31:05 | 0 | 0.1044 | 0.32448
31:10 | 0 | 0.0783 | 0.28392
31:15 | 0 | 0.1044 | 0.32448
31:20 | 0 | 0.0783 | 0.28392
31:25 | 0 | 0.0783 | 0.28392
31:30 | 0 | 0.0522 | 0.28392
31:35 | 0 | 0.0522 | 0.28392
31:40 | 0 | 0.0522 | 0.24336
31:45 | 0 | 0.0522 | 0.24336
31:50 | 0 | 0.0522 | 0.28392
31:55 | 0 | 0.0522 | 0.24336
32:00 | 0 | 0.0261 | 0.24336
32:05 | 0 | 0.0522 | 0.24336
32:10 | 0 | 0.0261 | 0.24336
32:15 | 0 | 0.0522 | 0.2028
32:20 | 0 | 0.0261 | 0.24336
32:25 | 0 | 0.0261 | 0.24336
32:30 | 0 | 0.0522 | 0.2028
32:35 | 0 | 0.0261 | 0.24336
32:40 | 0 | 0.0261 | 0.2028
32:45 | 0 | 0.0261 | 0.2028
32:50 | 0 | 0.0261 | 0.2028
32:55 | 0 | 0.0261 | 0.24336
33:00 | 0 | 0.0261 | 0.16224
33:05 | 0 | 0.0261 | 0.24336
33:10 | 0 | 0.0261 | 0.16224
33:15 | 0 | 0.0261 | 0.2028
33:20 | 0 | 0.0261 | 0.2028
33:25 | 0 | 0.0261 | 0.2028
33:30 | 0 | 0.0261 | 0.2028
33:35 | 0 | 0.0261 | 0.16224
33:40 | 0 | 0 | 0.2028
33:45 | 0 | 0.0261 | 0.16224
33:50 | 0 | 0.0261 | 0.2028
33:55 | 0 | 0.0261 | 0.16224
34:00 | 0 | 0 | 0.2028
34:05 | 0 | 0.0261 | 0.16224
34:10 | 0 | 0.0261 | 0.2028
34:15 | 0 | 0 | 0.16224
34:20 | 0 | 0.0261 | 0.16224
34:25 | 0 | 0 | 0.16224
34:30 | 0 | 0.0261 | 0.2028
34:35 | 0 | 0 | 0.16224
34:40 | 0 | 0.0261 | 0.16224
34:45 | 0 | 0 | 0.2028
34:50 | 0 | 0.0261 | 0.16224
34:55 | 0 | 0 | 0.16224
35:00 | 0 | 0.0261 | 0.16224
35:05 | 0 | 0 | 0.16224
35:10 | 0 | 0.0261 | 0.16224
35:15 | 0 | 0 | 0.16224
35:20 | 0 | 0 | 0.16224
35:25 | 0 | 0.0261 | 0.16224
35:30 | 0 | 0 | 0.16224
35:35 | 0 | 0 | 0.16224
35:40 | 0 | 0.0261 | 0.16224
35:45 | 0 | 0 | 0.12168
35:50 | 0 | 0 | 0.16224
35:55 | 0 | 0.0261 | 0.16224
36:00 | 0 | 0 | 0.12168
36:05 | 0 | 0 | 0.16224
36:10 | 0 | 0 | 0.16224
36:15 | 0 | 0.0261 | 0.16224
36:20 | 0 | 0 | 0.16224
36:25 | 0 | 0 | 0.12168
36:30 | 0 | 0 | 0.12168
36:35 | 0 | 0 | 0.16224
36:40 | 0 | 0.0261 | 0.16224
36:45 | 0 | 0 | 0.12168
36:50 | 0 | 0 | 0.16224
36:55 | 0 | 0 | 0.12168
37:00 | 0 | 0 | 0.16224

## WS13-Tab A1
Date | Season | Rainfall duration (hours) | Total Rainfall (mm) | Rainfall intensity (mm/h) | Peak hourly rainfall rate (mm/h) | Duration of antecedent dry weather period (hours) | Rainfall Return Period (years)
2012-06-30 | Summer | 10 | 17.4 | 1.74 | 2.8 | 45.12 | 1.01
2012-07-06 | Summer | 22 | 84 | 3.82 | 15.2 | 19.03 | 61
2012-07-07 | Summer | 6 | 20 | 3.33 | 12.03 | 22.09 | 1.45
2012-07-09 | Summer | 21 | 24.2 | 1.15 | 1.81 | 21.42 | 1.01
2012-08-03 | Summer | 0.5 | 5 | 10 | 10.1 | 17.21 | 1.01
2012-08-04 | Summer | 0.25 | 3.5 | 14 | 14.07 | 22.16 | 1
2013-04-12 | Spring | 6.77 | 2.04 | 0.3 | 1.02 | 442.38 | <1
2013-04-12 | Spring | 24.3 | 5.1 | 0.21 | 2.04 | 12.38 | <1
2013-04-17 | Spring | 6.87 | 11.22 | 1.63 | 6.12 | 99.38 | <1
2013-05-23 | Spring | 0.17 | 1.02 | 6.14 | 6.04 | 60.5 | <1
2013-05-24 | Spring | 8.62 | 5.1 | 0.59 | 2.04 | 15.76 | <1
2013-06-14 | Summer | 7.8 | 3.06 | 0.39 | 1.02 | 368.6 | <1
2013-06-15 | Summer | 0.32 | 2.04 | 6.46 | 6.09 | 13.52 | <1
2013-06-20 | Summer | 5.88 | 5.1 | 0.87 | 2.04 | 114.18 | <1
2013-06-22 | Summer | 1.02 | 4.08 | 4.02 | 2.04 | 25.23 | <1
2013-06-22 | Summer | 1.8 | 4.08 | 2.27 | 7.01 | 18.43 | <1
2013-06-27 | Summer | 0.17 | 1.02 | 6.14 | 12.06 | 112.37 | <1
2013-06-28 | Summer | 4.17 | 4.08 | 0.98 | 2.04 | 14.8 | <1
2013-07-02 | Summer | 4.68 | 4.08 | 0.87 | 2.04 | 102.23 | <1
2013-07-23 | Summer | 13.55 | 12.24 | 0.9 | 7.14 | 489.2 | <1
2013-07-27 | Summer | 45.4 | 39.78 | 0.88 | 9.18 | 97.93 | 1.19
2013-07-31 | Summer | 17.85 | 4.08 | 0.23 | 1.02 | 44.02 | <1
2013-08-03 | Summer | 0.17 | 1.02 | 6.14 | 12.09 | 65.72 | <1
2013-08-04 | Summer | 14.5 | 11.22 | 0.77 | 2.04 | 40.02 | <1
2014-01-19 | Winter | 0.68 | 2.04 | 3 | 9.02 | 12.42 | <1
2014-01-21 | Winter | 44.37 | 9.18 | 0.21 | 2.04 | 66.25 | <1
2014-01-31 | Winter | 33.75 | 7.14 | 0.21 | 2.04 | 76.23 | <1
2014-02-04 | Winter | 1.55 | 2.04 | 1.32 | 4.11 | 52.55 | <1
2014-02-08 | Winter | 0.86 | 2.04 | 2.37 | 5.03 | 10.97 | <1
8-9 Feb 2014 | Winter | 11.78 | 5.1 | 0.43 | 1.02 | 19.68 | <1