## Sheet 1
|  |  | uncertainty | pipette | 10000000 | um^3 | [12 empty] | neff | 0.1
|  |  |  | pipette | 100000000 | um^3 | [11 empty] | uncertainty | lambda | 0.53 | um
Size/mm | Sample | Volume_pip/uL | d expected/um | l expected/um | d uc/um | l uc/um | V/um^3 | V uc/um^3 | V/2dL expected/um | V/2dl uc/um | A/um^2 | A uc/um^2 | Eps/arb | Eps uc/arb | theta/rad | theta uc/rad | h(0)/um | h(0) uc/um | m | h_meas/um | h_meas uc/um | radius/um | radius uc/um | frac diff/arb | frac diff uc/ arb
6x6 | 1a | 0.5 | 3000 | 6000 | 54.9199 | 54.9199 | 500000000 | 10000000 | 13.8889 | 0.39745 | 83333.3333 | 1832.9227 | 0.0092593 | 0.00039548 | 0.013889 | 0.00059319 | 20.8333 | 0.96812 | 6 | 31.8 | 5.8181 | 216010.4167 | 10037.1559 | 0.34486 | 0.12367
| 1b | 1 | 3000 | 6000 | 58.1583 | 58.1583 | 1000000000 | 10000000 | 27.7778 | 0.66306 | 166666.6667 | 2321.1307 | 0.018519 | 0.00076292 | 0.027776 | 0.0011442 | 41.6667 | 1.8971 | 8 | 42.4 | 6.1911 | 108020.8333 | 4916.7311 | 0.017296 | 0.15031
| 1c | 1.8 | 3000 | 6000 | 54.8363 | 54.8363 | 1800000000 | 10000000 | 50 | 1.0589 | 300000 | 3208.6316 | 0.033333 | 0.0012697 | 0.04999 | 0.0019033 | 75 | 3.1687 | 11 | 58.3 | 6.8884 | 60037.5 | 2533.9339 | -0.28645 | 0.16142
| 1d | 3 | 3000 | 6000 | 58.6319 | 58.6319 | 3000000000 | 10000000 | 83.3333 | 1.842 | 500000 | 5162.4318 | 0.055556 | 0.002246 | 0.083285 | 0.0033632 | 125 | 5.6131 | 21 | 111.3 | 9.9323 | 36062.5 | 1614.8293 | -0.12309 | 0.1122
| 1e | 5 | 3000 | 6000 | 58.6319 | 58.6319 | 5000000000 | 10000000 | 138.8889 | 3.0475 | 833333.3333 | 8312.1271 | 0.092593 | 0.0037352 | 0.13867 | 0.005576 | 208.3333 | 9.3386 |  | 0 | 5.3 | 21704.1667 | 965.3437
| 1f | 7 | 3000 | 6000 | 58.5366 | 58.5366 | 7000000000 | 10000000 | 194.4444 | 4.2509 | 1166666.6667 | 11503.4905 | 0.12963 | 0.0052177 | 0.19384 | 0.0077533 | 291.6667 | 13.0465 |  | 0 | 5.3 | 15574.4048 | 686.1119
| 1g | 8 | 3000 | 6000 | 58.0645 | 58.0645 | 8000000000 | 10000000 | 222.2222 | 4.8168 | 1333333.3333 | 13010.4174 | 0.14815 | 0.0059142 | 0.22131 | 0.0087631 | 333.3333 | 14.7884 |  | 0 | 5.3 | 13666.6667 | 594.3778
| 1h | 9 | 3000 | 6000 | 60.8108 | 60.8108 | 9000000000 | 10000000 | 250 | 5.6725 | 1500000 | 15293.7904 | 0.16667 | 0.0069672 | 0.24871 | 0.01029 | 375 | 17.4219 |  | 0 | 5.3 | 12187.5 | 552.1478
| 1i | 10 | 3000 | 6000 | 58.2524 | 58.2524 | 10000000000 | 100000000 | 277.7778 | 6.6394 | 1666666.6667 | 23229.5066 | 0.18519 | 0.0076408 | 0.27601 | 0.011244 | 416.6667 | 19.0004 |  | 0 | 5.3 | 11008.3333 | 486.4908
11x11 | 2a | 5 | 5500 | 11000 | 66.7341 | 66.7341 | 5000000000 | 10000000 | 41.3223 | 0.56662 | 454545.4545 | 2903.5905 | 0.015026 | 0.00037706 | 0.022538 | 0.00056552 | 61.9835 | 1.7277 | 10 | 53 | 6.64 | 244047.6584 | 6800.9674 | -0.1695 | 0.1501
| 2b | 7 | 5500 | 11000 | 80.6846 | 80.6846 | 7000000000 | 10000000 | 57.8512 | 0.95244 | 636363.6364 | 4755.4073 | 0.021037 | 0.00063692 | 0.031553 | 0.00095515 | 86.7769 | 2.9195 | 15 | 79.5 | 8.0056 | 174341.0075 | 5863.0534 | -0.091533 | 0.11589
| 2c | 9 | 5500 | 11000 | 78.6651 | 78.6651 | 9000000000 | 10000000 | 74.3802 | 1.1923 | 818181.8182 | 5921.3215 | 0.027047 | 0.00079808 | 0.040565 | 0.0011966 | 111.5702 | 3.6584 | 19 | 100.7 | 9.2655 | 135620.5999 | 4444.1076 | -0.10795 | 0.10822
| 2d | 11 | 5500 | 11000 | 80.6846 | 80.6846 | 11000000000 | 100000000 | 90.9091 | 1.7048 | 1000000 | 11681.0229 | 0.033058 | 0.001044 | 0.049577 | 0.001565 | 136.3636 | 4.7483 | 24 | 127.2 | 10.9659 | 110984.8485 | 3860.6626 | -0.072041 | 0.099674
| 2e | 10 | 5500 | 11000 | 73.2113 | 73.2113 | 10000000000 | 100000000 | 82.6446 | 1.4818 | 909090.9091 | 10920.3223 | 0.030053 | 0.00087774 | 0.045071 | 0.0013159 | 123.9669 | 3.979 | 19 | 100.7 | 9.2655 | 122070.3168 | 3914.8203 | -0.23105 | 0.11996
| 2f | 13 | 5500 | 11000 | 80.7833 | 80.7833 | 13000000000 | 100000000 | 107.438 | 1.9483 | 1181818.1818 | 12568.7371 | 0.039068 | 0.0012206 | 0.058586 | 0.0018293 | 161.157 | 5.5635 |  | 0 | 5.3 | 93933.1426 | 3238.2116
| 2g | 15 | 5500 | 11000 | 79.9032 | 79.9032 | 15000000000 | 100000000 | 123.9669 | 2.1766 | 1363636.3636 | 13444.7234 | 0.045079 | 0.0013832 | 0.067593 | 0.0020724 | 185.9504 | 6.3127 |  | 0 | 5.3 | 81431.8641 | 2759.3341
| 2h | 20 | 5500 | 11000 | 69.0738 | 69.0738 | 20000000000 | 100000000 | 165.2893 | 2.4636 | 1818181.8182 | 14594.3824 | 0.060105 | 0.0015849 | 0.090097 | 0.0023726 | 247.9339 | 7.2414 |  | 0 | 5.3 | 61128.1336 | 1779.4777
| 2i | 25 | 5500 | 11000 | 74.7452 | 74.7452 | 25000000000 | 100000000 | 206.6116 | 3.2462 | 2272727.2727 | 17920.3111 | 0.075131 | 0.0021263 | 0.11258 | 0.0031793 | 309.9174 | 9.7297 |  | 0 | 5.3 | 48958.292 | 1529.121
| 2j | 30 | 5500 | 11000 | 75.3425 | 75.3425 | 30000000000 | 100000000 | 247.9339 | 3.8861 | 2727272.7273 | 20774.6308 | 0.090158 | 0.0025638 | 0.13503 | 0.0038282 | 371.9008 | 11.7387 |  | 0 | 5.3 | 40855.3949 | 1280.0408
16x13 | 3a | 5 | 6500 | 16000 | 180.9745 | 180.9745 | 5000000000 | 10000000 | 24.0385 | 0.724 | 312500 | 3589.4885 | 0.0073964 | 0.00042054 | 0.011095 | 0.00063079 | 36.0577 | 2.2827 | 7 | 37.1 | 5.9942 | 585884.6955 | 37089.2587 | 0.028095 | 0.16865
| 3b | 9 | 6500 | 16000 | 98.9847 | 98.9847 | 9000000000 | 10000000 | 43.2692 | 0.71284 | 562500 | 3535.6124 | 0.013314 | 0.00041404 | 0.01997 | 0.00062099 | 64.9038 | 2.2474 | 14 | 74.2 | 7.7104 | 325513.9334 | 11269.7726 | 0.12529 | 0.095808
| 3d | 11 | 6500 | 16000 | 102.9703 | 102.9703 | 11000000000 | 100000000 | 52.8846 | 1.0241 | 687500 | 7657.593 | 0.016272 | 0.00054649 | 0.024407 | 0.00081961 | 79.3269 | 2.9456 | 15 | 79.5 | 8.0056 | 266342.6938 | 9887.624 | 0.0021771 | 0.10709
| 3c | 10 | 6500 | 16000 | 104.1388 | 104.1388 | 10000000000 | 100000000 | 48.0769 | 0.96039 | 625000 | 7457.2445 | 0.014793 | 0.0005058 | 0.022188 | 0.00075861 | 72.1154 | 2.723 | 13 | 68.9 | 7.425 | 292969.391 | 11060.1547 | -0.046667 | 0.11952
| 3e | 15 | 6500 | 16000 | 99.0477 | 99.0477 | 15000000000 | 100000000 | 72.1154 | 1.2799 | 937500 | 8529.0074 | 0.022189 | 0.00070573 | 0.033281 | 0.0010583 | 108.1731 | 3.8149 | 19 | 100.7 | 9.2655 | 195342.9754 | 6886.0687 | -0.074211 | 0.10585
| 3f | 20 | 6500 | 16000 | 124.0064 | 124.0064 | 20000000000 | 100000000 | 96.1538 | 2.0375 | 1250000 | 11529.0868 | 0.029586 | 0.0011614 | 0.044371 | 0.0017412 | 144.2308 | 6.295 |  | 0 | 5.3 | 146538.7821 | 6390.6193
| 3g | 25 | 6500 | 16000 | 98.5471 | 98.5471 | 25000000000 | 100000000 | 120.1923 | 2.0248 | 1562500 | 11475.1406 | 0.036982 | 0.0011538 | 0.055459 | 0.0017294 | 180.2885 | 6.2538 |  | 0 | 5.3 | 117263.4776 | 4062.5292
| 3h | 30 | 6500 | 16000 | 106.1225 | 106.1225 | 30000000000 | 100000000 | 144.2308 | 2.5868 | 1875000 | 13918.4138 | 0.044379 | 0.0014861 | 0.066543 | 0.0022266 | 216.3462 | 8.0598 |  | 0 | 5.3 | 97752.6175 | 3635.1934
20x10 | 4a | 5 | 5000 | 20000 | 128.0683 | 128.0683 | 5000000000 | 10000000 | 25 | 0.66194 | 250000 | 1677.1204 | 0.01 | 0.00051665 | 0.015 | 0.00077493 | 37.5 | 2.1625 | 9 | 47.7 | 6.407 | 333352.0833 | 19221.1553 | 0.21384 | 0.11492
| 4b | 7 | 5000 | 20000 | 127.9318 | 127.9318 | 7000000000 | 10000000 | 35 | 0.92444 | 350000 | 2293.9599 | 0.014 | 0.00072227 | 0.020999 | 0.0010833 | 52.5 | 3.0233 | 14 | 74.2 | 7.7104 | 238121.4881 | 13710.2801 | 0.29245 | 0.084059
| 4c | 7.5 | 5000 | 20000 | 120.2405 | 120.2405 | 7500000000 | 10000000 | 37.5 | 0.9309 | 375000 | 2309.288 | 0.015 | 0.00072733 | 0.022499 | 0.0010909 | 56.25 | 3.0445 | 14 | 74.2 | 7.7104 | 222250.3472 | 12026.777 | 0.24191 | 0.088821
| 4d | 9 | 5000 | 20000 | 153.2567 | 153.2567 | 9000000000 | 10000000 | 45 | 1.4226 | 450000 | 3484.3373 | 0.018 | 0.0011122 | 0.026998 | 0.001668 | 67.5 | 4.6558 | 19 | 100.7 | 9.2655 | 185218.9352 | 12771.6412 | 0.32969 | 0.077081
| 4e | 10 | 5000 | 20000 | 134.5291 | 134.5291 | 10000000000 | 100000000 | 50 | 1.4741 | 500000 | 6025.8864 | 0.02 | 0.0011029 | 0.029998 | 0.001654 | 75 | 4.6019 |  | 0 | 5.3 | 166704.1667 | 10224.9981
| 4f | 12.5 | 5000 | 20000 | 132.7434 | 132.7434 | 12500000000 | 100000000 | 62.5 | 1.7819 | 625000 | 6496.754 | 0.025 | 0.0013526 | 0.037496 | 0.0020282 | 93.75 | 5.6501 |  | 0 | 5.3 | 133380.2083 | 8033.9832
| 4g | 15 | 5000 | 20000 | 124.4813 | 124.4813 | 15000000000 | 100000000 | 75 | 1.9886 | 750000 | 6840.372 | 0.03 | 0.0015186 | 0.044992 | 0.0022768 | 112.5 | 6.3463 |  | 0 | 5.3 | 111167.3611 | 6266.0535
<10uL uncertainty V | 0.01 | uL
>=10uL uncertainty V | 0.1 | uL
Corresponding Figure - to - data
Figure | Sheet | Data
Graphical abstract | 3 | Sample 1c
1 | N/A | N/A
2 | N/A | N/A
3 | N/A | N/A
4 | 3 | Sample 1a
5 | 1 | 6x6mm, V,h(0), hmeas
6a-d | 1 | 11x11mm, V,h(0), hmeas. Samples 2a,e,d,j
6e-h | 1 | 16x13mm, V,h(0), hmeas. Samples 3a,b,c,h
6i-l | 1 | 20x10mm, V,h(0), hmeas. Samples 4a,b,c,d
7a | 1 | Samples with a hmeas value for all confinement sizes, V/2dL,h(0), hmeas
7b | 1,2 | Samples with a hmeas value for all confinement sizes, sheet 1, fractional difference. For Fig i-l samples, sheet 2, green highlighted measured d and L, fractional difference. V/2dL on sheet 1 for all. |  |  | Image 1 |  |  | Image 2-4
8a,9a | 2 | Samples 1a-c
8b,9b | 2 | Samples 2a,d,e
8c,9c | 2 | Samples 3a-c | [6 empty] | Contact angle 1= 73.574
8d.9d | 2 | Samples 4a,b,d | [6 empty] | Contact angle 2= 66.258
S1 | N/A | N/A | [6 empty] | Contact angle 3=70.551
S2 | N/A | N/A
S3a-f | 1 | 11x11mm V,h(0), hmeas. Samples 2b,c,f,g,h,i
S3g-j | 1 | 16x13mm V,h(0), hmeas. Samples 3d,e,f,g
S3k-l | 1 | 20x10mm V,h(0), hmeas. Samples 4e,f
Table 1b,d,f,g | 1 | Sample 1a-c, theta, h(0), hmeas, radius
Table 1c,e | 2 | Theta measured in greenhighlight, h(0)
Contact angle | 1 | Image 1: E7 on polyimide. Image 2-4 E7 on silane
2a

## Sheet 2
|  |  | uncertainty | pip | 10000000 | um^3 | [13 empty] | neff | 0.1
|  |  |  | pip | 100000000 | um^3 | [12 empty] | uncertainty | lambda | 0.53 | pm
Size | Sample | Volume_pip/uL | d expected/um | l expected/um | d_meas uc/um | l meas uc/um | V/um^3 | V_pip/um^3 | V uc/um^3 | V/2dL expected/um | V/2dl uc/um | A/um^2 | A uc/um^2 | Eps/arb | Eps uc/arb | theta/rad | theta uc/rad | h(0)/um | h(0) uc/um | m | h_meas/um | h_meas uc/um | frac diff/arb | frac diff uc/ arb
6x6 | 1a | 0.5 | 3000 | 6000 | 54.9199 | 54.9199 | 500000000 | 500000000 | 10000000 | 13.8889 | [5 empty] | 0.023 | 0.001 | 34.5015 | 1.6277 | 6 | 31.8 | 5.8181
| 1b | 1 | 3000 | 6000 | 58.1583 | 58.1583 | 1000000000 | 1000000000 | 10000000 | 27.7778 | [5 empty] | 0.04 | 0.002 | 60.008 | 3.2188 | 8 | 42.4 | 6.1911
| 1c | 1.8 | 3000 | 6000 | 54.8363 | 54.8363 | 1800000000 | 1800000000 | 10000000 | 50 | [5 empty] | 0.065 | 0.003 | 97.5343 | 4.8447 | 11 | 58.3 | 6.8884
20x10 | 4a | 5 | 4400 | 18500 | 128.0683 | 128.0683 | 5000000000 | 5000000000 | 10000000 | 30.7125 | 0.92092 | 270270.2703 | 1947.4946 | 0.01396 | 0.00081887 | 0.02094 | 0.0012282 | 46.0688 | 3.0167 | 9 | 47.7 | 6.407 | 0.034197 | 0.14432
| 4b | 7 | 3700 | 19100 | 127.9318 | 127.9318 | 7000000000 | 7000000000 | 10000000 | 49.526 | 1.7457 | 366492.1466 | 2509.9762 | 0.026771 | 0.0018603 | 0.040151 | 0.0027894 | 74.2889 | 5.7661 | 14 | 74.2 | 7.7104 | -0.0011988 | 0.12986
| 4c | 7.5 | 4400 | 19000 | 120.2405 | 120.2405 | 7500000000 | 7500000000 | 10000000 | 44.8565 | 1.2597 | 394736.8421 | 2552.9134 | 0.020389 | 0.0011221 | 0.030582 | 0.0016828 | 67.2847 | 4.1345 | 14 | 74.2 | 7.7104 | 0.093198 | 0.10947
| 4d | 9 | 3300 | 18000 | 153.2567 | 153.2567 | 9000000000 | 9000000000 | 10000000 | 75.7576 | 3.5779 | 500000 | 4293.2277 | 0.045914 | 0.0042828 | 0.068843 | 0.0064166 | 113.6364 | 11.841 | 19 | 100.7 | 9.2655 | -0.12846 | 0.15687

## Sheet 3
h_b = height from m value | y inverted to make bottom side -ve
x and y adjusted to start at edge of confinement
xand y adjusted to centre around 0
Sample 1a | x-0.133-3/mm | y-0.156-3/mm | y inv..mm | uc distance/mm | h_bire/um | h_bire uc/um | Sample 3a | x-0.287-6.5/mm | y-0.021-8/mm | y inv/mm | distance uc/mm | h/um | h uc/um | Sample 4a | x-0.448-5/mm | y-0.285-10/mm | y inv/mm | distance uc/mm | h/um | h uc/um | Sample 2e | x | y | x-0.309-5.5 | y-0.289-5.5 | y inv/mm | distance uc/mm | h/um
| -3 |  |  | 0.05 | 0 | 5.3 |  | -6.5 |  |  | 0.2 | 0 | 5.3 |  | -5 |  |  | 0.1 | 0 | 5.3 |  | 0.309 | 6.764 | -5.5 |  |  | 0.08 | 0
| -2.69 |  |  | 0.05 | 5.3 | 5.3151 |  | -6.29 |  |  | 0.2 | 5.3 | 5.3151 |  | -4.898 |  |  | 0.1 | 5.3 | 5.3151 |  | 0.337 | 6.765 | -5.472 |  |  | 0.08 | 5.3
| -2.556 |  |  | 0.05 | 10.6 | 5.36 |  | -5.959 |  |  | 0.2 | 10.6 | 5.36 |  | -4.738 |  |  | 0.1 | 10.6 | 5.36 |  | 0.391 | 6.765 | -5.418 |  |  | 0.08 | 10.6
| -2.357 |  |  | 0.05 | 15.9 | 5.4342 |  | -5.541 |  |  | 0.2 | 15.9 | 5.4342 |  | -4.589 |  |  | 0.1 | 15.9 | 5.4342 |  | 0.449 | 6.765 | -5.36 |  |  | 0.08 | 15.9
| -2.098 |  |  | 0.05 | 21.2 | 5.5362 |  | -5.018 |  |  | 0.2 | 21.2 | 5.5362 |  | -4.375 |  |  | 0.1 | 21.2 | 5.5362 |  | 0.517 | 6.765 | -5.292 |  |  | 0.08 | 21.2
| -1.717 |  |  | 0.05 | 26.5 | 5.6648 |  | -4.304 |  |  | 0.2 | 26.5 | 5.6648 |  | -4.173 |  |  | 0.1 | 26.5 | 5.6648 |  | 0.584 | 6.765 | -5.225 |  |  | 0.08 | 26.5
| -1.155 |  |  | 0.05 | 31.8 | 5.8181 |  | -3.329 |  |  | 0.2 | 31.8 | 5.8181 |  | -3.852 |  |  | 0.1 | 31.8 | 5.8181 |  | 0.656 | 6.765 | -5.153 |  |  | 0.08 | 31.8
| -0.247 |  |  | 0.05 |  |  |  | -1.361 |  |  | 0.2 | 37.1 | 5.9942 |  | -3.383 |  |  | 0.1 | 37.1 | 5.9942 |  | 0.745 | 6.765 | -5.064 |  |  | 0.08 | 37.1
| 0.7 |  |  | 0.05 | 31.8 | 5.8181 |  | 2.923 |  |  | 0.2 | 37.1 | 5.9942 |  | -2.881 |  |  | 0.1 | 42.4 | 6.1911 |  | 0.839 | 6.765 | -4.97 |  |  | 0.08 | 42.4
| 1.39 |  |  | 0.05 | 26.5 | 5.6648 |  | 4.525 |  |  | 0.2 | 31.8 | 5.8181 |  | -1.43 |  |  | 0.1 | 47.7 | 6.407 |  | 0.929 | 6.761 | -4.88 |  |  | 0.08 | 47.7
| 1.771 |  |  | 0.05 | 21.2 | 5.5362 |  | 5.187 |  |  | 0.2 | 26.5 | 5.6648 |  | 1.729 |  |  | 0.1 | 47.7 | 6.407 |  | 1.019 | 6.761 | -4.79 |  |  | 0.08 | 53
| 2.039 |  |  | 0.05 | 15.9 | 5.4342 |  | 5.622 |  |  | 0.2 | 21.2 | 5.5362 |  | 2.871 |  |  | 0.1 | 42.4 | 6.1911 |  | 1.113 | 6.765 | -4.696 |  |  | 0.08 | 58.3
| 2.247 |  |  | 0.05 | 10.6 | 5.36 |  | 6.005 |  |  | 0.2 | 15.9 | 5.4342 |  | 3.455 |  |  | 0.1 | 37.1 | 5.9942 |  | 1.229 | 6.765 | -4.58 |  |  | 0.08 | 63.6
| 2.378 |  |  | 0.05 | 5.3 | 5.3151 |  | 6.336 |  |  | 0.2 | 10.6 | 5.36 |  | 3.874 |  |  | 0.1 | 31.8 | 5.8181 |  | 1.359 | 6.765 | -4.45 |  |  | 0.08 | 68.9
| 2.997 |  |  | 0.05 | 0 | 5.3 |  | 6.467 |  |  | 0.2 | 5.3 | 5.3151 |  | 4.187 |  |  | 0.1 | 26.5 | 5.6648 |  | 1.476 | 6.765 | -4.333 |  |  | 0.08 | 74.2
|  | -3 | 3 | 0.05 | 0 | 5.3 |  | 6.537 |  |  | 0.2 | 0 | 5.3 |  | 4.458 |  |  | 0.1 | 21.2 | 5.5362 |  | 1.606 | 6.765 | -4.203 |  |  | 0.08 | 79.5
|  | -2.64 | 2.64 | 0.05 | 5.3 | 5.3151 |  |  | -8 | 8 | 0.2 | 0 | 5.3 |  | 4.636 |  |  | 0.1 | 15.9 | 5.4342 |  | 1.74 | 6.765 | -4.069 |  |  | 0.08 | 84.8
|  | -2.347 | 2.347 | 0.05 | 10.6 | 5.36 |  |  | -7.286 | 7.286 | 0.2 | 5.3 | 5.3151 |  | 4.821 |  |  | 0.1 | 10.6 | 5.36 |  | 1.92 | 6.761 | -3.889 |  |  | 0.08 | 90.1
|  | -2.145 | 2.145 | 0.05 | 15.9 | 5.4342 |  |  | -6.512 | 6.512 | 0.2 | 10.6 | 5.36 |  | 4.934 |  |  | 0.1 | 5.3 | 5.3151 |  | 2.115 | 6.761 | -3.694 |  |  | 0.08 | 95.4
|  | -1.865 | 1.865 | 0.05 | 21.2 | 5.5362 |  |  | -5.376 | 5.376 | 0.2 | 15.9 | 5.4342 |  | 5.034 |  |  | 0.1 | 0 | 5.3 |  | 2.352 | 6.763 | -3.457 |  |  | 0.08 | 100.7
|  | -1.425 | 1.425 | 0.05 | 26.5 | 5.6648 |  |  | -3.586 | 3.586 | 0.2 | 21.2 | 5.5362 |  |  | -8.754 | 8.754 | 0.1 | 0 | 5.3 |  | 2.603 | 6.767 | -3.206 |  |  | 0.08 | 106
|  | -0.638 | 0.638 | 0.05 | 31.8 | 5.8181 |  |  | -1.299 | 1.299 | 0.2 | 26.5 | 5.6648 |  |  | -7.622 | 7.622 | 0.1 | 5.3 | 5.3151 |  | 2.975 | 6.761 | -2.834 |  |  | 0.08 | 111.3
|  | 0.167 | -0.167 | 0.05 |  |  |  |  | 0.813 | -0.813 | 0.2 | 31.8 | 5.8181 |  |  | -6.256 | 6.256 | 0.1 | 10.6 | 5.36 |  | 3.392 | 6.761 | -2.417 |  |  | 0.08 | 116.6
|  | 1.083 | -1.083 | 0.05 | 31.8 | 5.8181 |  |  | 3.241 | -3.241 | 0.2 | 37.1 | 5.9942 |  |  | -4.196 | 4.196 | 0.1 | 15.9 | 5.4342 |  | 4.078 | 6.767 | -1.731 |  |  | 0.08 | 121.9
|  | 1.632 | -1.632 | 0.05 | 26.5 | 5.6648 |  |  | 5.744 | -5.744 | 0.2 | 37.1 | 5.9942 |  |  | -1.507 | 1.507 | 0.1 | 21.2 | 5.5362 |  | 5.122 | 6.758 | -0.687 |  |  | 0.08 | 127.2
|  | 1.98 | -1.98 | 0.05 | 21.2 | 5.5362 |  |  | 6.528 | -6.528 | 0.2 | 31.8 | 5.8181 |  |  | 0.553 | -0.553 | 0.1 | 26.5 | 5.6648 |  | 6.36 | 6.758 | 0.551 |  |  | 0.08 | 121.9
|  | 2.23 | -2.23 | 0.05 | 15.9 | 5.4342 |  |  | 6.996 | -6.996 | 0.2 | 26.5 | 5.6648 |  |  | 2.029 | -2.029 | 0.1 | 31.8 | 5.8181 |  | 7.606 | 6.758 | 1.797 |  |  | 0.08 | 116.6
|  | 2.456 | -2.456 | 0.05 | 10.6 | 5.36 |  |  | 7.313 | -7.313 | 0.2 | 21.2 | 5.5362 |  |  | 3.47 | -3.47 | 0.1 | 37.1 | 5.9942 |  | 8.153 | 6.758 | 2.344 |  |  | 0.08 | 111.3
|  | 2.608 | -2.608 | 0.05 | 5.3 | 5.3151 |  |  | 7.569 | -7.569 | 0.2 | 15.9 | 5.4342 |  |  | 4.523 | -4.523 | 0.1 | 42.4 | 6.1911 |  | 8.529 | 6.767 | 2.72 |  |  | 0.08 | 106
|  | 2.771 | -2.771 | 0.05 | 0 | 5.3 |  |  | 7.757 | -7.757 | 0.2 | 10.6 | 5.36 |  |  | 5.782 | -5.782 | 0.1 | 47.7 | 6.407 |  | 8.872 | 6.767 | 3.063 |  |  | 0.08 | 100.7
[9 empty] | 7.923 | -7.923 | 0.2 | 5.3 | 5.3151 |  |  | 7.874 | -7.874 | 0.1 | 47.7 | 6.407 |  | 9.141 | 6.767 | 3.332 |  |  | 0.08 | 95.4
[9 empty] | 8.021 | -8.021 | 0.2 | 0 | 5.3 |  |  | 8.507 | -8.507 | 0.1 | 42.4 | 6.1911 |  | 9.423 | 6.761 | 3.614 |  |  | 0.08 | 90.1
Sample 1b | x-0.103-3/mm | y-0.096-3/mm | y. inv./mm | uc distance/mm | h_bire/um | h_b uc/um | [9 empty] | 8.863 | -8.863 | 0.1 | 37.1 | 5.9942 |  | 9.632 | 6.767 | 3.823 |  |  | 0.08 | 84.8
| -3 |  |  | 0.06 | 0 | 5.3 | [9 empty] | 9.126 | -9.126 | 0.1 | 31.8 | 5.8181 |  | 9.827 | 6.767 | 4.018 |  |  | 0.08 | 79.5
| -2.913 |  |  | 0.06 | 5.3 | 5.3151 | Sample 3b | x-0.338-6.5/mm | y+0.369-8/mm | y inv/mm | distance uc/mm | h/um | h uc/um |  |  | 9.375 | -9.375 | 0.1 | 26.5 | 5.6648 |  | 10.008 | 6.761 | 4.199 |  |  | 0.08 | 74.2
| -2.782 |  |  | 0.06 | 10.6 | 5.36 |  | -6.5 |  |  | 0.1 | 0 | 5.3 |  |  | 9.539 | -9.539 | 0.1 | 21.2 | 5.5362 |  | 10.172 | 6.765 | 4.363 |  |  | 0.08 | 68.9
| -2.632 |  |  | 0.06 | 15.9 | 5.4342 |  | -6.43 |  |  | 0.1 | 5.3 | 5.3151 |  |  | 9.688 | -9.688 | 0.1 | 15.9 | 5.4342 |  | 10.342 | 6.765 | 4.533 |  |  | 0.08 | 63.6
| -2.448 |  |  | 0.06 | 21.2 | 5.5362 |  | -6.322 |  |  | 0.1 | 10.6 | 5.36 |  |  | 9.872 | -9.872 | 0.1 | 10.6 | 5.36 |  | 10.477 | 6.765 | 4.668 |  |  | 0.08 | 58.3
| -2.235 |  |  | 0.06 | 26.5 | 5.6648 |  | -6.199 |  |  | 0.1 | 15.9 | 5.4342 |  |  | 9.958 | -9.958 | 0.1 | 5.3 | 5.3151 |  | 10.598 | 6.761 | 4.789 |  |  | 0.08 | 53
| -1.954 |  |  | 0.06 | 31.8 | 5.8181 |  | -6.075 |  |  | 0.1 | 21.2 | 5.5362 |  |  | 10 | -10 | 0.1 | 0 | 5.3 |  | 10.705 | 6.765 | 4.896 |  |  | 0.08 | 47.7
| -1.504 |  |  | 0.06 | 37.1 | 5.9942 |  | -5.885 |  |  | 0.1 | 26.5 | 5.6648 | [8 empty] | 10.817 | 6.765 | 5.008 |  |  | 0.08 | 42.4
| -0.579 |  |  | 0.06 | 42.4 | 6.1911 |  | -5.712 |  |  | 0.1 | 31.8 | 5.8181 | [8 empty] | 10.907 | 6.765 | 5.098 |  |  | 0.08 | 37.1
| 1.14 |  |  | 0.06 | 37.1 | 5.9942 |  | -5.514 |  |  | 0.1 | 37.1 | 5.9942 | Sample 4b | x-0.682-5/mm | y-0.128-10/mm | y inv/mm | distance uc/mm | h/um | h uc/um |  | 11.041 | 6.765 | 5.232 |  |  | 0.08 | 31.8
| 1.76 |  |  | 0.06 | 31.8 | 5.8181 |  | -5.291 |  |  | 0.1 | 42.4 | 6.1911 |  | -5 |  |  | 0.1 | 0 | 5.3 |  | 11.113 | 6.765 | 5.304 |  |  | 0.08 | 26.5
| 2.122 |  |  | 0.06 | 26.5 | 5.6648 |  | -5.036 |  |  | 0.1 | 47.7 | 6.407 |  | -4.872 |  |  | 0.1 | 5.3 | 5.3151 |  | 11.203 | 6.765 | 5.394 |  |  | 0.08 | 21.2
| 2.368 |  |  | 0.06 | 21.2 | 5.5362 |  | -4.73 |  |  | 0.1 | 53 | 6.64 |  | -4.765 |  |  | 0.1 | 10.6 | 5.36 |  | 11.279 | 6.761 | 5.47 |  |  | 0.08 | 15.9
| 2.601 |  |  | 0.06 | 15.9 | 5.4342 |  | -4.335 |  |  | 0.1 | 58.3 | 6.8884 |  | -4.669 |  |  | 0.1 | 15.9 | 5.4342 |  | 11.346 | 6.761 | 5.537 |  |  | 0.08 | 10.6
| 2.775 |  |  | 0.06 | 10.6 | 5.36 |  | -3.493 |  |  | 0.1 | 63.6 | 7.1505 |  | -4.563 |  |  | 0.1 | 21.2 | 5.5362 |  | 11.405 | 6.77 | 5.596 |  |  | 0.08 | 5.3
| 2.898 |  |  | 0.06 | 5.3 | 5.3151 |  | -2.503 |  |  | 0.1 | 68.9 | 7.425 |  | -4.435 |  |  | 0.1 | 26.5 | 5.6648 |  | 11.454 | 6.765 | 5.645 |  |  | 0.08 | 0
| 2.982 |  |  | 0.06 | 0 | 5.3 |  | 0.257 |  |  | 0.1 | 74.2 | 7.7104 |  | -4.264 |  |  | 0.1 | 31.8 | 5.8181 |  | 5.809 | 0.289 |  | -5.5 | 5.5 | 0.08 | 0
|  | -2.906 | 2.906 | 0.06 | 0 | 5.3 |  | 2.886 |  |  | 0.1 | 68.9 | 7.425 |  | -4.062 |  |  | 0.1 | 37.1 | 5.9942 |  | 5.809 | 0.346 |  | -5.443 | 5.443 | 0.08 | 5.3
|  | -2.829 | 2.829 | 0.06 | 5.3 | 5.3151 |  | 3.777 |  |  | 0.1 | 63.6 | 7.1505 |  | -3.87 |  |  | 0.1 | 42.4 | 6.1911 |  | 5.809 | 0.424 |  | -5.365 | 5.365 | 0.08 | 10.6
|  | -2.699 | 2.699 | 0.06 | 10.6 | 5.36 |  | 4.351 |  |  | 0.1 | 58.3 | 6.8884 |  | -3.635 |  |  | 0.1 | 47.7 | 6.407 |  | 5.806 | 0.514 |  | -5.275 | 5.275 | 0.08 | 15.9
|  | -2.525 | 2.525 | 0.06 | 15.9 | 5.4342 |  | 4.772 |  |  | 0.1 | 53 | 6.64 |  | -3.39 |  |  | 0.1 | 53 | 6.64 |  | 5.809 | 0.615 |  | -5.174 | 5.174 | 0.08 | 21.2
|  | -2.312 | 2.312 | 0.06 | 21.2 | 5.5362 |  | 5.053 |  |  | 0.1 | 47.7 | 6.407 |  | -3.07 |  |  | 0.1 | 58.3 | 6.8884 |  | 5.809 | 0.726 |  | -5.063 | 5.063 | 0.08 | 26.5
|  | -2.073 | 2.073 | 0.06 | 26.5 | 5.6648 |  | 5.308 |  |  | 0.1 | 42.4 | 6.1911 |  | -2.569 |  |  | 0.1 | 63.6 | 7.1505 |  | 5.809 | 0.861 |  | -4.928 | 4.928 | 0.08 | 31.8
|  | -1.749 | 1.749 | 0.06 | 31.8 | 5.8181 |  | 5.531 |  |  | 0.1 | 37.1 | 5.9942 |  | -1.956 |  |  | 0.1 | 68.9 | 7.425 |  | 5.809 | 1.002 |  | -4.787 | 4.787 | 0.08 | 37.1
|  | -1.097 | 1.097 | 0.06 | 37.1 | 5.9942 |  | 5.77 |  |  | 0.1 | 31.8 | 5.8181 |  | -0.101 |  |  | 0.1 | 74.2 | 7.7104 |  | 5.809 | 1.14 |  | -4.649 | 4.649 | 0.08 | 42.4
|  | 0.079 | -0.079 | 0.06 |  |  |  | 5.935 |  |  | 0.1 | 26.5 | 5.6648 |  | 1.658 |  |  | 0.1 | 68.9 | 7.425 |  | 5.809 | 1.278 |  | -4.511 | 4.511 | 0.08 | 47.7
|  | 1.217 | -1.217 | 0.06 | 37.1 | 5.9942 |  | 6.092 |  |  | 0.1 | 21.2 | 5.5362 |  | 2.383 |  |  | 0.1 | 63.6 | 7.1505 |  | 5.809 | 1.419 |  | -4.37 | 4.37 | 0.08 | 53
|  | 1.785 | -1.785 | 0.06 | 31.8 | 5.8181 |  | 6.224 |  |  | 0.1 | 15.9 | 5.4342 |  | 2.923 |  |  | 0.1 | 58.3 | 6.8884 |  | 5.809 | 1.577 |  | -4.212 | 4.212 | 0.08 | 58.3
|  | 2.108 | -2.108 | 0.06 | 26.5 | 5.6648 |  | 6.348 |  |  | 0.1 | 10.6 | 5.36 |  | 3.271 |  |  | 0.1 | 53 | 6.64 |  | 5.809 | 1.782 |  | -4.007 | 4.007 | 0.08 | 63.6
|  | 2.322 | -2.322 | 0.06 | 21.2 | 5.5362 |  | 6.438 |  |  | 0.1 | 5.3 | 5.3151 |  | 3.591 |  |  | 0.1 | 47.7 | 6.407 |  | 5.809 | 1.987 |  | -3.802 | 3.802 | 0.08 | 68.9
|  | 2.528 | -2.528 | 0.06 | 15.9 | 5.4342 |  | 6.504 |  |  | 0.1 | 0 | 5.3 |  | 3.847 |  |  | 0.1 | 42.4 | 6.1911 |  | 5.809 | 2.192 |  | -3.597 | 3.597 | 0.08 | 74.2
|  | 2.683 | -2.683 | 0.06 | 10.6 | 5.36 |  |  | -6.64 | 6.64 | 0.1 | 0 | 5.3 |  | 4.075 |  |  | 0.1 | 37.1 | 5.9942 |  | 5.809 | 2.424 |  | -3.365 | 3.365 | 0.08 | 79.5
|  | 2.806 | -2.806 | 0.06 | 5.3 | 5.3151 |  |  | -5.87 | 5.87 | 0.1 | 5.3 | 5.3151 |  | 4.352 |  |  | 0.1 | 31.8 | 5.8181 |  | 5.809 | 2.663 |  | -3.126 | 3.126 | 0.08 | 84.8
|  | 3 | -3 | 0.06 | 0 | 5.3 |  |  | -5.221 | 5.221 | 0.1 | 10.6 | 5.36 |  | 4.501 |  |  | 0.1 | 26.5 | 5.6648 |  | 5.808 | 2.948 |  | -2.841 | 2.841 | 0.08 | 90.1
[9 empty] | -4.495 | 4.495 | 0.1 | 15.9 | 5.4342 |  | 4.643 |  |  | 0.1 | 21.2 | 5.5362 |  | 5.806 | 3.258 |  | -2.531 | 2.531 | 0.08 | 95.4
[9 empty] | -3.857 | 3.857 | 0.1 | 21.2 | 5.5362 |  | 4.8 |  |  | 0.1 | 15.9 | 5.4342 |  | 5.806 | 3.627 |  | -2.162 | 2.162 | 0.08 | 100.7
Sample 1c | x-0.128-3/mm | y-0.155-3/mm | y inv/mm | distance uc/mm | h_b/um | h_b uc/um |  |  | -3.307 | 3.307 | 0.1 | 26.5 | 5.6648 |  | 4.949 |  |  | 0.1 | 10.6 | 5.36 |  | 5.806 | 4.031 |  | -1.758 | 1.758 | 0.08 | 106
| -3 |  |  | 0.05 | 0 | 5.3 |  |  | -2.735 | 2.735 | 0.1 | 31.8 | 5.8181 |  | 5.119 |  |  | 0.1 | 5.3 | 5.3151 |  | 5.813 | 4.515 |  | -1.274 | 1.274 | 0.08 | 111.3
| -2.938 |  |  | 0.05 | 5.3 | 5.3151 |  |  | -2.174 | 2.174 | 0.1 | 37.1 | 5.9942 |  | 5.226 |  |  | 0.1 | 0 | 5.3 |  | 5.806 | 5.14 |  | -0.649 | 0.649 | 0.08 | 116.6
| -2.856 |  |  | 0.05 | 10.6 | 5.36 |  |  | -1.476 | 1.476 | 0.1 | 42.4 | 6.1911 |  |  | -8.854 | 8.854 | 0.1 | 0 | 5.3 |  | 5.801 | 8.256 |  | 2.467 | -2.467 | 0.08 | 116.6
| -2.756 |  |  | 0.05 | 15.9 | 5.4342 |  |  | -0.945 | 0.945 | 0.1 | 47.7 | 6.407 |  |  | -6.498 | 6.498 | 0.1 | 5.3 | 5.3151 |  | 5.801 | 8.722 |  | 2.933 | -2.933 | 0.08 | 111.3
| -2.649 |  |  | 0.05 | 21.2 | 5.5362 |  |  | -0.316 | 0.316 | 0.1 | 53 | 6.64 |  |  | -5.432 | 5.432 | 0.1 | 10.6 | 5.36 |  | 5.81 | 9.06 |  | 3.271 | -3.271 | 0.08 | 106
| -2.53 |  |  | 0.05 | 26.5 | 5.6648 |  |  | 0.322 | -0.322 | 0.1 | 58.3 | 6.8884 |  |  | -4.163 | 4.163 | 0.1 | 15.9 | 5.4342 |  | 5.806 | 9.316 |  | 3.527 | -3.527 | 0.08 | 100.7
| -2.387 |  |  | 0.05 | 31.8 | 5.8181 |  |  | 1.133 | -1.133 | 0.1 | 63.6 | 7.1505 |  |  | -3.225 | 3.225 | 0.1 | 21.2 | 5.5362 |  | 5.81 | 9.531 |  | 3.742 | -3.742 | 0.08 | 95.4
| -2.201 |  |  | 0.05 | 37.1 | 5.9942 |  |  | 2.054 | -2.054 | 0.1 | 68.9 | 7.425 |  |  | -2.319 | 2.319 | 0.1 | 26.5 | 5.6648 |  | 5.806 | 9.737 |  | 3.948 | -3.948 | 0.08 | 90.1
| -1.994 |  |  | 0.05 | 42.4 | 6.1911 |  |  | 3.831 | -3.831 | 0.1 | 74.2 | 7.7104 |  |  | -1.413 | 1.413 | 0.1 | 31.8 | 5.8181 |  | 5.81 | 9.894 |  | 4.105 | -4.105 | 0.08 | 84.8
| -1.756 |  |  | 0.05 | 47.7 | 6.407 |  |  | 5.282 | -5.282 | 0.1 | 68.9 | 7.425 |  |  | -0.656 | 0.656 | 0.1 | 37.1 | 5.9942 |  | 5.81 | 10.037 |  | 4.248 | -4.248 | 0.08 | 79.5
| -1.43 |  |  | 0.05 | 53 | 6.64 |  |  | 5.876 | -5.876 | 0.1 | 63.6 | 7.1505 |  |  | 0.027 | -0.027 | 0.1 | 42.4 | 6.1911 |  | 5.81 | 10.154 |  | 4.365 | -4.365 | 0.08 | 74.2
| -0.861 |  |  | 0.05 | 58.3 | 6.8884 |  |  | 6.272 | -6.272 | 0.1 | 58.3 | 6.8884 |  |  | 0.72 | -0.72 | 0.1 | 47.7 | 6.407 |  | 5.81 | 10.284 |  | 4.495 | -4.495 | 0.08 | 68.9
| -0.023 |  |  | 0.05 |  |  |  |  | 6.591 | -6.591 | 0.1 | 53 | 6.64 |  |  | 1.391 | -1.391 | 0.1 | 53 | 6.64 |  | 5.81 | 10.392 |  | 4.603 | -4.603 | 0.08 | 63.6
| 0.915 |  |  | 0.05 | 53 | 6.64 |  |  | 6.813 | -6.813 | 0.1 | 47.7 | 6.407 |  |  | 2.137 | -2.137 | 0.1 | 58.3 | 6.8884 |  | 5.81 | 10.504 |  | 4.715 | -4.715 | 0.08 | 58.3
| 1.397 |  |  | 0.05 | 47.7 | 6.407 |  |  | 7.01 | -7.01 | 0.1 | 42.4 | 6.1911 |  |  | 3.108 | -3.108 | 0.1 | 63.6 | 7.1505 |  | 5.81 | 10.589 |  | 4.8 | -4.8 | 0.08 | 53
| 1.72 |  |  | 0.05 | 42.4 | 6.1911 |  |  | 7.167 | -7.167 | 0.1 | 37.1 | 5.9942 |  |  | 4.163 | -4.163 | 0.1 | 68.9 | 7.425 |  | 5.81 | 10.687 |  | 4.898 | -4.898 | 0.08 | 47.7
| 2.006 |  |  | 0.05 | 37.1 | 5.9942 |  |  | 7.353 | -7.353 | 0.1 | 31.8 | 5.8181 |  |  | 5.943 | -5.943 | 0.1 | 74.2 | 7.7104 |  | 5.81 | 10.764 |  | 4.975 | -4.975 | 0.08 | 42.4
| 2.256 |  |  | 0.05 | 31.8 | 5.8181 |  |  | 7.497 | -7.497 | 0.1 | 26.5 | 5.6648 |  |  | 7.457 | -7.457 | 0.1 | 68.9 | 7.425 |  | 5.81 | 10.858 |  | 5.069 | -5.069 | 0.08 | 37.1
| 2.433 |  |  | 0.05 | 26.5 | 5.6648 |  |  | 7.625 | -7.625 | 0.1 | 21.2 | 5.5362 |  |  | 8.118 | -8.118 | 0.1 | 63.6 | 7.1505 |  | 5.806 | 10.938 |  | 5.149 | -5.149 | 0.08 | 31.8
| 2.591 |  |  | 0.05 | 21.2 | 5.5362 |  |  | 7.745 | -7.745 | 0.1 | 15.9 | 5.4342 |  |  | 8.555 | -8.555 | 0.1 | 58.3 | 6.8884 |  | 5.815 | 11.015 |  | 5.226 | -5.226 | 0.08 | 26.5
| 2.719 |  |  | 0.05 | 15.9 | 5.4342 |  |  | 7.839 | -7.839 | 0.1 | 10.6 | 5.36 |  |  | 8.865 | -8.865 | 0.1 | 53 | 6.64 |  | 5.815 | 11.082 |  | 5.293 | -5.293 | 0.08 | 21.2
| 2.829 |  |  | 0.05 | 10.6 | 5.36 |  |  | 7.922 | -7.922 | 0.1 | 5.3 | 5.3151 |  |  | 9.131 | -9.131 | 0.1 | 47.7 | 6.407 |  | 5.815 | 11.14 |  | 5.351 | -5.351 | 0.08 | 15.9
| 2.932 |  |  | 0.05 | 5.3 | 5.3151 |  |  | 8 | -8 | 0.1 | 0 | 5.3 |  |  | 9.344 | -9.344 | 0.1 | 42.4 | 6.1911 |  | 5.808 | 11.196 |  | 5.407 | -5.407 | 0.08 | 10.6
| 3.005 |  |  | 0.05 | 0 | 5.3 | [9 empty] | 9.547 | -9.547 | 0.1 | 37.1 | 5.9942 |  | 5.808 | 11.243 |  | 5.454 | -5.454 | 0.08 | 5.3
|  | -2.924 | 2.924 | 0.05 | 0 | 5.3 | [9 empty] | 9.739 | -9.739 | 0.1 | 31.8 | 5.8181 |  | 5.808 | 11.286 |  | 5.497 | -5.497 | 0.08 | 0
|  | -2.694 | 2.694 | 0.05 | 5.3 | 5.3151 | Sample 3c | x-0.399-6.5/mm | y-0.25-8/mm | y inv/mm | distance uc/mm | h/um | h uc/um |  |  | 9.895 | -9.895 | 0.1 | 26.5 | 5.6648
|  | -2.582 | 2.582 | 0.05 | 10.6 | 5.36 |  | -6.5 |  |  | 0.1 | 0 | 5.3 |  |  | 10.044 | -10.044 | 0.1 | 21.2 | 5.5362
|  | -2.44 | 2.44 | 0.05 | 15.9 | 5.4342 |  | -6.413 |  |  | 0.1 | 5.3 | 5.3151 |  |  | 10.172 | -10.172 | 0.1 | 15.9 | 5.4342
|  | -2.284 | 2.284 | 0.05 | 21.2 | 5.5362 |  | -6.326 |  |  | 0.1 | 10.6 | 5.36 |  |  | 10.3 | -10.3 | 0.1 | 10.6 | 5.36
|  | -2.111 | 2.111 | 0.05 | 26.5 | 5.6648 |  | -6.218 |  |  | 0.1 | 15.9 | 5.4342 |  |  | 10.492 | -10.492 | 0.1 | 5.3 | 5.3151
|  | -1.887 | 1.887 | 0.05 | 31.8 | 5.8181 |  | -6.083 |  |  | 0.1 | 21.2 | 5.5362 |  |  | 10.755 | -10.755 | 0.1 | 0 | 5.3
|  | -1.654 | 1.654 | 0.05 | 37.1 | 5.9942 |  | -5.944 |  |  | 0.1 | 26.5 | 5.6648
|  | -1.375 | 1.375 | 0.05 | 42.4 | 6.1911 |  | -5.762 |  |  | 0.1 | 31.8 | 5.8181
|  | -1.031 | 1.031 | 0.05 | 47.7 | 6.407 |  | -5.537 |  |  | 0.1 | 37.1 | 5.9942 | Sample 4d | x-0.92-5/mm | y-2.518-10/mm | y inv/mm | distance uc/mm | h/um | h uc/um
|  | -0.556 | 0.556 | 0.05 | 53 | 6.64 |  | -5.311 |  |  | 0.1 | 42.4 | 6.1911 |  | -5 |  |  | 0.2 | 0 | 5.3
|  | 0.303 | -0.303 | 0.05 | 58.3 | 6.8884 |  | -5.055 |  |  | 0.1 | 47.7 | 6.407 |  | -4.93 |  |  | 0.2 | 5.3 | 5.3151
|  | 1.266 | -1.266 | 0.05 | 53 | 6.64 |  | -4.764 |  |  | 0.1 | 53 | 6.64 |  | -4.845 |  |  | 0.2 | 10.6 | 5.36
|  | 1.659 | -1.659 | 0.05 | 47.7 | 6.407 |  | -4.382 |  |  | 0.1 | 58.3 | 6.8884 |  | -4.768 |  |  | 0.2 | 15.9 | 5.4342
|  | 1.924 | -1.924 | 0.05 | 42.4 | 6.1911 |  | -3.775 |  |  | 0.1 | 63.6 | 7.1505 |  | -4.666 |  |  | 0.2 | 21.2 | 5.5362
|  | 2.139 | -2.139 | 0.05 | 37.1 | 5.9942 | [8 empty] | -4.564 |  |  | 0.2 | 26.5 | 5.6648
|  | 2.349 | -2.349 | 0.05 | 31.8 | 5.8181 | [8 empty] | -4.453 |  |  | 0.2 | 31.8 | 5.8181
|  | 2.503 | -2.503 | 0.05 | 26.5 | 5.6648 |  | 2.507 |  |  | 0.1 | 68.9 | 7.425 |  | -4.224 |  |  | 0.2 | 37.1 | 5.9942
|  | 2.637 | -2.637 | 0.05 | 21.2 | 5.5362 |  | 3.687 |  |  | 0.1 | 63.6 | 7.1505 |  | -4.087 |  |  | 0.2 | 42.4 | 6.1911
|  | 2.75 | -2.75 | 0.05 | 15.9 | 5.4342 |  | 4.37 |  |  | 0.1 | 58.3 | 6.8884 |  | -3.926 |  |  | 0.2 | 47.7 | 6.407
|  | 2.85 | -2.85 | 0.05 | 10.6 | 5.36 |  | 4.757 |  |  | 0.1 | 53 | 6.64 |  | -3.713 |  |  | 0.2 | 53 | 6.64
|  | 2.942 | -2.942 | 0.05 | 5.3 | 5.3151 |  | 5.07 |  |  | 0.1 | 47.7 | 6.407 |  | -3.517 |  |  | 0.2 | 58.3 | 6.8884
|  | 3 | -3 | 0.05 | 0 | 5.3 |  | 5.324 |  |  | 0.1 | 42.4 | 6.1911 |  | -3.219 |  |  | 0.2 | 63.6 | 7.1505
[8 empty] | 5.556 |  |  | 0.1 | 37.1 | 5.9942 |  | -2.836 |  |  | 0.2 | 68.9 | 7.425
[8 empty] | 5.764 |  |  | 0.1 | 31.8 | 5.8181 |  | -2.444 |  |  | 0.2 | 74.2 | 7.7104
Sample 2a | x-0.194-5.5/mm | y+0.153-5.5/mm | y inv/mm | distance uc/mm | h_b /um | h_b uc/um |  | 5.966 |  |  | 0.1 | 26.5 | 5.6648 |  | -1.916 |  |  | 0.2 | 79.5 | 8.0056
| -5.5 |  |  | 0.07 | 0 | 5.3 |  | 6.082 |  |  | 0.1 | 21.2 | 5.5362 |  | -1.303 |  |  | 0.2 | 84.8 | 8.3096
| -5.393 |  |  | 0.07 | 5.3 | 5.3151 |  | 6.215 |  |  | 0.1 | 15.9 | 5.4342 |  | -0.733 |  |  | 0.2 | 90.1 | 8.6215
| -5.222 |  |  | 0.07 | 10.6 | 5.36 |  | 6.319 |  |  | 0.1 | 10.6 | 5.36 |  | -0.103 |  |  | 0.2 | 95.4 | 8.9404
| -5.041 |  |  | 0.07 | 15.9 | 5.4342 |  | 6.429 |  |  | 0.1 | 5.3 | 5.3151 |  | 0.676 |  |  | 0.2 | 100.7 | 9.2655
| -4.792 |  |  | 0.07 | 21.2 | 5.5362 |  | 6.516 |  |  | 0.1 | 0 | 5.3
| -4.458 |  |  | 0.07 | 26.5 | 5.6648 |  |  | -8 | 8 | 0.1 | 0 | 5.3 |  | 3.546 |  |  | 0.2 | 63.6 | 7.1505
| -4.11 |  |  | 0.07 | 31.8 | 5.8181 |  |  | -7.398 | 7.398 | 0.1 | 5.3 | 5.3151 |  | 3.725 |  |  | 0.2 | 58.3 | 6.8884
| -3.606 |  |  | 0.07 | 37.1 | 5.9942 |  |  | -6.912 | 6.912 | 0.1 | 10.6 | 5.36 |  | 3.886 |  |  | 0.2 | 53 | 6.64
| -2.972 |  |  | 0.07 | 42.4 | 6.1911 |  |  | -6.345 | 6.345 | 0.1 | 15.9 | 5.4342 |  | 4.031 |  |  | 0.2 | 47.7 | 6.407
| -2.193 |  |  | 0.07 | 47.7 | 6.407 |  |  | -5.593 | 5.593 | 0.1 | 21.2 | 5.5362 |  | 4.15 |  |  | 0.2 | 42.4 | 6.1911
| -0.503 |  |  | 0.07 | 53 | 6.64 |  |  | -4.737 | 4.737 | 0.1 | 26.5 | 5.6648 |  | 4.261 |  |  | 0.2 | 37.1 | 5.9942
| 1.51 |  |  | 0.07 | 53 | 6.64 |  |  | -3.759 | 3.759 | 0.1 | 31.8 | 5.8181 |  | 4.414 |  |  | 0.2 | 31.8 | 5.8181
| 2.556 |  |  | 0.07 | 47.7 | 6.407 |  |  | -2.694 | 2.694 | 0.1 | 37.1 | 5.9942 |  | 4.533 |  |  | 0.2 | 26.5 | 5.6648
| 3.513 |  |  | 0.07 | 42.4 | 6.1911 |  |  | -1.772 | 1.772 | 0.1 | 42.4 | 6.1911 |  | 4.644 |  |  | 0.2 | 21.2 | 5.5362
| 4.046 |  |  | 0.07 | 37.1 | 5.9942 |  |  | -0.939 | 0.939 | 0.1 | 47.7 | 6.407 |  | 4.738 |  |  | 0.2 | 15.9 | 5.4342
| 4.469 |  |  | 0.07 | 31.8 | 5.8181 |  |  | -0.074 | 0.074 | 0.1 | 53 | 6.64 |  | 4.848 |  |  | 0.2 | 10.6 | 5.36
| 4.714 |  |  | 0.07 | 26.5 | 5.6648 |  |  | 0.759 | -0.759 | 0.1 | 58.3 | 6.8884 |  | 4.925 |  |  | 0.2 | 5.3 | 5.3151
| 4.958 |  |  | 0.07 | 21.2 | 5.5362 |  |  | 1.757 | -1.757 | 0.1 | 63.6 | 7.1505 |  | 4.976 |  |  | 0.2 | 0 | 5.3
| 5.136 |  |  | 0.07 | 15.9 | 5.4342 |  |  | 3.108 | -3.108 | 0.1 | 68.9 | 7.425 |  |  | -8.001 | 8.001 | 0.2 | 0 | 5.3
| 5.27 |  |  | 0.07 | 10.6 | 5.36 |  |  | 5.284 | -5.284 | 0.1 | 68.9 | 7.425 |  |  | -7.247 | 7.247 | 0.2 | 5.3 | 5.3151
| 5.414 |  |  | 0.07 | 5.3 | 5.3151 |  |  | 5.966 | -5.966 | 0.1 | 63.6 | 7.1505 |  |  | -6.634 | 6.634 | 0.2 | 10.6 | 5.36
| 5.515 |  |  | 0.07 | 0 | 5.3 |  |  | 6.383 | -6.383 | 0.1 | 58.3 | 6.8884 |  |  | -5.817 | 5.817 | 0.2 | 15.9 | 5.4342
[9 empty] | 6.629 | -6.629 | 0.1 | 53 | 6.64 |  |  | -5 | 5 | 0.2 | 21.2 | 5.5362
|  | -4.9827 | 4.9827 | 0.07 | 5.3 | 5.3151 |  |  | 6.85 | -6.85 | 0.1 | 47.7 | 6.407 |  |  | -4.093 | 4.093 | 0.2 | 26.5 | 5.6648
|  | -4.7659 | 4.7659 | 0.07 | 10.6 | 5.36 |  |  | 7.041 | -7.041 | 0.1 | 42.4 | 6.1911 |  |  | -3.122 | 3.122 | 0.2 | 31.8 | 5.8181
|  | -4.5378 | 4.5378 | 0.07 | 15.9 | 5.4342 |  |  | 7.225 | -7.225 | 0.1 | 37.1 | 5.9942 |  |  | -2.152 | 2.152 | 0.2 | 37.1 | 5.9942
|  | -4.2487 | 4.2487 | 0.07 | 21.2 | 5.5362 |  |  | 7.38 | -7.38 | 0.1 | 31.8 | 5.8181 |  |  | -1.258 | 1.258 | 0.2 | 42.4 | 6.1911
|  | -3.9206 | 3.9206 | 0.07 | 26.5 | 5.6648 |  |  | 7.536 | -7.536 | 0.1 | 26.5 | 5.6648 |  |  | -0.376 | 0.376 | 0.2 | 47.7 | 6.407
|  | -3.3922 | 3.3922 | 0.07 | 31.8 | 5.8181 |  |  | 7.637 | -7.637 | 0.1 | 21.2 | 5.5362 |  |  | 0.454 | -0.454 | 0.2 | 53 | 6.64
|  | -2.7638 | 2.7638 | 0.07 | 37.1 | 5.9942 |  |  | 7.754 | -7.754 | 0.1 | 15.9 | 5.4342 |  |  | 1.297 | -1.297 | 0.2 | 58.3 | 6.8884
|  | -1.8407 | 1.8407 | 0.07 | 42.4 | 6.1911 |  |  | 7.848 | -7.848 | 0.1 | 10.6 | 5.36 |  |  | 2.242 | -2.242 | 0.2 | 63.6 | 7.1505
|  | 0.13168 | -0.13168 | 0.07 | 47.7 | 6.407 |  |  | 7.935 | -7.935 | 0.1 | 5.3 | 5.3151 |  |  | 3.149 | -3.149 | 0.2 | 68.9 | 7.425
|  | 2.3191 | -2.3191 | 0.07 | 53 | 6.64 |  |  | 8.004 | -8.004 | 0.1 | 0 | 5.3 |  |  | 3.749 | -3.749 | 0.2 | 74.2 | 7.7104
|  | 3.4424 | -3.4424 | 0.07 | 53 | 6.64 | [9 empty] | 4.247 | -4.247 | 0.2 | 79.5 | 8.0056
|  | 3.9763 | -3.9763 | 0.07 | 47.7 | 6.407 | [9 empty] | 4.592 | -4.592 | 0.2 | 84.8 | 8.3096
|  | 4.3878 | -4.3878 | 0.07 | 42.4 | 6.1911 | [9 empty] | 4.988 | -4.988 | 0.2 | 90.1 | 8.6215
|  | 4.766 | -4.766 | 0.07 | 37.1 | 5.9942 | [9 empty] | -12.158 | 12.158 | 0.2
|  | 5.0774 | -5.0774 | 0.07 | 31.8 | 5.8181 | [9 empty] | 9.415 | -9.415 | 0.2 | 53 | 6.64
|  | 5.2387 | -5.2387 | 0.07 | 26.5 | 5.6648 | [9 empty] | 9.517 | -9.517 | 0.2 | 47.7 | 6.407
|  | 5.336 | -5.336 | 0.07 | 21.2 | 5.5362 | [9 empty] | 9.641 | -9.641 | 0.2 | 42.4 | 6.1911
|  | 5.4 | -5.4 | 0.07 | 15.9 | 5.4342 | [9 empty] | 9.802 | -9.802 | 0.2 | 37.1 | 5.9942
|  | 5.4695 | -5.4695 | 0.07 | 10.6 | 5.36 | [9 empty] | 9.947 | -9.947 | 0.2 | 31.8 | 5.8181
|  | 5.5195 | -5.5195 | 0.07 | 5.3 | 5.3151 | [9 empty] | 10.037 | -10.037 | 0.2 | 26.5 | 5.6648
[16 empty] | 10.13 | -10.13 | 0.2 | 21.2 | 5.5362
[16 empty] | 10.22 | -10.22 | 0.2 | 15.9 | 5.4342
[16 empty] | 10.279 | -10.279 | 0.2 | 10.6 | 5.36
[16 empty] | 10.347 | -10.347 | 0.2 | 5.3 | 5.3151
[16 empty] | 10.424 | -10.424 | 0.2 | 0 | 5.3
Sample 2d | x-0.256-5.5/mm | y-0.288-5.5/mm | y inv/mm | distance uc/mm | h_b/um | h_b uc/um
| -5.5 |  |  | 0.07 | 0 | 5.3
| -5.45 |  |  | 0.07 | 5.3 | 5.3151
| -5.381 |  |  | 0.07 | 10.6 | 5.36
| -5.267 |  |  | 0.07 | 15.9 | 5.4342
| -5.169 |  |  | 0.07 | 21.2 | 5.5362
| -5.051 |  |  | 0.07 | 26.5 | 5.6648
| -4.913 |  |  | 0.07 | 31.8 | 5.8181
| -4.734 |  |  | 0.07 | 37.1 | 5.9942
| -4.571 |  |  | 0.07 | 42.4 | 6.1911
| -4.401 |  |  | 0.07 | 47.7 | 6.407
| -4.205 |  |  | 0.07 | 53 | 6.64
| -3.986 |  |  | 0.07 | 58.3 | 6.8884
| -3.734 |  |  | 0.07 | 63.6 | 7.1505
| -3.4 |  |  | 0.07 | 68.9 | 7.425
| -3.119 |  |  | 0.07 | 74.2 | 7.7104
| -2.635 |  |  | 0.07 | 79.5 | 8.0056
| -2.141 |  |  | 0.07 | 84.8 | 8.3096
| -1.476 |  |  | 0.07 | 90.1 | 8.6215
| 3.362 |  |  | 0.07 | 84.8 | 8.3096
| 3.612 |  |  | 0.07 | 79.5 | 8.0056
| 3.874 |  |  | 0.07 | 74.2 | 7.7104
| 4.076 |  |  | 0.07 | 68.9 | 7.425
| 4.289 |  |  | 0.07 | 63.6 | 7.1505
| 4.46 |  |  | 0.07 | 58.3 | 6.8884
| 4.582 |  |  | 0.07 | 53 | 6.64
| 4.704 |  |  | 0.07 | 47.7 | 6.407
| 4.826 |  |  | 0.07 | 42.4 | 6.1911
| 4.942 |  |  | 0.07 | 37.1 | 5.9942
| 5.088 |  |  | 0.07 | 31.8 | 5.8181
| 5.174 |  |  | 0.07 | 26.5 | 5.6648
| 5.247 |  |  | 0.07 | 21.2 | 5.5362
| 5.339 |  |  | 0.07 | 15.9 | 5.4342
| 5.406 |  |  | 0.07 | 10.6 | 5.36
| 5.461 |  |  | 0.07 | 5.3 | 5.3151
| 5.485 |  |  | 0.07 | 0 | 5.3
|  | -5.248 | 5.248 | 0.07 | 0 | 5.3
|  | -5.114 | 5.114 | 0.07 | 5.3 | 5.3151
|  | -5.022 | 5.022 | 0.07 | 10.6 | 5.36
|  | -4.882 | 4.882 | 0.07 | 15.9 | 5.4342
|  | -4.723 | 4.723 | 0.07 | 21.2 | 5.5362
|  | -4.577 | 4.577 | 0.07 | 26.5 | 5.6648
|  | -4.376 | 4.376 | 0.07 | 31.8 | 5.8181
|  | -4.138 | 4.138 | 0.07 | 37.1 | 5.9942
|  | -3.894 | 3.894 | 0.07 | 42.4 | 6.1911
|  | -3.619 | 3.619 | 0.07 | 47.7 | 6.407
|  | -3.357 | 3.357 | 0.07 | 53 | 6.64
|  | -3.082 | 3.082 | 0.07 | 58.3 | 6.8884
|  | -2.747 | 2.747 | 0.07 | 63.6 | 7.1505
|  | -2.362 | 2.362 | 0.07 | 68.9 | 7.425
|  | -1.96 | 1.96 | 0.07 | 74.2 | 7.7104
|  | -1.569 | 1.569 | 0.07 | 79.5 | 8.0056
|  | -1.148 | 1.148 | 0.07 | 84.8 | 8.3096
|  | -0.648 | 0.648 | 0.07 | 90.1 | 8.6215
|  | -0.02 | 0.02 | 0.07 | 95.4 | 8.9404
|  | 0.761 | -0.761 | 0.07 | 100.7 | 9.2655
|  | 2.805 | -2.805 | 0.07 | 95.4 | 8.9404
|  | 3.177 | -3.177 | 0.07 | 90.1 | 8.6215
|  | 3.531 | -3.531 | 0.07 | 84.8 | 8.3096
|  | 3.769 | -3.769 | 0.07 | 79.5 | 8.0056
|  | 3.977 | -3.977 | 0.07 | 74.2 | 7.7104
|  | 4.127 | -4.127 | 0.07 | 68.9 | 7.425
|  | 4.334 | -4.334 | 0.07 | 63.6 | 7.1505
|  | 4.481 | -4.481 | 0.07 | 58.3 | 6.8884
|  | 4.611 | -4.611 | 0.07 | 53 | 6.64
|  | 4.741 | -4.741 | 0.07 | 47.7 | 6.407
|  | 4.851 | -4.851 | 0.07 | 42.4 | 6.1911
|  | 4.941 | -4.941 | 0.07 | 37.1 | 5.9942
|  | 5.071 | -5.071 | 0.07 | 31.8 | 5.8181
|  | 5.148 | -5.148 | 0.07 | 26.5 | 5.6648
|  | 5.217 | -5.217 | 0.07 | 21.2 | 5.5362
|  | 5.298 | -5.298 | 0.07 | 15.9 | 5.4342
|  | 5.364 | -5.364 | 0.07 | 10.6 | 5.36
|  | 5.404 | -5.404 | 0.07 | 5.3 | 5.3151
|  | 5.449 | -5.449 | 0.07 | 0 | 5.3