## Info
This is the third of the three files that were used for development of the journal article "Conduction shape factors for thermal analysis of energy walls under varying boundary conditions".
This file contains the main results from the article, which are connected to Figure 8 (sheet GE) and Figures 9 and 10 (Sheet GG).

## GE
|  | TS | SS | S(GG-B)
Standard | Standard | 1.4044 | 1.4116 | 1.4165
Pipe Spacing | 300mm | 0.88257 | 0.93836 | 0.94405
| 800mm | 2.3261 | 2.1678 | 2.1733
Wall Thickness | 500mm | 1.4334 | 1.4117 | 1.4165
| 1000mm | 1.3858 | 1.4116 | 1.4165
Cover | 50mm | 1.2675 | 1.1944 | 1.2017
| 150mm | 1.8193 | 1.9347 | 1.938
Diameter | 20mm | 1.5013 | 1.5051 | 1.5083
| 30mm | 1.3281 | 1.338 | 1.3448
Thermal Conductivity Ratio | 0.5(1/2) | 0.71203 | 0.70582 | 0.70825
| 1(2/2) | 0.71281 | 0.70582 | 0.70825
| 1.5 | 1.4059 | 1.4116 | 1.4165
| 2(2/1) | 1.4061 | 1.4116 | 1.4165
R=0.5
R=1
R=1.5
R=2
0.5 (1/2)
1 (2/2)
1.5(1.5/1)
2 (2/1)
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.

## GG
|  | TS | S(GG) | TS' | S'(GG)
Standard | Standard | 3.0211 | 3.1633 | 1.1983 | 1.1998
Pipe Spacing | 300mm | 2.4978 | 2.6396 | 0.67489 | 0.67609
| 800mm | 3.9523 | 4.0919 | 2.1296 | 2.1284
Wall Thickness | 500mm | 2.1736 | 2.2181 | 1.1983 | 1.1971
| 1000mm | 3.5583 | 3.7917 | 1.1983 | 1.1999
Cover | 50mm | 3.0895 | 3.2419 | 1.1208 | 1.1213
| 150mm | 2.814 | 2.9276 | 1.4287 | 1.4353
Diameter | 20mm | 3.1395 | 3.2829 | 1.3021 | 1.3037
| 30mm | 2.9232 | 3.0641 | 1.1149 | 1.1163
Thermal Conductivity Ratio | 0.5(1/2) | 1.5518 | 1.5817 | 0.60499 | 0.59991
| 1(2/2) | 1.5314 | 1.5817 | 0.59946 | 0.59991
| 1.5 | 2.9847 | 3.1633 | 1.1933 | 1.1998
| 2(2/1) | 2.9557 | 3.1633 | 1.1904 | 1.1998
R=0.5
R=1
R=1.5
R=2
0.5 (1/2)
1 (2/2)
1.5(1.5/1)
2 (2/1)
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.