| 1 Cyclic 1: Control mode |  |  |  |  | Force |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 Cyclic 1: Cycles |  |  |  |  | 5.0 |  |  |
| 1 Cyclic 1: Initial direction |  |  |  |  | Maximum |  |  |
| 1 Cyclic 1: Maximum measurement |  |  |  |  | Force |  |  |
| 1 Cyclic 1: Maximum value |  |  |  |  | 200.00 N |  |  |
| 1 Cyclic 1: Minimum measurement |  |  |  |  | Force |  |  |
| 1 Cyclic 1: Minimum value |  |  |  |  | 10.00 N |  |  |
| 1 Cyclic 1: Rate |  |  |  |  | 200.00 N/min |  |  |
| 1 Cyclic 1: Step 1 name |  |  |  |  | Cyclic 1 |  |  |
| 1 Cyclic 1-Step completion: Description |  |  |  |  | Step completion |  |  |
| 1 Cyclic 1-Step completion: Type |  |  |  |  | Step completion |  |  |
| 1 Cyclic 1-Step completion-Go to step: Description |  |  |  |  | Go to step |  |  |
| 1 Cyclic 1-Step completion-Go to step: Go to |  |  |  |  | Next step |  |  |
| 1 Cyclic 1-Step completion-Go to step: Loop |  |  |  |  | False |  |  |
| 1 Cyclic 1-Step completion-Go to step: Type |  |  |  |  | Go to step |  |  |
| 1 Data: Data capture scheme |  |  |  |  | Method scheme |  |  |
| Compressive strain (Displacement): Primary source |  |  |  |  | Displacement |  |  |
| Cyclic 1: Proportional gain multiplier |  |  |  |  | 1.00 |  |  |
| Data: Criteria 1 |  |  |  |  | True |  |  |
| Data: Data capture scheme |  |  |  |  | Default settings |  |  |
| Data: Interval 1 |  |  |  |  | 20.00 ms |  |  |
| Export 1: Create a file for each specimen |  |  |  |  | False |  |  |
| Export 1: Encoding type |  |  |  |  | Default |  |  |
| Export 1: Execute a program |  |  |  |  | False |  |  |
| Export 1: Export 1 frequency |  |  |  |  | At finish |  |  |
| Export 1: Export behavior |  |  |  |  | Overwrite with warning |  |  |
| Export 1: Export type |  |  |  |  | File |  |  |
| Export 1: File extension |  |  |  |  | csv |  |  |
| Export 1: File name convention |  |  |  |  | Sample name |  |  |
| Export 1: Layout for results tables |  |  |  |  | Table |  |  |
| Export 1: Method parameters |  |  |  |  | False |  |  |
| Export 1: Output format |  |  |  |  | Default format |  |  |
| Export 1: Override default folder |  |  |  |  | False |  |  |
| Export 1: Raw data |  |  |  |  | False |  |  |
| Export 1: Results table 1 group statistics |  |  |  |  | True |  |  |
| Export 1: Results table 1 results |  |  |  |  | True |  |  |
| Export 1: Results table 1 sample statistics |  |  |  |  | True |  |  |
| Export 1: Results table 2 group statistics |  |  |  |  | False |  |  |
| Export 1: Results table 2 results |  |  |  |  | True |  |  |
| Export 1: Results table 2 sample statistics |  |  |  |  | True |  |  |
| Force: Transducer configuration |  |  |  |  | Force |  |  |
|  |  |  | Page 1 of 2 |  |  |  |  |

|  |  | Page 2 of 2 |  |  |  |
| --- | --- | --- | --- | --- | --- |