## Unmet clinical need
UNMET CLINICAL NEED
Intended use
Medical need
Target population
Target user
Medical decision to be influenced
Fit with clinical workflow
Target level of health system
Test rationale
Description of test concept
Proof of concept

## Analytical performance
ANALYTICAL PERFORMANCE
Analytical sensitivity | Overlapping with clinical validity
Analytical specificity | Test performance with disease subgroups
Assay design/format | Overlapping with human factors
Assay throughput | (Generic) sensitivity
Calibration | (Generic) specificity
Control/comparative reference method | Result
Cross reactivity
Daily throughput (per module)
Device failure/invalid rate
Duration of valid result
Duration of valid sample
External quality control
In use stability
Indeterminate test results
Interferences
Internal quality control
Kit quality indicators
Limit of quantification/detection
Linearity and quantitative ranges
Manual sample/specimen preparation
Multiplexing
Need for operator to transfer a precise volume of sample
Overall sample preparation
Platform throughput
Precision/concordance
Quality control
Quantification/quantitation
Reagent integration/preparation
Reagent kit (transport,storage and stability, supplies not included in kit)
Reagent kit reconstitution/packing
Reproducibility
Reproducibility near clinical threshold
Result stability
Robustness
Sample type
Specimen/sample capacity and throughput
Strain specificity
Target molecule/pathogens (analyte to be detected)
Time-to-result
Type of analysis
Volume sample/specimen

## Clinical validity
CLINICAL VALIDITY
Diagnostic/testing sensitivity |  | Overlapping with analytical performance | Overlapping with clinical utility
Diagnostic/testing specificity |  | (Generic) sensitivity | What is the risk of an inaccurate test results?
Positive predictive value |  | (Generic) specificity
Negative predictive value |  | Test performance with disease subgroups
Field performance
False recent ratio (%) | Defined as '“The proportion of individuals in a particular population at a particular time infected for longer than an explicitly specified time cut-off (T) with a recent test result”

## Human factors
HUMAN FACTORS
Instruction for use | Overlapping with analytical performance | Overlapping with infrastructural requirements
Training and education | Result | Supplies needed
Ease of test result interpretation |  | Materials used
Language |  | Service and support
User interface
Tool format and complexity
Test size and portability
Unit size
Test size and weight
Labelling
Assay packaging
Result documentation-data display
Patient identification capability
Data input
Data capture
Data handling
Data analysis
Data export (connectivity and interoperability, electronics and software)
Readout/reading system
Test outcome (nature)
Rate of errors in device interpretation
User-induced failure rate
Safety precautions (biosafety requirements)
Hands-on-time
Walkaway operation
Equipment-specific human factors

## Infrastructural requirements
INFRASTRUCTURAL REQUIREMENTS
Infrastructural requirements | Overlapping with human factors
Power requirements | Materials used
Clean water | Supplies needed
Cold chain | Service and support
Biosafety requirements | Assay packaging
Ancillary supplies
Storage conditions and shelf life
Test stability
Storage conditions prior utilisation
Operating conditions
Thermal tollerance of assay
Temperature and humidity
Shipping conditions
Stability during transport
Maintenace
External maintenance
Environmental tolerance of packaged test kit
Reagent kit (transport,storage and stability, supplies not included in kit)
Need for additional equipment/test/spare parts
Additional third party consumable
Instrument infrastructural requirement
Waste disposal
Multiuse platform

## Other clusters
ENVIRONMENTAL IMPACT | COSTS | REGULATORY REQUIREMENTS | CLINICAL UTILITY
Environmental footprint | Price/cost of individual test | Regulatory requirements | Intended outcome and linkage to care |  | Overlapping with clinical validity
| Cost per diagnosis | Product registration path | What is the risk of an inaccurate test result? | Although the wording would suggest this is associated with diagnostic accuracy, the TPP under evaluation features information on the adverse effects following a false-positive test results (Lim 2018) | What is the risk of an inaccurate test result?
(Capital) cost per instrument
Cost of platform to end user
Cost of consumables
Cost of manufacturing single use device
Expected scale of manufacture
Potential market
Market segmentation/channels to the market
Region(s) of commercialisation
Competitive landscape

## Non-test Characteristics
Biology-related characteristics | Characteristics unrelated to testing
Mean duration of recent infection (days) | Availability of diagnostic biomarker
Taxonomic diagnosis | Key assumptions
Drug-susceptibility testing | Funding agencies
Priority of drugs tested
Genetic sequencing
Limit of m.tubercolosis detecting
Phenotypic DST
Mean time between failures
Treatment-monitoring capability/possibility
Limit of m. tubercolosis detecting (first and second reaction)

## Test characteristics
| Unmet clinical need | [9 empty] | Analytical validity | [45 empty] | Clinical validity | [10 empty] | Clinical utility |  | Human factors | [29 empty] | Costs | [10 empty] | Environmental impact | Infrastructural requirements | [26 empty] | Regulatory requirements
Article title | Intended use | Medical need | Target population | Target user | Medical decision to be influenced | Target level of health system | Test rationale | Fit with clinical workflow | Description of test concept | Proof of concept | Analytical specificity | Analytical sensitivity | Limit of quantification/detection | Strain specificity | Comparative reference method | Target molecule/pathogens | Daily throughput (per module) | Sample type | Platform throughput | Sample capacity and throughput | Type of analysis | Assay throughput | Manual sample/specimen preparation | Overall test preparation | Need for operator to transfer a precise volume of sample | Reagent integration/preparation | Indeterminate results detection | Time-to-result | Calibration | Repeatibility | Robustness requirements | Interferences | Linearity and quantitative ranges | Duration of valid sample | Duration of valid result | Result stability | In use stability | Volume sample/specimen | Reagent kit reconstitution/packing | Quality control | Internal quality control | External quality control | Multiplexing | Reproducibility | Reproducibility near clinical threshold | Device failure/invalid rate | Assay design/format | Quantification/quantitation | Kit quality indicators | Result | Reagent kit (transport,storage and stability, supplies not included in kit) | Cross reactivity | (Generic) sensitivity | (Generic) specificity | Precision/concordance | Test performance with disease subgroups | Diagnostic sensitivity | Diagnostic specificity | Positive predictive value | Negative predictive value | Field performance | (Generic) sensitivity | (Generic) specificity | Precision/concordance | False recent ratio (%) | Test performance with disease subgroups | What is the risk of an inaccurate test result? | Intended outcome and linkage to care | What is the risk of an inaccurate test result? | Instruction for use | Instrumentation size and portability | Labelling | Data capture | Data handling | Safety precautions (biosafety requirements) | Data input | Readout/reading system | Hands-on-time | Test size and weight | Training and education | Rate of errors in device interpretation | User-induced failure rate | Language | User interface | Result documentation-data display | Data export (connectivity and interoperability, electronics and software) | Tool format and complexity | Ease of test result interpretation | Walkaway operation | Result | Test outcome (nature) | Equipment-specific human factors | Materials used | Unit size | Supplies needed | Assay packaging | Service and support | Patient identification capability | Data analysis | Price/cost of individual test | Cost per diagnosis | (Capital) cost per instrument | Cost of platform to end user | Cost of consumables | Cost of manufacturing single use device | Expected scale of manufacture | Potential market | Market segmentation/channels to the market | Region(s) of commercialisation | Competitive landscape | Environmental footprint/profile | Infrastructure requirements | Power requirements | Clean water | Cold chain | Biosafety requirements | Ancillary supplies | Temperature and humidity | Shipping conditions | Stability during transport | Maintenace | External maintenance | Environmental tolerance of packaged test kit | Reagent kit (transport,storage and stability, supplies not included in kit) | Need for additional equipment/test/spare parts | Additional third party consumable | Instrument infrastructural requirement | Materials used | Waste disposal | Multiuse platform | Supplies needed | Thermal tolerance of assay | Assay packaging | Storage conditions and shelf life | Storage conditions prior utilisation | Operating conditions | Shipping conditions | Service and support | Regulatory requirements | Product registration path
Update on Zika Diagnostic Tests and WHO's Related Activities | x |  |  | x |  | x |  |  |  |  | x |  | x |  |  |  |  | x | [24 empty] | x | [9 empty] | x | x |  |  | x |  |  |  |  | x | x
Target Product Profile of a Molecular Drug-Susceptibility Test for Use in Microscopy Centers | x |  | x | x |  | x |  |  |  |  | x |  | x |  |  |  | x | x |  | X |  |  | x |  |  | x | x | x | x |  |  | x | [5 empty] | x |  |  | x |  |  | x |  |  | x | [9 empty] | x | x | [21 empty] | x |  |  |  |  | x | x |  |  | x | [9 empty] | x | [13 empty] | x |  |  | x |  | X |  | x | x | [7 empty] | x | x |  |  |  | x |  |  |  |  | x
Defining the needs for next generation assays for tuberculosis | x |  | x | x |  | x | [11 empty] | x |  |  |  |  | x |  |  | x |  | x | x | [11 empty] | x | [5 empty] | x | [9 empty] | x | x | [27 empty] | x | [13 empty] | x |  | x | [15 empty] | X |  | x | x | [12 empty] | x
Point-of-Care Malaria Infection Detection Test For rapid detection of low-density, subclinical malaria infections | x |  | x | x |  | x | [5 empty] | x | x | x |  |  |  | x |  |  |  | x | [5 empty] | x | x | [10 empty] | x | [6 empty] | x | [7 empty] | x |  | x | x | [5 empty] | x | [5 empty] | x | x | x | x | x | x |  |  |  | x | x | [6 empty] | x | x | [6 empty] | x |  | x |  |  | x |  | x | [5 empty] | x | x |  |  |  | x | x |  |  |  | X | x | [9 empty] | x |  | x |  |  | x |  |  | x | x |  | x
Defining the next generation of Plasmodium vivax diagnostic tests for control and elimination: Target product profiles | x |  | x | x | x | x |  |  |  |  | x | x | [5 empty] | x |  | X |  | x | x |  |  | x |  | x |  | x | [6 empty] | x | x |  |  | x | x |  | x |  |  | x | [9 empty] | x | x | [12 empty] | x |  | x | [6 empty] | x |  |  | x |  |  | x | x |  |  |  | x |  |  |  |  | x |  |  |  | x | x | [11 empty] | x |  |  | x |  | X |  |  | x | [5 empty] | x | [5 empty] | x | x |  | x
Target Product Profile for a Diagnostic Assay to Differentiate between Bacterial and Non-Bacterial Infections to Guide Antimicrobials Use in Resource-Limited Settings: An Expert Consensus | x |  | x | x |  | x | [5 empty] | x | [5 empty] | x |  | X |  |  | x | x |  | x |  | x | x | [6 empty] | x |  | x |  | x | x |  | x | x |  |  | x |  |  |  | x | [5 empty] | x | x | [19 empty] | x |  | x |  |  |  |  | x | x | x | x | [11 empty] | x | [12 empty] | x | x |  | x |  | X | x |  | x | x |  |  |  |  | x |  | x |  |  |  |  | x |  | x | x
High-priority target product profile for hepatitis C diagnosis in decentralized settings: Report of a consensus meeting. | x |  | x | x |  | x |  |  |  |  | x | x | [5 empty] | x |  | X |  |  | x |  |  |  |  | x | x | [11 empty] | x |  | x |  |  |  | x | [9 empty] | x | x | [14 empty] | x | [11 empty] | x | x |  |  |  |  | x | [7 empty] | x | x |  | x | [10 empty] | x |  |  | x |  | x |  | x | x | [7 empty] | x |  |  |  |  | x
Matching diagnostics development to clinical need: Target product profile development for a point of care test for community-acquired lower respiratory tract infection | x | x | x | x | x | x |  |  | x | x |  |  |  |  | x | x |  | x |  |  | x | x | x |  | x |  |  | x | [9 empty] | x | [5 empty] | x | x |  | x | [5 empty] | x | x |  |  |  |  | x | x |  | x | x | [13 empty] | x |  |  | x |  |  |  |  | x | x |  | x | [11 empty] | x |  |  | x |  | x |  |  | x | x | x |  |  | x |  |  | x |  |  |  | x | x |  |  |  | x |  |  |  | x |  |  |  |  | x |  |  |  |  | x
Diagnostic tools for soil-transmitted helminths control and elimination programs: a pathway for diagnostic product development | x | x | x | x | x | x |  | x |  |  | x | x | x |  |  | x |  | x |  |  |  |  | x |  |  | x |  |  | x |  | x |  | x |  |  |  |  | x |  | x | x | x |  | x |  |  | x | [7 empty] | x |  | x | x | [10 empty] | x |  | x |  |  |  |  | x |  |  |  | x |  |  |  | x | x | x |  |  |  |  | x | x |  |  |  |  | x |  |  | x |  | x | x |  |  |  |  | x | x |  |  |  | x | x |  | x | [10 empty] | x |  | x |  |  |  |  | x |  |  |  | x | x
Molecular assays for antimalarial drug resistance surveillance: A target product profile | x |  | x | x |  | x | x |  |  |  | x | x | [5 empty] | x |  |  |  | x | x | x |  |  |  | x |  | x | [6 empty] | x |  |  |  | x | x |  | x |  |  | x | [9 empty] | x | x | [14 empty] | x | [6 empty] | x |  |  | x |  | x | x |  |  |  |  | x | X |  |  |  | x |  |  |  | x | [12 empty] | x |  |  | x |  | X | x | x | x | [11 empty] | x | x |  | x | x
Target Product Profile (TPP) for Chagas Disease Point-of-Care Diagnosis and Assessment of Response to Treatmen | x | x |  |  |  | x | [11 empty] | x | [9 empty] | x | [24 empty] | x | x | [7 empty] | x | x | [16 empty] | x | [10 empty] | x | [20 empty] | x
Optimising diagnosis of viraemic hepatitis C infection: the development of a target product profile | x |  | x | x |  | x |  |  |  |  | x | x | [5 empty] | x |  | X |  |  | x |  |  |  |  | x | x | [11 empty] | x |  | x |  |  |  | x | [9 empty] | x | x | [14 empty] | x | [11 empty] | x | x |  |  |  |  | x | [7 empty] | x | x |  | x | [10 empty] | x |  |  | x |  | X |  | x | x | [7 empty] | x |  |  |  |  | x
A diagnostics platform for the integrated mapping, monitoring, and surveillance of neglected tropical diseases: Rationale and target product profiles | x |  | x | [14 empty] | x | [28 empty] | x | [5 empty] | x | x | [7 empty] | x | x
Advancing prevention of sexually transmitted infections through point-of-care testing: target product profiles and landscape analysis | x |  | x |  |  | x | [11 empty] | x |  |  |  |  | x |  |  |  |  | x | [19 empty] | x | [8 empty] | x | x | [21 empty] | x | [5 empty] | x |  | x |  | x |  | x | [7 empty] | x | [26 empty] | x
Target product profiles for the diagnosis of Taenia solium taeniasis, neurocysticercosis and porcine cysticercosis | x | x | x | x | x | x | [5 empty] | x |  |  | x | x | x | x |  |  |  |  | x | x |  |  |  | x | x | [5 empty] | x |  |  |  |  | x |  |  |  | x | [6 empty] | x | [5 empty] | x | x | [12 empty] | x | [7 empty] | x | x | [6 empty] | x | x |  |  |  | x |  | x | x |  | x |  |  | x | [7 empty] | x |  |  |  |  | x | x |  |  |  | X |  | x | [8 empty] | x |  | x |  |  | x |  |  |  | x |  | x
Target Product Profile for Tests for Recent HIV Infection | x |  |  | x |  | x | [11 empty] | x |  |  |  | x | x | [14 empty] | x | [8 empty] | x |  |  |  | x |  |  |  |  | x | [8 empty] | x | x | [9 empty] | x | x | [8 empty] | x | [13 empty] | x |  | x | [15 empty] | x | x | x | [13 empty] | x |  |  | x |  | x | x
Target Product Profile: Rapid test for diagnosis of malaria and screening for hyman African trypanosomiasis (HAT) | x |  | x | x |  | x | [9 empty] | x |  | x |  |  | x | x | x |  | x |  |  | x | [8 empty] | x | x | x |  | x |  |  | x | [12 empty] | x | x | [21 empty] | x | [24 empty] | x | x | [6 empty] | x |  |  | x | x | X | [5 empty] | x | x | [10 empty] | x
Target Product Profile: HIV Self-Test Version 4.1: A White Paper on the Evaluation of Current HIV Rapid Tests and Development of Core Specifications for Next-Generation HIV Tests | x |  | x | x |  | x |  | x |  |  | x | x |  |  | x | x |  | x |  |  |  |  | x |  |  |  |  | x |  |  |  | x |  | x | x |  |  | x | x | x | [5 empty] | x | x |  | x | [5 empty] | x |  | x | x |  |  | x |  |  | x | [5 empty] | x | x | x |  | x | x |  |  |  |  | x | x | x |  |  | x |  | x | x | [5 empty] | x | x | x | x | [5 empty] | x |  |  |  |  | x | x |  |  |  | x | x | x | x |  | X | [5 empty] | x | x | x |  |  | x |  | x |  | x |  |  | x |  | x | x | x
Diagnostics for neglected tropical diseases: Defining the best tools through target product profiles | x |  | x | x |  | x | [8 empty] | x | x |  | x |  |  |  | x | x |  |  |  |  | x | [15 empty] | x | [12 empty] | x | x | [12 empty] | x | [8 empty] | x | [6 empty] | x |  |  |  | x | [26 empty] | X | [15 empty] | x
Target Product Profile: Schistosomiasis Surveillance Diagnostic | x | x | x | x |  | x |  | x |  |  | x |  | x |  | x | x |  | x |  |  |  | x | x |  |  |  |  | x | x | [8 empty] | x |  | x |  |  |  | x | [12 empty] | x | x | [12 empty] | x | [8 empty] | x | [6 empty] | x |  |  |  | x |  |  |  | x |  | x |  |  |  | x | [6 empty] | x | x |  |  | x |  |  | x |  | x | X |  | x | [8 empty] | x |  | x |  |  | x |  |  |  | x |  | x
UNICEF Target Product Profile Rapid E.coli Detection (version 2.0) | x | [11 empty] | x |  | x |  |  | x |  |  | x | [6 empty] | x | [19 empty] | x |  |  |  |  | x | x | [7 empty] | x | x | [7 empty] | x |  |  |  | x |  |  |  |  | x |  |  |  |  | x |  |  | x |  |  | x |  | x | [6 empty] | x | [10 empty] | x |  | x |  |  |  |  | X | [9 empty] | x | [10 empty] | x
UNICEF Target Product Profile Rapid E.coli Detection (1.4) | x | [13 empty] | x |  |  | x |  |  | x | [6 empty] | x | x | [18 empty] | x |  |  |  |  | x | x | [7 empty] | x | x | [7 empty] | x |  |  |  | x |  |  |  |  | x |  |  |  |  | x |  |  | x |  |  |  |  | x | [6 empty] | x | [10 empty] | x | [16 empty] | x | [5 empty] | x |  |  |  |  | x
High-priority target product profile for new tubercolosis diagnostics: report of a consensus meeting | x |  | x | x |  | x | X | [9 empty] | x | x |  | X |  |  | x |  |  | x |  | x | x |  |  | X | [5 empty] | x |  |  | x | [15 empty] | x | x | [12 empty] | x |  | x | [6 empty] | x |  |  |  |  | x | x |  |  | x |  | x | [7 empty] | x | x |  | x |  |  |  |  | x |  | x |  |  |  | x |  |  | x |  | X |  | x | x |  |  |  | x |  | x |  | x | x |  |  |  | x |  |  |  |  | x
Development of a Target Product Profile (TPP) and framework for evaluation for a test predicting progression from tubercolosis infection to active disease | x |  | x | x |  | x | [11 empty] | x |  |  |  |  | x |  |  |  |  | x | x | [9 empty] | x |  | x | x |  | x |  |  | x | [9 empty] | x | x | [12 empty] | x |  | x | [6 empty] | x |  |  |  |  | x | x | [15 empty] | x |  | x | [8 empty] | x |  |  | x |  | X |  | x | x |  |  | x | x |  | x |  | x
Specifications for a rapid diagnostic test for meningitis African meningitis belt/ Target product profile for the development of a new generation of rapid test for the diagnosis of bacterial meningitis | x |  | x | x |  | x | [6 empty] | x |  |  | x |  | x |  | X | x |  | x |  | x |  |  | x | [8 empty] | x |  |  |  | x | [5 empty] | x | [5 empty] | x | x | [7 empty] | x | x | [11 empty] | x |  | x |  |  | x | [19 empty] | x | [5 empty] | x | [9 empty] | x |  |  |  | x |  |  |  |  | x | [8 empty] | x | x |  |  |  |  | x
Target Product Profile for Zaire ebolavirus rapid,simple test to be used in the control of the Ebola outbreak in West Africa | x |  | x |  |  | x |  |  |  |  | x | [6 empty] | x |  |  | x |  | x | x | x | x |  | x | [8 empty] | x |  | x |  | x | [15 empty] | x | [13 empty] | x |  |  |  | x |  |  |  |  | x | [21 empty] | x |  | x | [8 empty] | x |  |  | x |  | X |  | x |  |  |  | x | x | [8 empty] | x |  | x |  |  | x
Report of WHO-FIND meeting on diagnostics for Buruli ulcer | x |  | x | x |  | x | [7 empty] | x |  | x |  | x |  |  | x |  | x |  | x | x |  | x | [8 empty] | x | [5 empty] | x | [13 empty] | x | x | [18 empty] | x |  |  | x | [32 empty] | x |  |  |  |  | X |  | x | [13 empty] | x |  | x
Taenia solium taeniasis/cysticercosis diagnostic tools. Report of a stakeholder meeting | x | [16 empty] | x |  |  |  |  | x |  |  |  |  | x | [24 empty] | x | x | [7 empty] | x | x | [36 empty] | x
New diagnostic tools in schistosomiasis | x |  | x | [11 empty] | x | x |  | x | [28 empty] | x | [5 empty] | x | x | [7 empty] | x | x
Zika Virus Diagnostics: Target Product Profiles & Supply Update | x |  |  | x |  | x |  |  |  |  | x | x | [5 empty] | x | [24 empty] | x | [9 empty] | x | x |  |  | x |  |  |  |  | x | x
Pneumonia Acute Respiratory Infection Diagnostic Aid-Target Product Profile Introduction | x |  |  | x | [23 empty] | x | [18 empty] | x | [5 empty] | x | x | [7 empty] | x | x | [32 empty] | x | [5 empty] | x |  |  |  | x |  |  |  |  | x | [21 empty] | x
Assessing the Dengue Diagnosis Capability Gap in the Military Health System | [5 empty] | x | [12 empty] | x |  |  |  | x |  |  |  |  | x | [24 empty] | x | x | [7 empty] | x | x | [16 empty] | x | [10 empty] | x | [42 empty] | x
Target Product Profile: Schistosomiasis Surveillance Diagnostic Lateral Flow Test CAA antigen | x | x | x | x |  | x |  | x |  |  | x |  | x |  | x | x |  | x | x |  |  |  | x |  |  |  |  | x | x | [8 empty] | x |  | x |  |  |  | x | [12 empty] | x | x | [12 empty] | x | [8 empty] | x | [6 empty] | x |  |  |  | x | [5 empty] | x |  |  | x | [7 empty] | x | x |  |  | x |  |  | x |  | x | X |  | x | [8 empty] | x |  |  |  |  | x |  |  |  | x | x | x
Target Product Profile: Trachoma Surveillance Diagnostic-Post-Elimination Surveillance Antibody Lateral Flow Test | x | x | x | x |  | x |  | x |  |  | x |  | x |  | x | x |  | x |  | X |  |  | x |  |  |  |  | x | x | [8 empty] | x |  | x |  |  |  | x |  |  | x | [9 empty] | x | x | [12 empty] | x | [8 empty] | x | [6 empty] | x | x |  |  | x | [5 empty] | x |  |  | x | [7 empty] | x | x |  |  | x |  |  | x |  | x | X |  | x | [8 empty] | x |  |  |  |  | x |  |  |  | x |  | x
Target Product Profile (TPP) - Point-of-Care HIV Viral Load Test | x |  | x | x |  | x |  |  |  |  | x |  | x |  | x |  |  | x |  | X |  |  | x | x |  |  |  | x | x |  |  |  |  | x | x |  |  |  | x | x | [9 empty] | x |  |  |  |  | x | [8 empty] | x | [6 empty] | x |  |  |  | x |  |  |  |  | x |  |  |  | x | x | x |  |  |  | x | x | [6 empty] | x |  | x |  | x |  | x | [8 empty] | x | x | x | x |  |  |  | x | x |  |  | x | x | x | x |  | x |  |  | x |  | x |  |  |  |  | x
Target Product Profile (TPP)- Point of care CD4 test | x |  | x | x |  | x | [8 empty] | x |  |  | x |  | X |  |  | x |  |  |  |  | x | x |  |  |  |  | x | x |  |  |  |  | x | [9 empty] | x |  |  |  |  | x |  | x | x | [5 empty] | x | [6 empty] | x |  |  |  | x |  |  |  |  | x |  |  |  | x | x | x |  |  |  |  | x | [6 empty] | x |  | x |  | x | [10 empty] | x | x | x | x |  |  |  | x | x |  |  |  |  | x | x |  | x |  |  | x |  | x |  |  |  |  | x
Target Product Profile (TPP): Point of care EID test | x |  | x | x |  | x |  |  |  |  | x |  |  |  | x |  |  | x |  | X |  |  | x |  |  |  |  | x | x |  |  |  |  | x | x |  |  |  | x | x | [9 empty] | x |  |  |  |  | x |  | x | x | [5 empty] | x | [6 empty] | x |  |  |  | x |  |  |  | x | x |  |  |  | x | x | x |  |  |  |  | x | [6 empty] | x |  | x |  | x | [10 empty] | x | x | x | x |  |  |  | x | x |  |  | x |  | x | x |  | x |  |  | x |  | x |  |  |  |  | x
Target Product Profile (TPP): Combined HIV/Syphilis Test | x |  | x |  |  | x | [8 empty] | x |  |  | x |  |  |  |  | x |  |  |  |  | x | [5 empty] | x | x |  |  |  | x |  | x | [8 empty] | x | [6 empty] | x | x | [16 empty] | x |  |  |  |  | x |  |  |  |  | x | x |  |  |  |  | x | x | [5 empty] | x |  | x |  | x | [11 empty] | x | x | x |  | X |  | x |  |  | x | x | x |  | x |  | x |  |  |  |  | x |  | x |  |  | x
Incorporating user needs into product development for improved infection detection for malaria elimination programs | x |  |  | x |  | x | [11 empty] | x |  | X | [7 empty] | x | x | [8 empty] | x |  | x | [16 empty] | x | x | [11 empty] | x |  | x | x |  | x |  |  |  |  | x |  |  | x |  |  |  | x | x |  |  |  | x |  |  | x |  | x | [15 empty] | x | x |  | x | [10 empty] | x |  | x |  | x |  |  | x |  |  |  | x
Target Product Profile: Screening test for human African trypanosomiasis (HAT) | x |  | x |  |  | x | [9 empty] | x |  | x |  | X | x |  | x |  | x |  |  | x | [8 empty] | x | x | x |  | x |  |  | x | [12 empty] | x | x | [18 empty] | x |  |  | x | [24 empty] | x | x | [6 empty] | x |  |  | x |  | X |  | x |  |  |  | x | x |  | x | [8 empty] | x
Target Product Profile: Trachoma surveillance diagnostic-antigen lateral flow test | x | x | x | x |  | x |  | x |  |  | x |  | x |  | x | x |  | x |  | X |  |  | x |  |  |  |  | x | [11 empty] | x |  |  |  | x | [12 empty] | x | x | [12 empty] | x | [8 empty] | x | [6 empty] | x |  |  |  | x | [5 empty] | x |  |  | x | [7 empty] | x | x |  |  | x |  |  | x |  | x | X |  | x | x | [7 empty] | x |  |  |  |  | x |  |  |  | x |  | x
Defining product requirements for field deployable yellow fever tests | x |  | x | x |  | x |  |  |  |  | x | x |  |  | x | x |  | x |  | X |  |  | x |  |  |  |  | x |  |  |  | x |  |  | x |  |  | x | [18 empty] | x | x | [8 empty] | x | x | [22 empty] | x | [8 empty] | x | [8 empty] | x | [7 empty] | x | X | [15 empty] | x | [5 empty] | x
Target Product Profile: Schistosomiasis Surveillance Diagnostic - schistosoma genus-specific antibody lateral flow test post-elimination surveillance | x | x | x | x |  | x |  | x |  |  | x |  | x |  | x | x |  | x |  | X |  |  | x |  |  |  |  | x | [11 empty] | x |  |  |  | x | [12 empty] | x | x | [12 empty] | x | [8 empty] | x | [6 empty] | x |  |  |  | x | [5 empty] | x |  |  | x | [7 empty] | x | x |  |  | x |  |  | x |  | x | X |  | x | [8 empty] | x |  |  |  |  | x |  |  |  | x |  | x
A Multiplex Multi-Analyte Diagnostic Platform | x |  |  | x |  | x |  |  | x |  |  |  | x |  |  | x |  | x |  | x |  | x | x |  | x |  |  | x | x |  |  | x | [5 empty] | x |  | x | x |  | x |  |  |  | x |  |  |  |  | x | [18 empty] | x |  |  |  | x |  | x | x | x | x |  |  |  |  | x | x |  |  |  |  | x | x | x |  |  |  |  | x |  | x |  | x | [10 empty] | x |  | x |  |  | x | x |  | x |  | x |  |  | x |  |  | x |  |  |  |  | x |  |  | x | x | x
TOT | 43 | 9 | 33 | 33 | 4 | 38 | 2 | 7 | 2 | 1 | 18 | 11 | 13 | 2 | 17 | 17 | 3 | 42 | 2 | 17 | 8 | 9 | 34 | 5 | 7 | 8 | 1 | 38 | 19 | 2 | 1 | 5 | 1 | 5 | 7 | 1 | 7 | 16 | 8 | 15 | 16 | 4 | 7 | 16 | 1 | 1 | 19 | 3 | 1 | 4 | 3 | 1 | 12 | 12 | 6 | 1 | 31 | 28 | 1 | 1 | 1 | 12 | 12 | 5 | 1 | 1 | 1 | 1 | 1 | 3 | 20 | 3 | 8 | 2 | 12 | 2 | 6 | 2 | 4 | 33 | 1 | 1 | 3 | 4 | 17 | 18 | 12 | 10 | 2 | 2 | 21 | 7 | 3 | 2 | 5 | 4 | 10 | 5 | 4 | 27 | 2 | 15 | 3 | 3 | 3 | 4 | 1 | 10 | 11 | 1 | 3 | 6 | 23 | 10 | 11 | 20 | 7 | 27 | 5 | 23 | 15 | 1 | 2 | 8 | 10 | 5 | 12 | 2 | 22 | 2 | 5 | 3 | 4 | 31 | 1 | 9 | 5 | 11 | 15 | 11
| 97.73% | 20.45% | 75% | 75% | 9.091% | 86.36% | 4.545% | 15.91% | 4.545% | 2.273% | 40.91% | 25% | 29.55% | 4.545% | 38.64% | 38.64% | 6.818% | 95.45% | 4.545% | 38.64% | 18.18% | 20.45% | 77.27% | 11.36% | 15.91% | 18.18% | 2.273% | 86.36% | 43.18% | 4.545% | 2.273% | 11.36% | 2.273% | 11.36% | 15.91% | 2.273% | 15.91% | 36.36% | 18.18% | 34.09% | 36.36% | 9.091% | 15.91% | 36.36% | 2.273% | 2.273% | 43.18% | 6.818% | 2.273% | 9.091% | 6.818% | 2.273% | 27.27% | 27.27% | 13.64% | 2.273% | 70.45% | 63.64% | 2.273% | 2.273% | 2.273% | 27.27% | 27.27% | 11.36% | 2.273% | 2.273% | 2.273% | 2.273% | 2.273% | 6.818% | 45.45% | 6.818% | 18.18% | 4.545% | 27.27% | 4.545% | 13.64% | 4.545% | 9.091% | 75% | 2.273% | 2.273% | 6.818% | 9.091% | 38.64% | 40.91% | 27.27% | 22.73% | 4.545% | 4.545% | 47.73% | 15.91% | 6.818% | 4.545% | 11.36% | 9.091% | 22.73% | 11.36% | 9.091% | 61.36% | 4.545% | 34.09% | 6.818% | 6.818% | 6.818% | 9.091% | 2.273% | 22.73% | 25% | 2.273% | 6.818% | 13.64% | 52.27% | 22.73% | 25% | 45.45% | 15.91% | 61.36% | 11.36% | 52.27% | 34.09% | 2.273% | 4.545% | 18.18% | 22.73% | 11.36% | 27.27% | 4.545% | 50% | 4.545% | 11.36% | 6.818% | 9.091% | 70.45% | 2.273% | 20.45% | 11.36% | 25% | 34.09% | 25%

## Charact clustering
Article title | Unmet clinical need | Analytical performance | Clinical validity | Clinical utility | Human factors | Costs | Environmental impact | Infrastructural requirements | Regulatory requirements | Disease area | Year | Type of publication |  | Unmet clinical need | Analytical performance | Clinical validity | Human factors | Infrastructural requirements | Costs | Regulatory requirements | Environmental impact | Clinical utility
Update on Zika Diagnostic Tests and WHO's Related Activities | X | X | X | [6 empty] | Vector-borne disease/infection | 2017 | Journal article | Vector-borne infection/diseases | 14 | 14 | 14 | 12 | 12 | 10 | 4 | 2 | 1
Target Product Profile of a Molecular Drug-Susceptibility Test for Use in Microscopy Centers | X | X | X |  | X |  |  | X | X | Respiratory infection | 2015 | Journal article | Neglected tropical diseases | 14 | 14 | 14 | 11 | 11 | 9 | 7 | 0 | 1
Defining the needs for next generation assays for tuberculosis | X | X | X |  | X | X |  | X |  | Respiratory infection | 2015 | Journal article | Sexually transmitted infections/diseases | 7 | 7 | 7 | 7 | 7 | 7 | 6 | 0 | 0
Point-of-Care Malaria Infection Detection Test For rapid detection of low-density, subclinical malaria infections | X | X | X |  | X | X |  | X | X | Vector-borne disease/infection | 2014 | Report | Respiratory infections | 6 | 6 | 6 | 6 | 6 | 5 | 3 | 1 | 0
Defining the next generation of Plasmodium vivax diagnostic tests for control and elimination: Target product profiles | X | X | X |  | X | X |  | X |  | Vector-borne disease/infection | 2017 | Journal article | Severe febrile illness | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0
Target Product Profile for a Diagnostic Assay to Differentiate between Bacterial and Non-Bacterial Infections to Guide Antimicrobials Use in Resource-Limited Settings: An Expert Consensus | X | X | X |  | X | X |  | X |  | Vector-borne disease/infection | 2016 | Journal article | Ebola virus | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
High-priority target product profile for hepatitis C diagnosis in decentralized settings: Report of a consensus meeting. | X | X | X |  | X | X |  | X |  | Vector-borne disease/infection | 2015 | Report | Meningits | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
Matching diagnostics development to clinical need: Target product profile development for a point of care test for community-acquired lower respiratory tract infection | X | X | X |  | X | X |  | X | X | Respiratory infection | 2018 | Journal article
Diagnostic tools for soil-transmitted helminths control and elimination programs: a pathway for diagnostic product development | X | X | X | X | X | X |  | X | X | Neglected tropical diseases | 2018 | Journal article
Molecular assays for antimalarial drug resistance surveillance: A target product profile | X | X | X |  | X | X |  | X |  | Vector-borne disease/infection | 2018 | Journal article
Target Product Profile (TPP) for Chagas Disease Point-of-Care Diagnosis and Assessment of Response to Treatmen | X | X | X |  | X |  |  | X |  | Neglected tropical diseases | 2015 | Journal article
Optimising diagnosis of viraemic hepatitis C infection: the development of a target product profile | X | X | X |  | X | X |  | X |  | Vector-borne disease/infection | 2017 | Journal article
A diagnostics platform for the integrated mapping, monitoring, and surveillance of neglected tropical diseases: Rationale and target product profiles | X | X | X | [6 empty] | Neglected tropical diseases | 2012 | Journal article
Advancing prevention of sexually transmitted infections through point-of-care testing: target product profiles and landscape analysis | X | X | X |  | X | X |  | X |  | Sexually transmitted infections/diseases | 2017 | Journal article
Target product profiles for the diagnosis of Taenia solium taeniasis, neurocysticercosis and porcine cysticercosis | X | X | X |  | X | X |  | X | X | Neglected tropical diseases | 2017 | Journal article
Target Product Profile for Tests for Recent HIV Infection | X | X | X |  | X | X |  | X | X | Sexually transmitted infections/diseases | 2017 | Report
Target Product Profile: Rapid test for diagnosis of malaria and screening for hyman African trypanosomiasis (HAT) | X | X | X |  | X | X |  | X |  | Vector-borne disease/infection | 2017 | Report
Target Product Profile: HIV Self-Test Version 4.1: A White Paper on the Evaluation of Current HIV Rapid Tests and Development of Core Specifications for Next-Generation HIV Tests | X | X | X |  | X | X |  | X | X | Sexually transmitted infections/diseases | 2014 | Report
Diagnostics for neglected tropical diseases: Defining the best tools through target product profiles | X | X | X |  | X |  |  | X |  | Neglected tropical diseases | 2015 | Report
Target Product Profile: Schistosomiasis Surveillance Diagnostic | X | X | X |  | X | X |  | X | X | Neglected tropical diseases | 2015 | Report
UNICEF Target Product Profile Rapid E.coli Detection (version 2.0) | X | X | X |  | X | X | X | X | X | Vector-borne disease/infection | 2017 | Report
UNICEF Target Product Profile Rapid E.coli Detection (1.4) | X | X | X |  | X | X | X | X | X | Vector-borne disease/infection | 2016 | Report
High-priority target product profile for new tubercolosis diagnostics: report of a consensus meeting | X | X | X |  | X | X |  | X | X | Respiratory infection | 2014 | Report
Development of a Target Product Profile (TPP) and framework for evaluation for a test predicting progression from tubercolosis infection to active disease | X | X | X |  | X | X |  | X |  | Respiratory infection | 2017 | Report
Specifications for a rapid diagnostic test for meningitis African meningitis belt/ Target product profile for the development of a new generation of rapid test for the diagnosis of bacterial meningitis | X | X | X |  | X | X |  | X | X | Meningitis | 2016 | Report
Target Product Profile for Zaire ebolavirus rapid,simple test to be used in the control of the Ebola outbreak in West Africa | X | X | X |  | X | X |  | X | X | Ebola virus | 2014 | Report
Report of WHO-FIND meeting on diagnostics for Buruli ulcer | X | X | X |  | X |  |  | X |  | Neglected tropical diseases | 2018 | Report
Taenia solium taeniasis/cysticercosis diagnostic tools. Report of a stakeholder meeting | X | X | X |  |  | X |  |  |  | Neglected tropical diseases | 2016 | Report
New diagnostic tools in schistosomiasis | X | X | X | [6 empty] | Neglected tropical diseases | 2015 | Journal article
Zika Virus Diagnostics: Target Product Profiles & Supply Update | X | X | X | [6 empty] | Vector-borne disease/infection | 2017 | Report
Pneumonia Acute Respiratory Infection Diagnostic Aid-Target Product Profile Introduction | X | X | X |  | X | X | X | X |  | Respiratory infection | 2014 | Report
Assessing the Dengue Diagnosis Capability Gap in the Military Health System | X | X | X |  | X |  |  | X |  | Vector-borne disease/infection | 2016 | Journal article
Target Product Profile: Schistosomiasis Surveillance Diagnostic Lateral Flow Test CAA antigen | X | X | X |  | X | X |  | X | X | Neglected tropical diseases | 2015 | Report
Target Product Profile: Trachoma Surveillance Diagnostic-Post-Elimination Surveillance Antibody Lateral Flow Test | X | X | X |  | X | X |  | X | X | Neglected tropical diseases | 2015 | Report
Target Product Profile (TPP) - Point-of-Care HIV Viral Load Test | X | X | X |  | X | X |  | X | X | Sexually transmitted infections/diseases | 2013 | Published TPP
Target Product Profile (TPP)- Point of care CD4 test | X | X | X |  | X | X |  | X | X | Sexually transmitted infections/diseases | 2013 | Published TPP
Target Product Profile (TPP): Point of care EID test | X | X | X |  | X | X |  | X | X | Sexually transmitted infections/diseases | 2013 | Published TPP
Target Product Profile (TPP): Combined HIV/Syphilis Test | X | X | X |  | X | X |  | X | X | Sexually transmitted infections/diseases | 2014 | Published TPP
Incorporating user needs into product development for improved infection detection for malaria elimination programs | X | X | X |  | X |  |  | X |  | Vector-borne disease/infection | 2014 | Journal article
Target Product Profile: Screening test for human African trypanosomiasis (HAT) | X | X | X |  | X | X |  | X |  | Neglected tropical diseases | 2017 | Report
Target Product Profile: Trachoma surveillance diagnostic-antigen lateral flow test | X | X | X |  | X | X |  | X | X | Neglected tropical diseases | 2015 | Report
Defining product requirements for field deployable yellow fever tests | X | X | X | X | X | X |  | X | X | Vector-borne disease/infection | 2015 | Poster
Target Product Profile: Schistosomiasis Surveillance Diagnostic - schistosoma genus-specific antibody lateral flow test post-elimination surveillance | X | X | X |  | X | X |  | X | X | Neglected tropical diseases | 2015 | Report
A Multiplex Multi-Analyte Diagnostic Platform | X | X |  |  | X | X |  | X | X | Fever | 2017 | Report
TOT | 44 | 44 | 43 | 2 | 39 | 34 | 3 | 39 | 23
% | 100% | 100% | 97.73% | 4.545% | 88.64% | 77.27% | 6.818% | 88.64% | 52.27%
Vector-borne infection/diseases | 14 | 14 | 14 | 1 | 12 | 10 | 2 | 12 | 4
Neglected tropical diseases | 14 | 14 | 14 | 1 | 11 | 9 | 0 | 11 | 7
Sexually transmitted infections/diseases | 7 | 7 | 7 | 0 | 7 | 7 | 0 | 7 | 6
Respiratory infections | 6 | 6 | 6 | 0 | 6 | 5 | 1 | 6 | 3
Severe febrile illness | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 1
Ebola virus | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1
Meningits | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1
| 44 | 44 | 43 | 2 | 39 | 34 | 3 | 39 | 23
| Unmet clinical need | Analytical performance | Clinical validity | Infrastructural requirements | Human factors | Costs | Regulatory requirements | Environmental impact | Clinical utility
| 44 | 44 | 43 | 39 | 39 | 34 | 23 | 3 | 2
| 100% | 100% | 97.73% | 88.64% | 88.64% | 77.27% | 52.27% | 6.818% | 4.545%
Note on L19: Paola Cocco: Given that this study includes both malaria and HAT I decided to include it as a part of vector borne disease to take into consideration both diseases